★

★

★★★

★

★

★

★

★

★

★

★

★

★

★

★

★

★

GC18

®

# GRATINGS CATALOG

BAR  GRATING

SAFE -T- GRID®

MOLDED FIBERGLASS

PULTRUDED FIBERGLASS

GRIP  STRUT®

McNICHOLS CO .

800.237.3820        800.237.9212  (español)        mcnichols.com

®

Member

Metaleice Centenstitu

The sole survivor of a Boeing B-17 Flying Fortress shot down over Germany during World War II, Robert L. “Bob” McNichols pledged to lead his life and business according to Christian principles. He believed in the highest level of service, a dedication to his employees and an appreciation for the customers he had the privilege to serve.

Bob McNichols, Founder

(1922 - 1981)

Following discovery by a German farmer, Bob was sent to prisoner-of-war camp Stalag Luft I, where he remained until his liberation on May 1, 1945. Seven years to the day after his release from Stalag Luft I, Bob and his wife Phyllis founded McNICHOLS  CO.

When Bob started the business in 1952, he focused on selling products with “holes” such as Perforated and Expanded Metal. This focus led to the motto “The Hole Story® ,” which symbolizes the company’s philosophy as well as its products. Bob trademarked “The Hole Story® ” and advertised it in the 1975 McNICHOLS® Master Catalog. This began the tradition of “hole” references such as “Hole Products” and “The Hole Team.” After the unexpected loss of Bob in 1981, his son Gene took the reins. Gene carried on his father’s legacy by growing the company.

In 1990, Gene introduced the “Service, Quality and Performance”

mission. The words embody the spirit of the organization—including its emphasis on customer service, high standards for quality (demonstrated by our ISO 9001:2008 certification) and dedication to performance.

McNICHOLS has grown from a small family business into a national corporation with 19 locations across the country. The essence and spirit of the founder remain ever-present.  Bob’s  faith  gave  him  the  courage  to  build  McNICHOLS  on a Christian foundation . “To God be the Glory” was one of his favorite sayings.

As McNICHOLS continues to grow beyond its 65th year in business, the third generation of the McNichols family—as well as every member of The Hole Team—act as stewards of Bob’s legacy.

Providing Hole Products Through Superior Service, Quality and Performance  …  That’s The Hole Story® !

Dear Hole Customer,

Since   19 6 7,   we   have   been   mailing McNICHOLS®     Cat alogs   to   our customers  each year.  Being  in  business  for more than 65 years, we are confident that our vast inventory selection, convenient locations and knowledgeable product experts are what make McNICHOLS your choice for Hole Products. We believe we can help you select the right product for your application.

The McNICHOLS® Gratings Catalog is your reference guide to these Hole Products. We offer a wide selection of quality Grating in stock and ready to go! We trust you will find this book an essential tool and resource for your Grating needs. All of the information contained within and additional McNICHOLS® Hole Products is available at mcnichols.com.

My grandfather founded our company on one core principle—providing unsurpassed customer service. It is our mission to continue to fulfill his vision of serving customers. We humbly ask that you allow us to serve you!

Scott M. McNichols President

®

ToGodBe The Glory!

TABLE   OF CONTENTS

YOUR  HOLE  NETWORK

VALUE-ADDED SERVICES

2

# 3

BAR

GRATING

In business for more than 65 years, McNICHOLS CO. is the worldwide leader in supplying “Hole Products,” including McNICHOLS®  Perforated and Expanded Metals, Wire Mesh and Designer Metals, as well as a complete line of Metal and Fiberglass Grating and Flooring products. Our Metals Service Centers are strategically located in 19 cities across the country, but are all part of one “Hole Network.” Metal processing equipment at each location—as well as industry partnerships—give us the fabrication capabilities to meet your project needs. Customers choose McNICHOLS because of our knowledgeable associates, vast product inventory and superior customer service. Please allow us to serve you on your next project!

re ee!·

WELDED 	 4

HEAVY-DUTY WELDED 	 5

PEDS & TREADS® 	  5

SWAGE-LOCKED 	 6

SAFE-T-GRID®  	  8

PRESS-LOCKED 	 9

STAIR TREADS 	10

11

FIBERGLASS GRATING

SQUARE MOLDED 	12

RECTANGULAR MOLDED 	13

PULTRUDED I-BAR 	14

PULTRUDED T-BAR 	15

PULTRUDED WIDE T-BAR 	16

SA F DECK®  	17

SAFPLANK®  	17

SA F PLATE®  	17

CHEMICAL RESISTANCE CHART 	18

19

PLANK

GRATING

SEATTLE

MINNEAPOLIS

®

NY/NJ

CITY                           CHICAGO

SAN

FRANCISCO

DENVER                      ●

KANSAS CITY

ATLANTA

DALLAS

HOUSTON

"、

TAMPA

LOS

ANGELES

● COLUMBUS

BOSTON

●

e

O  CHARLOTTE

BALTIMORE

SALT  LAKE

PHOENIX

H

HEADQUARTERS

2502 N. Rocky Point Drive, Ste. 750 Tampa, FL 33607

ATLANTA

1980 Shiloh Road NW Bldg. 6, #300

Kennesaw, GA 30144

BALTIMORE

9070 Junction Drive, #M

Annapolis Junction, MD 20701

BOSTON

33 High Street

North Billerica, MA 01862

CHARLOTTE

2307 Distribution Ctr. Dr. , #F Charlotte, NC 28269

CHICAGO

2200 Arthur Avenue

Elk Grove Village, IL 60007

COLUMBUS

4740 Poth Road

Whitehall, OH 43213

DALLAS

3540 W. Miller Road, #240 Garland, TX 75041

DENVER

10394 E. 48th Avenue Denver, CO 80238

HOUSTON

16405 Air Center Blvd., #100 Houston, TX 77032

KANSAS CITY

15341 W. 100th Terrace Lenexa, KS 66219

LOS ANGELES

14108 Arbor Place Cerritos, CA 90703

MINNEAPOLIS

22 Fifth Avenue NW

New Brighton, MN 55112

NJ/NYC AREA

2 Home News Row

New Brunswick, NJ 08901

PHOENIX

5780 S. 40th Street Suite 3

GRIP STRUT®   	  20

HEAVY-DUTY GRIP STRUT®  	 22

PERF-O GRIP®  	  23

TRACTION TREAD®  	  24

GRATE-LOCK®  	  25

DIAMONDBACK®  	  26

HEAVY-DUTY EXTRUDED PLANK 	 26

STAIR TREADS 	 27

Phoenix, AZ 85040

SALT  LAKE  CITY

271 W. 12800 South Suite 210 - 211

Draper, UT 84020

SAN  FRANCISCO

28

LADDER RUNGS

174 Lawrence Drive Suite G

Livermore, CA 94551

SEATTLE

CLIPS &

FASTENERS

28

3400-B Industry Drive East Fife, WA 98424

TAMPA

29

STAIR

TREADS

9401 Corporate Lake Drive Tampa, FL 33634

©1989- 2018 McNICHOLS CO., The Hole Story and McNICHOLS are registered trademarks of McNICHOLS CO. All rights reserved. No part of this book may be reproduced in any form without permission. Printed in the U.S.A.

Application photos reflected are typical of our types of products in use that can be supplied or have been supplied by McNICHOLS CO.  Some photos may depict uses designed, manufactured, fabricated or installed by others.

| VALUE - ADDED SERVICES | McNICHOLS® GRATING PRODUCTS |
| --- | --- |

McNICHOLS®  HOLE PRODUCTS ARE USED ACROSS MANY INDUSTRIES INCLUDING:

Architectural  ■    Construction   ■    Distribution   ■     Energy  ■    Government   ■     Hospitality Maintenance  ■     Metal Fabrication  ■     Manufacturing  ■     Marine  ■     Residential  ■     Utilities

McNICHOLS® Fiberglass Grating, Molded, MS-S-150 - Flooring for Offshore Living Quarters - Oil and Gas Industry

McNICHOLS® Plank Grating, Plank, PERF-O GRIP®, 3-Hole - Agricultural Equipment Stair Treads

McNICHOLS® Bar Grating, Swage-Locked, GAL-150, and Press-Locked, GCM-1-150 - CLOSE MESH - Grocery Store Facade

McNICHOLS® VALUE-ADDED SERVICES

Print Takeoffs .   Cut-to-Size .   Notching  .   Edging  .  Welding .   Infill Panels  .   Stair Treads  .   Metal Finishes

2

For more than 65 years, customers have  made the  repetitive  choice to trust McNICHOLS with their Hole Product needs. Many customers also look to us for Value-Added Services. Whether you need cutting, notching, welding  or  a  particular  metal finish  for  your  product  selections, McNICHOLS has you covered! We look forward to discussing how we can support and serve you!

800.237.3820 mcnichols.com © 2018

McNICHOLS®  GRATING PRODUCTS                                               BAR  GRATING

BAR  GRATING

McNICHOLS®   Bar Grating is the top choice for strength, safety and overall value! Bar Grating provides a load bearing surface that allows air, light, heat, sound and fluid to pass through. Bar Grating is strong, durable and virtually maintenance-free!

CONSTRUCT ION TYPES

| PRODUCT SPECIFICATIONS |  |  |  |  |
| --- | --- | --- | --- | --- |
| SERIES NAME | GW, CMW (CLOSE MESH), SGW | GHB, # PEDS & TREADS® | GAL, GIA, SFT, TB-940 (SAFE-T-GRID®) | GAA, GCM (CLOSE MESH) |
| PRODUCT SPACING | 19-W-4, 19-W-2, 15-W-4, 15-W-2, 11-W-4, | 19-W-4 | 19-S-4, 19-S-2, 19-SI-4, 15-SI-4, 15-SI-2, | 19-P-4, 11-P-4, 8-P-4, 7-P-4, |
| PRIMARY MATERIAL | Carbon Steel, Carbon Steel (Powder Coated Black), Galvanized Steel, Stainless Steel | Carbon Steel, Galvanized Steel | Aluminum, Stainless Steel | Aluminum, Carbon Steel, Galvanized Steel, Stainless Steel |
| BAR HEIGHT | 3/4" to 2-1/2" | 1" to 3" | 1" to 2-1/2" | 1" to 2" |
| BAR THICKNESS | 1/8", 3/16" | 1/4" (5/16", 3/8" by Special Order) | 1/8", 3/16", 1/4", 0.940" - TB-940 (SAFE-T-GRID®) | 3/16" |
| PRODUCT SURFACE | Smooth, Serrated | Smooth, Serrated | Smooth, Serrated, Grooved | Smooth, Serrated |
| % OPEN AREA | 68% to 83% | 74.5% | 20.6% to 83% | 55% |
| STANDARD PANEL SIZE | 24" x 240" 24" x 288" 36" x 240" 36" x 288" | 24" x 240" 24" x 288" 36" x 240" 36" x 288" | 24" x 288" 36" x 288" | 36" x 144" |

# HEAVY-DUTY

WELDED

SWAGE-LOCKED

PRESS-LOCKED

WELDED

WE  ARE  READY  AND  INSPIRED  TO  SERVE ®  YOU  AT  800 . 237 . 3820!

McNICHOLS® Bar Grating, Swage-Locked, GAL-100 - Sunshade, Margarido House, Oakland, CA

McNICHOLS® Bar Grating, Press-Locked, GCM - CLOSE MESH - Display, Harley-Davidson® Museum, Milwaukee, WI

© 2018 800.237.3820 mcnichols.com

HOW TO ORDER/SPECIFY McNICHOLS®

BAR  GRATING

The   information   provided  below   is your   guide   for   choosing  the   right McNICHOLS®   BAR  GRATING product for your project. Please specify: APPLICATION  –  Bar  Grating  use and physical requirements  (interior or exterior application; loading,   span   and   support   requirements; traffic requirements such as pedestrian, ADA, vehicular, hand cart, etc.)

CONSTRUCTION  TYPE  –  Type   of   construction (Welded,  Heavy-Duty  Welded,  Swage-Locked, Press-Locked, Clinched)

SERIES TYPE & NAME – Type of series  (GW-100, GHB-150, GAL-125, etc.)

PRODUCT SPACING – 19-W-4, 15-W-2, etc. PRIMARY MATERIAL – Type of material (Aluminum, Carbon Steel, Carbon Steel – Powder Coated Black, Galvanized Steel, Stainless Steel)

MATERIAL FINISH –  Inventory  is  typically  mill finish for Aluminum, Carbon Steel and Stainless Steel. Hot-Dipped Galvanized, Powder Coated Black or Powder Coated Gray finishes available for many items

BAR SIZE – Bar height and thickness (e.g. 1-1/4" Height x 3/16" Thick)

BAR  SHAPE  –  Rectangular   (Aluminum,  Steel, Stainless Steel), I-Bar or T-Bar (Aluminum only)

BAR  SPACING  –  Bearing bar and cross bar spacing measured  on   center  (e.g.  19-W-4 is  equivalent to  1-3/16”  (19/16)  bearing  bar spacing on center, welded construction, 4” cross bar spacing on center)

PRODUCT SURFACE – Smooth or serrated surface (Aluminum, Steel, Stainless Steel Rectangular Bar), grooved surface (Aluminum I-Bar and T-Bar)

OPEN AREA – Percentage of open area

SPAN –  Direction  of bearing bars  (long span on stock panels runs parallel to the length dimension)

QUANTITY/SIZE(S) – Number of panels (width and length)  and/or  sizes  (cut-to-size pieces, areas, treads) and cut types (random, uniform, equal stub). Areas exceeding standard panel widths provided in multiple pieces to width

SPECIAL –  Requirements  such  as  fabrication, banding  (trim and/or  load) notching, cut-outs, toeboards, stair treads (width, length or span and nosing type), non-standard tolerances, etc.

ACCESSORIES –  Quantity  and  type  of  Clips or Fasteners/Hardware

3

| BAR GRATING | McNICHOLS® GRATING PRODUCTS |
| --- | --- |

GW SERIES

WELDED  BAR GRATING

McNICHOLS®   Welded Bar Grating is a suitable flooring application choice  because  of  its  strength,  safety  and  overall  value.  Welded  Bar Grating has a rectangular-shaped bearing bar that is available in a variety of thicknesses, heights, spacings and materials.

GW, CMW & SGW SERIES

PRODUCT  OPTIONS

McNICHOLS®  GW Series Grating will handle most moderate loads and light wheel traffic with its standard bearing bar centers of 1-3/16". McNICHOLS® CMW Series CLOSE MESH Grating is suitable for wheelchair traffic and is ADA- compliant. McNICHOLS® SGW Series Grating will handle heavier loads than GW Series Grating.

Material: Carbon Steel, Carbon Steel (Powder Coated Black), Galvanized Steel, Stainless Steel Bar Height: 3/4" to 2-1/2" Bar Thickness: 1/8", 3/16" (Rectangular) Surface: Smooth, Serrated Standard Size: 24" x 240", 24" x 288", 36" x 240", 36" x 288"

LOAD TABLE:  GW,  SGW (STEEL)

| BEARING BAR SIZE |  | SPAN (1-3/16" CENTER TO CENTER BAR SPACING) |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 2' | 2'6" | 3' | 3'6" | 4' | 4'6" | 5' | 5'6" | 6' | 7' | 8' |
| 3/4" x 1/8" | U | 355 | 227 | 158 | 116 | 89 | 70 | To determine load for SGW, SGW-2, multiply value at left by the load factor of 1.27. Deflection under the factored loads will be same as shown in the load table. For Serrated Grating the depth of the grating will be 1/4" greater than shown in table. |  |  |  |  |
|  | D | .099 | .155 | .223 | .304 | .397 | .503 |  |  |  |  |  |
|  | C | 355 | 284 | 237 | 203 | 178 | 158 |  |  |  |  |  |
|  | D | .079 | .124 | .179 | .243 | .318 | .402 |  |  |  |  |  |
| 3/4" x 3/16" | U | 533 | 341 | 237 | 174 | 133 | 105 |  |  |  |  |  |
|  | D | .099 | .155 | .223 | .304 | .397 | .503 |  |  |  |  |  |
|  | C | 533 | 426 | 355 | 305 | 266 | 237 |  |  |  |  |  |
|  | D | .079 | .124 | .179 | .243 | .318 | .402 |  |  |  |  |  |
| 1" x 1/8" | U | 632 | 404 | 281 | 206 | 158 | 125 | 101 | 84 | 70 |  |  |
|  | D | .074 | .116 | .168 | .228 | .298 | .377 | .466 | .563 | 670 |  |  |
|  | C | 632 | 505 | 421 | 361 | 316 | 281 | 253 | 230 | 211 |  |  |
|  | D | .060 | .093 | .134 | .182 | .238 | .302 | .372 | .451 | .536 |  |  |
| 1" x 3/16" | U | 947 | 606 | 421 | 309 | 237 | 187 | 152 | 125 | 105 |  |  |
|  | D | .074 | .116 | .168 | .228 | .298 | .377 | .466 | .563 | .670 |  |  |
|  | C | 947 | 758 | 632 | 541 | 474 | 421 | 379 | 344 | 316 |  |  |
|  | D | .060 | .093 | .134 | .182 | .238 | .302 | .372 | .451 | .536 |  |  |
| 1-1/4" x 1/8" | U | 987 | 632 | 439 | 322 | 247 | 195 | 158 | 130 | 110 | 81 |  |
|  | D | .060 | .093 | .134 | .182 | .238 | .302 | .372 | .451 | .536 | .730 |  |
|  | C | 987 | 789 | 658 | 564 | 493 | 439 | 395 | 359 | 329 | 282 |  |
|  | D | .048 | .074 | .107 | .146 | .191 | .241 | .298 | .360 | .429 | .584 |  |
| 1-1/4" x 3/16" | U | 1480 | 947 | 658 | 483 | 370 | 292 | 237 | 196 | 164 | 121 |  |
|  | D | .060 | .093 | .134 | .182 | .238 | .302 | .372 | .451 | .536 | .730 |  |
|  | C | 1480 | 1184 | 987 | 846 | 740 | 658 | 592 | 538 | 493 | 423 |  |
|  | D | .048 | .074 | .107 | .146 | .191 | .241 | .298 | .360 | .429 | .584 |  |
| 1-1/2" x 1/8" | U | 1421 | 909 | 632 | 464 | 355 | 281 | 227 | 188 | 158 | 116 | 89 |
|  | D | .050 | .078 | .112 | .152 | .199 | .251 | .310 | .376 | .447 | .608 | .794 |
|  | C | 1421 | 1137 | 947 | 812 | 711 | 632 | 568 | 517 | 474 | 406 | 355 |
|  | D | .040 | .062 | .089 | .122 | .159 | .201 | .248 | .300 | .358 | .487 | .636 |
| 1-1/2" x 3/16" | U | 2132 | 1364 | 947 | 696 | 533 | 421 | 341 | 282 | 237 | 174 | 133 |
|  | D | .050 | .078 | .112 | .152 | .199 | .251 | .310 | .376 | .447 | .608 | .794 |
|  | C | 2132 | 1705 | 1421 | 1218 | 1066 | 947 | 853 | 775 | 711 | 609 | 533 |
|  | D | .040 | .062 | .089 | .122 | .159 | .201 | .248 | .300 | .358 | .487 | .636 |
| 1-3/4" x 3/16" | U | 2901 | 1857 | 1289 | 947 | 725 | 573 | 464 | 384 | 322 | 237 | 181 |
|  | D | .043 | .067 | .096 | .130 | .170 | .215 | .266 | .322 | .383 | .521 | .681 |
|  | C | 2901 | 2321 | 1934 | 1658 | 1451 | 1289 | 1161 | 1055 | 967 | 829 | 725 |
|  | D | .034 | .053 | .077 | .104 | .136 | .172 | .213 | .257 | .306 | .417 | .545 |
| 2" x 3/16" | U | 3789 | 2425 | 1684 | 1237 | 947 | 749 | 606 | 501 | 421 | 309 | 237 |
|  | D | .037 | .058 | .084 | .114 | .149 | .189 | .233 | .282 | .335 | .456 | .596 |
|  | C | 3789 | 3032 | 2526 | 2165 | 1895 | 1684 | 1516 | 1378 | 1263 | 1083 | 947 |
|  | D | .030 | .047 | .067 | .091 | .119 | .151 | .186 | .225 | .268 | .365 | .477 |
| 2-1/4" x 3/16" | U | 4796 | 3069 | 2132 | 1566 | 1199 | 947 | 767 | 634 | 533 | 392 | 300 |
|  | D | .033 | .052 | .074 | .101 | .132 | .168 | .207 | .250 | .298 | .406 | .530 |
|  | C | 4796 | 3837 | 3197 | 2741 | 2398 | 2132 | 1918 | 1744 | 1599 | 1370 | 1199 |
|  | D | .026 | .041 | .060 | .081 | .106 | .134 | .166 | .200 | .238 | .324 | .424 |
| 2-1/2" x 3/16" | U | 5921 | 3789 | 2632 | 1933 | 1480 | 1170 | 947 | 783 | 658 | 483 | 370 |
|  | D | .030 | .047 | .067 | .091 | .119 | .151 | .186 | .225 | .268 | .365 | .477 |
|  | C | 5921 | 4737 | 3947 | 3383 | 2961 | 2632 | 2368 | 2153 | 1974 | 1692 | 1480 |
|  | D | .024 | .037 | .054 | .073 | .095 | .121 | .149 | .180 | .215 | .292 | .381 |
| U - Uniform Load - Lbs./Square Foot D - Deflection - in Inches C - Concentrated Load - Lbs./Square Foot of Width at Mid Span Spans shaded in blue produce a deflection of 1/4" or less under a uniform load of 100 lbs. per square foot. This deflection is recommended as the maximum to provide pedestrian comfort. It can be exceeded at the discretion of the engineer. The carrying capacity of a piece of Grating subjected to a concentrated load over only a portion of its width is determined by the stiffness of both the bearing bars and the cross bars, and therefore varies with the type of Grating used. Please call us to determine carrying capacity of Gratings subject to such loadings. This technical information provided is as a reference for evaluation by technically skilled persons only, with any use thereof to be at their independent discretion and risk. McNICHOLS shall have no responsibility or liability for results obtained or damages resulting from improper evaluation or use of Grating. |  |  |  |  |  |  |  |  |  |  |  |  |

4

SGW SERIES

CMW SERIES

Welded Stair Treads page 29

Serrated Surface

Rectangular Bar Grating Diagram

BAR  SPACING:  GW,  SGW

|  | GW (19-W-4) |  | GW-2 (19-W-2) |  | SGW (15-W-4) |  | SGW-2 (15-W-2) |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BAR SPACING | 4" 1-3/16" ▲ Bearing Bar Cross Bar |  | cross Bar Bearing Bar 2" 2" 1-3/16" |  | 4" 15/16" Cross Bar Bearing Bar |  | 2" 2" 15/16" Cross Bar Bearing Bar |  |
| END VIEW (1/8" THICKNESS ALSO AVAILABLE) | Height cross Bar 3/16" Bar Bearing 1" |  | Height cross Bar 3/16" Bar Bearing 1" |  | Height cross Bar 3/16" Bearing Bar 3/4" |  | Height cross Bar 3/16" Bearing Bar 3/4" |  |
| BEARING BAR SIZE | SERIES | #/SF | SERIES | #/SF | SERIES | #/SF | SERIES | #/SF |
| 3/4" x 1/8" | GW-75-A | 4.1 | GW-75-A-2 | 5.0 | SGW-75-A | 5.0 | SGW-75-A-2 | 5.9 |
| 3/4" x 3/16" | GW-75 | 5.8 | GW-75-2 | 6.7 | SGW-75 | 7.2 | SGW-75-2 | 8.1 |
| 1" x 1/8" | GW-100-A | 5.2 | GW-100-A-2 | 6.1 | SGW-100-A | 6.4 | SGW-100-A-2 | 7.3 |
| 1" x 3/16" | GW-100 | 7.5 | GW-100-2 | 8.4 | SGW-100 | 9.3 | SGW-100-2 | 10.2 |
| 1-1/4" x 1/8" | GW-125-A | 6.3 | GW-125-A-2 | 7.2 | SGW-125-A | 7.9 | SGW-125-A-2 | 8.8 |
| 1-1/4" x 3/16" | GW-125 | 9.1 | GW-125-2 | 10.0 | SGW-125 | 11.3 | SGW-125-2 | 12.2 |
| 1-1/2" x 1/8" | GW-150-A | 7.4 | GW-150-A-2 | 8.3 | SGW-150-A | 9.3 | SGW-150-A-2 | 10.2 |
| 1-1/2" x 3/16" | GW-150 | 10.8 | GW-150-2 | 11.7 | SGW-150 | 13.5 | SGW-150-2 | 14.4 |
| 1-3/4" x 3/16" | GW-175 | 12.5 | GW-175-2 | 13.4 | SGW-175 | 15.6 | SGW-175-2 | 16.5 |
| 2" x 3/16" | GW-200 | 14.1 | GW-200-2 | 15.0 | SGW-200 | 17.7 | SGW-200-2 | 18.6 |
| 2-1/4" x 3/16" | GW-225 | 15.8 | GW-225-2 | 16.7 | SGW-225 | 19.8 | SGW-225-2 | 20.7 |
| 2-1/2" x 3/16" | GW-250 | 17.4 | GW-250-2 | 18.3 | SGW-250 | 21.9 | SGW-250-2 | 22.8 |

| PANEL WIDTHS: GW, SGW |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| # Bars | GW, GW-2 | SGW, SGW-2 | # Bars | GW, GW-2 | SGW, SGW-2 | # Bars | GW, GW-2 | SGW, SGW-2 |
| 2 | 1-3/8" | 1-1/8" | 17 | 19-3/16" | 15-3/16" | 32 | -- | 29-1/4" |
| 3 | 2-9/16" | 2-1/16" | 18 | 20-3/8" | 16-1/8" | 33 | -- | 30-3/16" |
| 4 | 3-3/4" | 3" | 19 | 21-9/16" | 17-1/16" | 34 | -- | 31-1/8" |
| 5 | 4-15/16" | 3-15/16" | 20 | 22-3/4" | 18" | 35 | -- | 32-1/16" |
| 6 | 6-1/8" | 4-7/8" | 21 | 23-15/16" | 18-15/16" | 36 | -- | 33" |
| 7 | 7-5/16" | 5-13/16" | 22 | 25-1/8" | 19-7/8" | 37 | -- | 33-15/16" |
| 8 | 8-1/2" | 6-3/4" | 23 | 26-5/16" | 20-13/16" | 38 | -- | 34-7/8" |
| 9 | 9-11/16" | 7-11/16" | 24 | 27-1/2" | 21-3/4" | 39 | -- | 35-13/16" |
| 10 | 10-7/8" | 8-5/8" | 25 | 28-11/16" | 22-11/16" | PLEASE NOTE: Width and length tolerance ± 1/4". Max. width indicated. Wider areas will be made in two or more panels. Panels are available up to 48" by special order. All other widths are cut-to-size . Deduct 1/16" from width for 1/8" bearing bars. |  |  |
| 11 | 12-1/16" | 9-9/16" | 26 | 29-7/8" | 23-5/8" |  |  |  |
| 12 | 13-1/4" | 10-1/2" | 27 | 31-1/16" | 24-9/16" |  |  |  |
| 13 | 14-7/16" | 11-7/16" | 28 | 32-1/4" | 25-1/2" |  |  |  |
| 14 | 15-5/8" | 12-3/8" | 29 | 33-7/16" | 26-7/16" |  |  |  |
| 15 | 16-13/16" | 13-5/16" | 30 | 34-5/8" | 27-3/8" |  |  |  |
| 16 | 18" | 14-1/4" | 31 | 35-13/16" | 28-5/16" |  |  |  |

| WIDTH CROSS BAR SPACING | BEARING BAR SPACING SPAN |
| --- | --- |

800.237.3820 mcnichols.com © 2018

McNICHOLS®  GRATING PRODUCTS                                               BAR  GRATING

HEAVY-DUTY WELDED  BAR GRATING

McNICHOLS®  Heavy-Duty Welded Bar Grating is your choice for applications requiring maximum load-bearing capability.

Embed Angle

Bearing Bar   Cross Bar

r

一

Embed Angle

GHB SERIES

GHB SERIES

McNICHOLS®     GHB   Series Grating   can   handle   heavier  load requirements  with  a  bearing  bar thickness of 1/4" and bar heights from 1" to 3". This Grating is ideal for bridge floors,  highways,  airport  runways  or other high-load trench applications.

Heavy-Duty

Welded Stair Treads page 29

PRODUCT  OPTIONS

Material: Carbon Steel, Carbon Steel (Powder Coated Black), Galvanized Steel Bar Height: 1" to 3" Bar Thickness: 1/4" - Rectangular (5/16" or 3/8" - Special Order) Surface: Smooth, Serrated Standard Size: 24" x 240", 24" x 288", 36" x 240", 36" x 288"

cross Bar Bearing Bar

Height

cross

Bar

Height

cross

Bar

|  | GHB (19-W-4) |  | GHB-2 (19-W-2) |  |
| --- | --- | --- | --- | --- |
| BAR SPACING | 4" 1-3/16" Bearing Bar Cross Bar |  | 2" 2" 1-3/16" |  |
| END VIEW (3/8" AND 5/16" THICKNESS ALSO AVAILABLE) | 1/4" Bearing Bar 15/16" |  | 1/4" Bearing Bar 15/16" |  |
| BEARING BAR SIZE | SERIES | #/SF | SERIES | #/SF |
| 1" x 1/4" | GHB-100 | 9.8 | GHB-100-2 | 10.7 |
| 1-1/4" x 1/4" | GHB-125 | 12.0 | GHB-125-2 | 12.9 |
| 1-1/2" x 1/4" | GHB-150 | 14.3 | GHB-150-2 | 15.1 |
| 1-3/4" x 1/4" | GHB-175 | 16.5 | GHB-175-2 | 17.4 |
| 2" x 1/4" | GHB-200 | 18.7 | GHB-200-2 | 19.6 |
| 2-1/2" x 1/4" | GHB-250 | 23.2 | GHB-250-2 | 24.0 |
| 3" x 1/4" | GHB-300 | 27.9 | -- | -- |

PANEL WIDTHS:  GHB,  GHB-2

| # BARS | BEARING BAR THICKNESS |  |  | # BARS | BEARING BAR THICKNESS |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1/4" | 5/16" | 3/8" |  | 1/4" | 5/16" | 3/8" |
| 2 | 1-7/16" | 1-1/2" | 1-9/16" | 17 | 19-1/4" | 19-5/16" | 19-3/8" |
| 3 | 2-5/8" | 2-11/16" | 2-3/4" | 18 | 20-7/16" | 20-1/2" | 20-9/16" |
| 4 | 3-13/16" | 3-7/8" | 3-15/16" | 19 | 21-5/8" | 21-11/16" | 21-3/4" |
| 5 | 5" | 5-1/16" | 5-1/8" | 20 | 22-13/16" | 22-7/8" | 22-15/16" |
| 6 | 6-3/16" | 6-1/4" | 6-5/16" | 21 | 24" | 24-1/16" | 24-1/8" |
| 7 | 7-3/8" | 7-7/16" | 7-1/2" | 22 | 25-3/16" | 25-1/4" | 25-5/16" |
| 8 | 8-9/16" | 8-5/8" | 8-11/16" | 23 | 26-3/8" | 26-7/16" | 26-1/2" |
| 9 | 9-3/4" | 9-13/16" | 9-7/8" | 24 | 27-9/16" | 27-5/8" | 27-11/16" |
| 10 | 10-15/16" | 11" | 11-1/16" | 25 | 28-3/4" | 28-13/16" | 28-7/8" |
| 11 | 12-1/8" | 12-3/16" | 12-1/4" | 26 | 29-15/16" | 30" | 30-1/16" |
| 12 | 13-5/16" | 13-3/8" | 13-7/16" | 27 | 31-1/8" | 31-3/16" | 31-1/4" |
| 13 | 14-1/2" | 14-9/16" | 14-5/8" | 28 | 32-5/16" | 32-3/8" | 32-7/16" |
| 14 | 15-11/16" | 15-3/4" | 15-13/16" | 29 | 33-1/2" | 33-9/16" | 33-5/8" |
| 15 | 16-7/8" | 16-15/16" | 17" | 30 | 34-11/16" | 34-3/4" | 34-13/16" |
| 16 | 18-1/16" | 18-1/8" | 18-3/16" | 31 | 35-7/8" | 35-15/16" | 36" |

PEDS & TREADS®

McNICHOLS PEDS & TREADS® Heavy-Duty  Welded  Steel  Grating satisfies  both  ADA  and  AASHTO (American Association of State Hwy. and Trans. Officials) requirements. It is ideal for parking garages, sidewalks and pedestrian accessible roadways where ventilation or drainage is required.

PEDS & TREADS®

5

BAR  SPACING:  GHB,  GHB-2

| LOAD TABLE: GHB, GHB-2 (STEEL) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BEARING BAR SIZE |  | SPAN (1-3/16" CENTER TO CENTER BAR SPACING) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 1'-0" | 1'-6" | 2'-0" | 2'-6" | 3'-0" | 3'-6" |  | 4'-0" | 4'-6" | 5'-0" | 5'-6" | 6'-0" | 6'-6" | 7'-0" | 7'-6" | 8'-0" |
| 1" x 1/4" | U | 5615 | 2495 | 1404 | 898 | 624 | 458 |  | 351 | 277 | 225 | 186 | 156 | 133 | 115 | 100 | 88 |
|  | D | .021 | .047 | .083 | .129 | .186 | .253 |  | .331 | .419 | .518 | .627 | .745 | .875 | 1.018 | 1.166 | 1.329 |
|  | C | 2807 | 1872 | 1404 | 1123 | 936 | 802 |  | 702 | 624 | 561 | 510 | 468 | 432 | 401 | 374 | 351 |
|  | D | .016 | .037 | .066 | .104 | .149 | .203 |  | .265 | .335 | .414 | .500 | .596 | .700 | .811 | .931 | 1.060 |
| 1-1/4" x 1/4" | U | 8772 | 3899 | 2193 | 1404 | 975 | 716 |  | 548 | 433 | 351 | 290 | 244 | 208 | 179 | 156 | 137 |
|  | D | .017 | .037 | .066 | .104 | .149 | .203 |  | .265 | .335 | .414 | .501 | .597 | .701 | .811 | .931 | 1.059 |
|  | C | 4386 | 2924 | 2193 | 1754 | 1462 | 1253 |  | 1097 | 975 | 877 | 797 | 731 | 675 | 627 | 585 | 548 |
|  | D | .013 | .030 | .053 | .083 | .119 | .162 |  | .212 | .268 | .331 | .400 | .477 | .560 | .649 | .745 | .847 |
| 1-1/2" x 1/4" | U | 12632 | 5614 | 3158 | 2021 | 1404 | 1031 |  | 790 | 624 | 505 | 418 | 351 | 299 | 258 | 225 | 197 |
|  | D | .014 | .031 | .055 | .086 | .124 | .169 |  | .221 | .279 | .345 | .418 | .497 | .583 | .676 | .777 | .881 |
|  | C | 6316 | 4211 | 3158 | 2526 | 2105 | 1805 |  | 1579 | 1404 | 1263 | 1148 | 1053 | 972 | 902 | 842 | 790 |
|  | D | .011 | .025 | .044 | .069 | .099 | .135 |  | .177 | .224 | .276 | .334 | .397 | .466 | .541 | .621 | .707 |
| 1-3/4" x 1/4" | U | 17193 | 7641 | 4298 | 2751 | 1910 | 1404 |  | 1075 | 849 | 688 | 568 | 478 | 407 | 351 | 306 | 269 |
|  | D | .012 | .027 | .047 | .074 | .106 | .145 |  | .189 | .239 | .296 | .357 | .426 | .500 | .580 | .666 | .758 |
|  | C | 8597 | 5731 | 4298 | 3439 | 2866 | 2456 |  | 2149 | 1910 | 1719 | 1563 | 1433 | 1323 | 1228 | 1146 | 1075 |
|  | D | .010 | .021 | .038 | .059 | .085 | .116 |  | .151 | .192 | .236 | .286 | .341 | .400 | .463 | .532 | .606 |
| 2" x 1/4" | U | 22456 | 9980 | 5614 | 3593 | 2495 | 1833 |  | 1404 | 1109 | 898 | 742 | 624 | 532 | 458 | 399 | 351 |
|  | D | .010 | .023 | .041 | .065 | .093 | .127 |  | .166 | .210 | .259 | .313 | .373 | .438 | .507 | .582 | .662 |
|  | C | 11228 | 7485 | 5614 | 4491 | 3743 | 3208 |  | 2807 | 2495 | 2246 | 2041 | 1871 | 1727 | 1604 | 1497 | 1404 |
|  | D | .008 | .019 | .033 | .052 | .075 | .101 |  | .132 | .168 | .207 | .250 | .298 | .350 | .406 | .466 | .530 |
| 2-1/2" x 1/4" | U | 35088 | 15595 | 8772 | 5614 | 3899 | 2864 |  | 2193 | 1733 | 1404 | 1160 | 975 | 830 | 716 | 624 | 548 |
|  | D | .008 | .019 | .033 | .052 | .075 | .101 |  | .132 | .168 | .207 | .250 | .298 | .350 | .406 | .466 | .529 |
|  | C | 17544 | 11696 | 8772 | 7018 | 5848 | 5013 |  | 4386 | 3899 | 3509 | 3190 | 2924 | 2699 | 2506 | 2339 | 2193 |
|  | D | .007 | .015 | .027 | .041 | .060 | .081 |  | .106 | .134 | .166 | .200 | .238 | .280 | .324 | .372 | .424 |
| 3" x 1/4" | U | 50527 | 22456 | 12632 | 8084 | 5614 | 4125 |  | 3158 | 2495 | 2021 | 1670 | 1404 | 1196 | 1031 | 898 | 789 |
|  | D | .007 | .016 | .028 | .043 | .062 | .085 |  | .110 | .140 | .172 | .209 | .248 | .291 | .338 | .388 | .441 |
|  | C | 25263 | 16842 | 12632 | 10105 | 8421 | 7218 |  | 6316 | 5614 | 5053 | 4593 | 4211 | 3887 | 3609 | 3368 | 3158 |
|  | D | .006 | .012 | .022 | .035 | .050 | .068 |  | .088 | .112 | .138 | .167 | .199 | .233 | .270 | .310 | .353 |
| 3-1/2" x 1/4" | U | 68772 | 30565 | 17193 | 11004 | 7641 | 5614 |  | 4298 | 3396 | 2751 | 2273 | 1910 | 1628 | 1404 | 1223 | 1075 |
|  | D | .006 | .013 | .024 | .037 | .053 | .072 |  | .095 | .120 | .148 | .179 | .213 | .250 | .290 | .333 | .379 |
|  | C | 34386 | 22924 | 17193 | 13754 | 11462 | 9825 |  | 8597 | 7641 | 6877 | 6252 | 5731 | 5290 | 4912 | 4585 | 4298 |
|  | D | .005 | .011 | .019 | .030 | .043 | .058 |  | .076 | .096 | .118 | .143 | .170 | .200 | .232 | .266 | .303 |
| 4" x 1/4" | U | 89825 | 39922 | 22456 | 14372 | 9981 | 7333 |  | 5614 | 4436 | 3593 | 2969 | 2495 | 2126 | 1833 | 1597 | 1404 |
|  | D | .005 | .012 | .021 | .032 | .047 | .063 |  | .083 | .105 | .129 | .156 | .186 | .219 | .253 | .291 | .331 |
|  | C | 44913 | 29942 | 22456 | 17965 | 14971 | 12832 |  | 11228 | 9981 | 8983 | 8166 | 7485 | 6910 | 6416 | 5988 | 5614 |
|  | D | .004 | .009 | .017 | .026 | .037 | .051 |  | .066 | .084 | .104 | .125 | .149 | .175 | .203 | .233 | .265 |
| U - Uniform Load - Lbs./Square Foot D - Deflection - in Inches C - Concentrated Load - Lbs./Square Foot of Width at Mid Span GHB and GHB-2 is welded. This Grating is not normally used for standard floor layouts but is usually selected by engineers for rolling or vehicular loads for narrow space work. This technical information provided is as a reference for evaluation by technically skilled persons only, with any use thereof to be at their independent discretion and risk. McNICHOLS shall have no responsibility or liability for results obtained or damages resulting from improper evaluation or use of Grating. |  |  |  |  |  |  |  | Length or Span UNIFORM LOAD or Length Span Width Load Diagram Swage-Locked Cross Bars CONCENTRATED LOAD Deflection Width Deflection |  |  |  |  |  |  |  |  |  |

© 2018 800.237.3820 mcnichols.com

| BAR GRATING | McNICHOLS® GRATING PRODUCTS |
| --- | --- |

SWAGE-LOCKED  BAR GRATING

McNICHOLS®  Swage-Locked Bar Grating is manufactured using an exclusive swaging (or pinching) and forming process that prevents the cross bars from turning or twisting. These Aluminum-only panels are available in Rectangular Bar, Flush Top, I-Bar and T-Bar styles in a variety of bar heights.

GAL SERIES

GAL SERIES

PRODUCT  OPTIONS

McNICHOLS®    GAL  Series  Grating  is  an economical solution for applications requiring high strength and rigidity. GAL Series is lightweight and corrosion-resistant.

Material: Aluminum Bar Height: 1" to 2" (2-1/4" and 2-1/2" Special Order) Bar Thickness: 1/8", 3/16" (Rectangular) Surface: Smooth, Serrated Standard Size: 24" x 240", 24" x 288", 36" x 240", 36" x 288"

LOAD TABLE: GAL (ALUMINUM)

| BEARING BAR SIZE |  | SPAN (1-3/16" CENTER TO CENTER BAR SPACING) |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 2' | 2'6" | 3' | 3'6" | 4' | 4'6" | 5' | 5'6" | 6' | 7' | 8' |
| 1" x 1/8" | U | 421 | 269 | 187 | 137 | 105 | 83 | U - Uniform Load - Lbs./Square Foot D - Deflection - in Inches C - Concentrated Load - Lbs./Square Foot of Width at Mid Span For Serrated Grating the depth of the Grating will be 1/4" greater than shown in table. 105; 87; 73. .720; .871; 1.037. 263; 239; 219. .576; .697; .829. 158; 130; 110; 81. .720; .871; 1.037; 1.411. 395 .576; 359; 329; 282. .697; .829; 1.129. |
|  | D | .144 | .225 | .324 | .441 | .576 | .729 |  |  |  |  |  |
|  | C | 421 | 337 | 281 | 241 | 211 | 187 |  |  |  |  |  |
|  | D | .115 | .180 | .259 | .353 | .461 | .583 |  |  |  |  |  |
| 1" x 3/16" | U | 632 | 404 | 281 | 206 | 158 | 125 |  |  |  |  |  |
|  | D | .144 | .225 | .324 | .441 | .576 | .729 |  |  |  |  |  |
|  | C | 632 | 505 | 421 | 361 | 316 | 281 |  |  |  |  |  |
|  | D | .115 | .180 | .259 | .353 | .461 | .583 |  |  |  |  |  |
| 1-1/4" x 1/8" | U | 658 | 421 | 292 | 215 | 164 | 130 |  |  |  |  |  |
|  | D | .115 | .180 | .259 | .353 | .461 | .583 |  |  |  |  |  |
|  | C | 658 | 526 | 439 | 376 | 329 | 292 |  |  |  |  |  |
|  | D | .092 | .144 | .207 | .282 | .369 | .467 |  |  |  |  |  |
| 1-1/4" x 3/16" | U | 987 | 632 | 439 | 322 | 247 | 195 |  |  |  |  |  |
|  | D | .115 | .180 | .259 | .353 | .461 | .583 |  |  |  |  |  |
|  | C | 987 | 789 | 658 | 564 | 493 | 439 |  |  |  |  |  |
|  | D | .092 | .144 | .207 | .282 | .369 | .467 |  |  |  |  |  |
| 1-1/2" x 1/8" | U | 947 | 606 | 421 | 309 | 237 | 187 | 152 | 125 | 105 | 77 | 59 |
|  | D | .096 | .150 | .216 | .294 | .384 | .486 | .600 | .726 | .846 | 1.176 | 1.536 |
|  | C | 947 | 758 | 632 | 541 | 474 | 421 | 379 | 344 | 316 | 271 | 237 |
|  | D | .077 | .120 | .173 | .235 | .307 | .389 | .480 | .581 | .691 | .941 | 1.229 |
| 1-1/2" x 3/16" | U | 1421 | 909 | 632 | 464 | 355 | 281 | 227 | 188 | 158 | 116 | 89 |
|  | D | .096 | .150 | .216 | .294 | .384 | .486 | .600 | .726 | .864 | 1.176 | 1.536 |
|  | C | 1421 | 1137 | 947 | 812 | 711 | 632 | 568 | 517 | 474 | 406 | 355 |
|  | D | .077 | .120 | .173 | .235 | .307 | .389 | .480 | .581 | .691 | .941 | 1.229 |
| 1-3/4" x 3/16" | U | 1934 | 1238 | 860 | 632 | 484 | 382 | 309 | 256 | 215 | 158 | 121 |
|  | D | .082 | .129 | .185 | .252 | .329 | .417 | .514 | .622 | .741 | 1.008 | 1.317 |
|  | C | 1934 | 1547 | 1289 | 1105 | 967 | 860 | 774 | 703 | 645 | 553 | 484 |
|  | D | .066 | .103 | .148 | .202 | .263 | .333 | .411 | .498 | .592 | .806 | 1.053 |
| 2" x 3/16" | U | 2526 | 1617 | 1123 | 825 | 632 | 499 | 404 | 334 | 281 | 206 | 158 |
|  | D | .072 | .113 | .162 | .221 | .288 | .365 | .450 | .545 | .648 | .882 | 1.152 |
|  | C | 2526 | 2021 | 1684 | 1444 | 1263 | 1123 | 1011 | 919 | 842 | 722 | 632 |
|  | D | .058 | .090 | .130 | .176 | .230 | .292 | .360 | .436 | .518 | .706 | .922 |
| 2-1/4" x 3/16" | U | 3197 | 2046 | 1421 | 1044 | 799 | 632 | 512 | 423 | 355 | 261 | 200 |
|  | D | .064 | .100 | .144 | .196 | .256 | .324 | .400 | .484 | .576 | .784 | 1.024 |
|  | C | 3197 | 2558 | 2132 | 1827 | 1599 | 1421 | 1279 | 1163 | 1066 | 914 | 799 |
|  | D | .051 | .080 | .115 | .157 | .205 | .259 | .320 | .387 | .461 | .627 | .819 |
| 2-1/2" x 3/16" | U | 3947 | 2526 | 1754 | 1289 | 987 | 780 | 632 | 522 | 439 | 322 | 247 |
|  | D | .058 | .090 | .130 | .176 | .230 | .292 | .360 | .436 | .518 | .706 | .922 |
|  | C | 3947 | 3158 | 2632 | 2256 | 1974 | 1754 | 1579 | 1435 | 1316 | 1128 | 987 |
|  | D | .046 | .072 | .104 | .141 | .184 | .233 | .288 | .348 | .415 | .564 | .737 |
| U -Uniform Load - Lbs./Square Foot D -Deflection - in Inches C - Concentrated Load - Lbs./Square Foot of Width at Mid Span Spans shaded in blue produce a deflection of 1/4" or less under a uniform load of 100 lbs. per square foot. This deflection is recommended as the maximum to provide pedestrian comfort. It can be exceeded at the discretion of the engineer. This technical information provided is as a reference for evaluation by technically skilled persons only, with any use thereof to be at their independent discretion and risk. McNICHOLS shall have no responsibility or liability for results obtained or damages resulting from improper evaluation or use of Grating. Not recommended for wheel traffic or barefoot pedestrians. |  |  |  |  |  |  |  |  |  |  |  |  |

6

Swage-Locked Stair Treads page 29

| WIDTHS: GAL BAR SPACING: GAL |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | GAL (19-S-4) |  | GAL-2 (19-S-2) |  |  | # BARS | GAL | # BARS | GAL |
| BAR SPACING | 4" 1-3/16" Cross Bar Bearing Bar |  | cross Bar Bearing Bar 2" 2" 1-3/16" |  |  |  |  |  |  |
|  |  |  |  |  |  |  | RECTANGULAR |  | RECTANGULAR |
|  |  |  |  |  |  | 2 | 1-3/8" | 22 | 25-1/8" |
|  |  |  |  |  |  | 3 | 2-9/16" | 23 | 26-5/16" |
|  |  |  |  |  |  | 4 | 3-3/4" | 24 | 27-1/2" |
|  |  |  |  |  |  | 5 | 4-15/16" | 25 | 28-11/16" |
| END VIEW (1/8" THICKNESS ALSO AVAILABLE) | Height cross Bar 3/16" Bearing Bar 1" |  | Height cross Bar 3/16" Bearing Bar 1" |  |  |  |  |  |  |
|  |  |  |  |  |  | 6 | 6-1/8" | 26 | 29-7/8" |
|  |  |  |  |  |  | 7 | 7-5/16" | 27 | 31-1/16" |
|  |  |  |  |  |  | 8 | 8-1/2" | 28 | 32-1/4" |
|  |  |  |  |  |  | 9 | 9-11/16" | 29 | 33-7/16" |
|  |  |  |  |  |  | 10 | 10-7/8" | 30 | 34-5/8" |
| BEARING BAR SIZE | SERIES | #/SF | SERIES | #/SF |  | 11 | 12-1/16" | 31 | 35-13/16" |
|  |  |  |  |  |  | 12 | 13-1/4" | 32 | -- |
| 1" x 1/8" | GAL-100-A | 1.8 | GAL-100-A-2 | 2.0 |  |  |  |  |  |
|  |  |  |  |  |  | 13 | 14-7/16" | 33 | -- |
| 1" x 3/16" | GAL-100 | 2.6 | GAL-100-2 | 2.8 |  |  |  |  |  |
|  |  |  |  |  |  | 14 | 15-5/8" | 34 | -- |
| 1-1/4" x 1/8" | GAL-125-A | 2.1 | GAL-125-A-2 | 2.4 |  |  |  |  |  |
|  |  |  |  |  |  | 15 | 16-13/16" | 35 |  |
| 1-1/4" x 3/16" | GAL-125 | 3.2 | GAL-125-2 | 3.5 |  |  |  |  | -- |
|  |  |  |  |  |  | 16 | 18" | 36 | -- |
| 1-1/2" x 1/8" | GAL-150-A | 2.5 | GAL-150-A-2 | 2.8 |  |  |  |  |  |
|  |  |  |  |  |  | 17 18 | 19-3/16" 20-3/8" | 37 38 |  |
| 1-1/2" x 3/16" | GAL-150 | 3.8 | GAL-150-2 | 3.9 |  |  |  |  | -- |
| 1-3/4" x 3/16" | GAL-175 | 4.3 | GAL-175-2 | 4.4 |  |  |  |  | -- |
| 2" x 3/16" | GAL-200 | 4.9 | GAL-200-2 | 5.0 |  | 19 | 21-9/16" | 39 | PLEASE NOTE: Deduct 1/16" from widths shown for 1/8" bearing bars. |
| 2-1/4" x 3/16" | GAL-225 | 5.3 | GAL-225-2 | 5.6 |  | 20 | 22-3/4" | 40 |  |
|  |  |  |  |  |  | 21 | 23-15/16" | -- |  |
| 2-1/2" x 3/16" | GAL-250 | 5.8 | GAL-250-2 | 6.1 |  |  |  |  |  |

SFT SERIES

SFT SERIES

McNICHOLS®     SFT  Series  Grating has  cross   bars  flush  with  the  bearing bars  along  the  top  and  is  the  product of  choice  where  standing  and  walking comfort is a requirement .

| CLIPS & FASTENERS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Type CB |  | Type GFS |  | Type GG |  |
| Type Z |  | Type J |  | Type RSSGC1C |  |
| A complete list of Clips and Fasteners is available on page 28. |  |  |  |  |  |

800.237.3820 mcnichols.com © 2018

McNICHOLS®  GRATING PRODUCTS                                               BAR  GRATING

SWAGE-LOCKED  BAR GRATING (CONTINUED)

GIA SERIES

GIA SERIES

I-Bar Stair Treads

page 29

McNICHOLS®  GIA Series I-Bar Grating has I-shaped bearing bars that are locked in place by swaging  the  cross  bars.  This  Grating  series   is an  economical  solution  for applications  requiring high  strength  and  rigidity  and   is  ideal  for   light pedestrian traffic. Made of Aluminum, this series is also lightweight and corrosion-resistant.

BAR  SPACING:  GIA,  SGIA

Material: Aluminum Bar Height: 1" to 2" (2-1/4", 2-1/2" Special Order) Bar Thickness: 1/4" (I-Bar) Surface: Grooved Standard Size: 24" x 240", 24" x 288", 36" x 240", 36" x 288"

LOAD TABLE: GIA, SGIA (ALUMINUM)

Bearing Bar

cross Bar

Bearing Bar

Height

cross        Bar

Height

cross        Bar

Height

Bar

Height

Bar

|  | GIA (19-SI-4) |  | GIA-2 (19-SI-2) |  | SGIA (15-SI-4) |  | SGIA-2 (15-SI-2) |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BAR SPACING | 4" 15/16" Bearing Bar Cross Bar |  | 2" 2" 1-3/16" |  | 4" 15/16" Bearing Bar Cross Bar |  | 2" 2" 15/16" Cross Bar |  |
| END VIEW | 1/4" Bearing Bar 15/16" |  | 1/4" Bearing Bar 15/16" |  | 1/4" Bearing cross Bar 11/16" |  | 1/4" Bearing cross Bar 11/16" |  |
| BEARING BAR SIZE | SERIES | #/SF | SERIES | #/SF | SERIES | #/SF | SERIES | #/SF |
| 1" x 1/4" | GIA-100 | 2.0 | GIA-100-2 | 2.1 | SGIA-100 | 2.3 | SGIA-100-2 | 2.5 |
| 1-1/4" x 1/4" | GIA-125 | 2.3 | GIA-125-2 | 2.5 | SGIA-125 | 2.8 | SGIA-125-2 | 2.9 |
| 1-1/2" x 1/4" | GIA-150 | 2.6 | GIA-150-2 | 2.8 | SGIA-150 | 3.2 | SGIA-150-2 | 3.4 |
| 1-3/4" x 1/4" | GIA-175 | 3.0 | GIA-175-2 | 3.3 | SGIA-175 | 3.7 | SGIA-175-2 | 3.9 |
| 2" x 1/4" | GIA-200 | 3.4 | GIA-200-2 | 3.7 | SGIA-200 | 4.2 | SGIA-200-2 | 4.4 |
| 2-1/4" x 1/4" | GIA-225 | 3.8 | GIA-225-2 | 4.0 | SGIA-225 | 4.6 | SGIA-225-2 | 4.9 |
| 2-1/2" x 1/4" | GIA-250 | 4.0 | GIA-250-2 | 4.2 | SGIA-250 | 4.9 | SGIA-250-2 | 5.1 |

PANEL WIDTHS:  GIA,  SGIA

| #BARS | GIA, GIA-2 | SGIA | #BARS | GIA, GIA-2 | SGIA | #BARS | GIA, GIA-2 | SGIA |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 1-7/16" | 1-3/16" | 14 | 16-7/8" | 13-3/8" | 27 | 32-5/16" | 25-9/16" |
| 2 | 2-5/8" | 2-1/8" | 15 | 18-1/16" | 14-5/16" | 28 | 33-1/2" | 26-1/2" |
| 3 | 3-13/16" | 3-1/16" | 16 | 19-1/4" | 15-1/4" | 29 | 34-11/16" | 27-7/16" |
| 4 | 5" | 4" | 17 | 20-7/16" | 16-3/16" | 30 | 35-7/8" | 28-3/8" |
| 5 | 6-3/16" | 4-15/16" | 18 | 21-5/8" | 17-1/8" | 31 | -- | 29-5/16" |
| 6 | 7-3/8" | 5-7/8" | 19 | 22-13/16" | 18-1/16" | 32 | -- | 30-1/4" |
| 7 | 8-9/16" | 6-13/16" | 20 | 24" | 19" | 33 | -- | 31-3/16" |
| 8 | 9-3/4" | 7-3/4" | 21 | 25-3/16" | 19-15/16" | 34 | -- | 32-1/8" |
| 9 | 10-15/16" | 8-11/16" | 22 | 26-3/8" | 20-7/8" | 35 | -- | 33-1/16" |
| 10 | 12-1/8" | 9-5/8" | 23 | 27-9/16" | 21-13/16" | 36 | -- | 34" |
| 11 | 13-5/16" | 10-9/16" | 24 | 28-3/4" | 22-3/4" | 37 | -- | 34-15/16" |
| 12 | 14-1/2" | 11-1/2" | 25 | 29-15/16" | 23-11/16" | 38 | -- | 35-7/8" |
| 13 | 15-11/16" | 12-7/16" | 26 | 31-1/8" | 24-5/8" | -- | -- | -- |

McNICHOLS® Bar Grating, Swage-Locked, GAL-150 - Stair Treads - Margarido House, Oakland, CA

7

PRODUCT  OPTIONS

| BEARING BAR SIZE |  | SPAN (1-3/16" CENTER TO CENTER BAR SPACING) |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 2' | 2'6" | 3' | 3'6" | 4' | 4'6" | 5' | 5'6" | 6' | 7' | 8' |
| 1" I-Bar | U | 632 | 404 | 281 | 206 | 158 | 125 | To determine load for SGIA or SGIA-2, multiply value at left by the load factor of 1.27. Deflection under the factored loads will be same as shown in the load table. 158; 130; 110; 81. .720; .871; 1.037; 1.411. 395; 359; 329; 282. .576; .697; .829; 1.129. |
|  | D | .144 | .225 | .324 | .441 | .576 | .729 |  |  |  |  |  |
|  | C | 632 | 505 | 421 | 361 | 316 | 281 |  |  |  |  |  |
|  | D | .115 | .180 | .259 | .353 | .461 | .583 |  |  |  |  |  |
| 1-1/4" I-Bar | U | 987 | 632 | 439 | 322 | 247 | 195 |  |  |  |  |  |
|  | D | .115 | .180 | .259 | .353 | .461 | .583 |  |  |  |  |  |
|  | C | 987 | 789 | 658 | 564 | 493 | 439 |  |  |  |  |  |
|  | D | .092 | .144 | .207 | .282 | .368 | .467 |  |  |  |  |  |
| 1-1/2" I-Bar | U | 1421 | 909 | 632 | 464 | 355 | 281 | 227 | 188 | 158 | 116 | 89 |
|  | D | .096 | .150 | .216 | .294 | .384 | .486 | .600 | .726 | .864 | 1.176 | 1.536 |
|  | C | 1421 | 1137 | 947 | 812 | 711 | 632 | 568 | 517 | 474 | 406 | 355 |
|  | D | .077 | .120 | .173 | .235 | .307 | .389 | .480 | .581 | .691 | .941 | 1.229 |
| 1-3/4" I-Bar | U | 1934 | 1238 | 860 | 632 | 484 | 382 | 309 | 256 | 215 | 158 | 121 |
|  | D | .082 | .129 | .185 | .252 | .329 | .417 | .514 | .622 | .741 | 1.008 | 1.317 |
|  | C | 1934 | 1547 | 1289 | 1105 | 967 | 860 | 774 | 703 | 645 | 553 | 484 |
|  | D | .066 | .103 | .148 | .202 | .263 | .333 | .411 | .498 | .592 | .806 | 1.053 |
| 2" I-Bar | U | 2526 | 1617 | 1123 | 825 | 632 | 499 | 404 | 334 | 281 | 206 | 158 |
|  | D | .072 | .113 | .162 | .221 | .288 | .365 | .450 | .545 | .648 | .882 | 1.152 |
|  | C | 2526 | 2021 | 1684 | 1444 | 1263 | 1123 | 1011 | 919 | 842 | 722 | 632 |
|  | D | .058 | .090 | .130 | .176 | .230 | .292 | .360 | .436 | .518 | .706 | .922 |
| 2-1/4" I-Bar | U | 3197 | 2046 | 1421 | 1044 | 799 | 632 | 512 | 423 | 355 | 261 | 200 |
|  | D | .064 | .100 | .144 | .196 | .256 | .324 | .400 | .484 | .576 | .784 | 1.024 |
|  | C | 3197 | 2558 | 2132 | 1827 | 1599 | 1421 | 1279 | 1163 | 1066 | 914 | 799 |
|  | D | .051 | .080 | .115 | .157 | .205 | .259 | .320 | .387 | .461 | .627 | .819 |
| 2-1/2" I-Bar | U | 3947 | 2526 | 1754 | 1289 | 987 | 780 | 632 | 522 | 439 | 322 | 247 |
|  | D | .058 | .090 | .130 | .176 | .230 | .292 | .360 | .436 | .518 | .706 | .922 |
|  | C | 3947 | 3158 | 2632 | 2256 | 1974 | 1754 | 1579 | 1435 | 1316 | 1128 | 987 |
|  | D | .046 | .072 | .104 | .141 | .184 | .233 | .288 | .348 | .415 | .564 | .737 |
| U - Uniform Load - Lbs./Square Foot D - Deflection - in Inches C - Concentrated Load - Lbs./Square Foot of Width at Mid Span Spans shaded in blue produce a deflection of 1/4" or less under a uniform load of 100 lbs. per square foot. This deflection is recommended as the maximum to provide pedestrian comfort. It can be exceeded at the discretion of the engineer. This technical information provided is as a reference for evaluation by technically skilled persons only, with any use thereof to be at their independent discretion and risk. McNICHOLS shall have no responsibility or liability for results obtained or damages resulting from improper evaluation or use of Grating. Not recommended for wheel traffic or barefoot pedestrians. |  |  |  |  |  |  |  |  |  |  |  |  |

© 2018 800.237.3820 mcnichols.com

| BAR GRATING | McNICHOLS® GRATING PRODUCTS |
| --- | --- |

SWAGE-LOCKED  BAR GRATING (CONTINUED)

SAFE-T-GRID®

McNICHOLS   SAFE-T-GRID®   Grating  is  configured with extruded T-shaped bearing bars and extruded cross bars that are locked together by swaging for a high strength and  rigid construction. The  large T-Bar  surface  makes  it ideal  for  pedestrian  traffic. TB-940  meets  the  spacing requirements of the Americans with Disabilities Act (ADA).

SAFE-T-GRID®

SAFE-T-GRID® Stair Treads page 29

BAR  SPACING:  SAFE-T-GRID®

| PRODUCT OPTIONS |  |
| --- | --- |
| Material: | Aluminum |
| Bar Height: | 1", 1-1/4", 1-1/2" (2" Special) |
| Surface: | Grooved (GRIP TIGHT® Available) |
| Standard Size: | 36-1/4" x 288" TB-626 (Special Order) 36-9/16" x 288" TB-940 (ADA Approved) |

|  | TB-626 (19-S-4) |  |  |  |  |  | TB-940 (19-S-4) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BAR SPACING | 3/5" |  |  |  |  |  | 1/4" |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Height |  |  |  |  |  |  |
| END VIEW |  |  | 0.626Ⅱ |  |  |  |  |  |  |  |  |  |  |
|  | cross Bar Bearing Bar |  |  |  |  |  | cross Bar |  |  |  | 4—Bearing Bar |  |  |
| BEARING BAR HEIGHT | BAR THICKNESS | BAR SPACING |  | #/SF |  | WIDTHS | BAR THICKNESS |  | BAR SPACING |  |  | #/SF | WIDTHS |
| 1" | 0.626" | 0.5615" |  | 2.6 |  | 36-1/4" | 0.940" |  | 0.2475" |  |  | 3.0 | 36-9/16" |
| 1-1/4" | 0.626" | 0.5615" |  | 3.1 |  | 36-1/4" | 0.940" |  | 0.2475" |  |  | 4.0 | 36-9/16" |
| 1-1/2" | 0.626" | 0.5615" |  | 3.3 |  | 36-1/4" | 0.940" |  | 0.2475" |  |  | 4.3 | 36-9/16" |
| 2" | 0.626" | 0.5615" |  | 3.8 |  | 36-1/4" | 0.940" |  | 0.2475" |  |  | 4.8 | 36-9/16" |

Height                           ▲

Bearing Bar

Cross Bar

Cross Bar               Bearing Bar

LOAD TABLE:  SAFE-T-GRID®  (ALUMINUM)

0.940Ⅱ

| HEIGHT | TYPE |  | 2' | 2' 6" | 3' | 3' 6" | 4' | 4' 6" | 5' | 5' 6" | 6' | 6' 6" | 7' | 7' 6" | 8' |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1" | TB-626 | U | 990 | 634 | 440 | 323 | 248 | 196 | 158 | 131 | 110 | 94 | 81 | 70 | 62 |
|  |  | D | .136 | .212 | .305 | .415 | .544 | .688 | .846 | 1.027 | 1.221 | 1.437 | 1.666 | 1.897 | 2.175 |
|  |  | C | 990 | 792 | 660 | 566 | 495 | 440 | 396 | 360 | 330 | 305 | 283 | 264 | 248 |
|  |  | D | .109 | .170 | .244 | .333 | .434 | .549 | .678 | .821 | .977 | 1.148 | 1.330 | 1.526 | 1.740 |
| 1" | TB-940 | U | 1051 | 673 | 467 | 343 | 263 | 208 | 168 | 139 | 117 | 100 | 86 | 75 | 66 |
|  |  | D | .125 | .195 | .281 | .382 | .500 | .633 | .779 | .944 | 1.125 | 1.325 | 1.532 | 1.761 | 2.006 |
|  |  | C | 1051 | 841 | 701 | 601 | 526 | 467 | 420 | 382 | 350 | 323 | 300 | 280 | 263 |
|  |  | D | .100 | .156 | .225 | .306 | .400 | .505 | .623 | .755 | .898 | 1.053 | 1.222 | 1.403 | 1.599 |
| 1-1/4" | TB-626 | U | 1516 | 970 | 674 | 495 | 379 | 299 | 243 | 200 | 168 | 144 | 124 | 108 | 95 |
|  |  | D | .108 | .169 | .243 | .331 | .432 | .546 | .676 | .815 | .969 | 1.145 | 1.326 | 1.522 | 1.733 |
|  |  | C | 1516 | 1213 | 1011 | 866 | 758 | 674 | 606 | 551 | 505 | 466 | 433 | 404 | 379 |
|  |  | D | .086 | .135 | .194 | .265 | .346 | .438 | .540 | .653 | .777 | .912 | 1.058 | 1.214 | 1.382 |
| 1-1/4" | TB-940 | U | 1738 | 1112 | 773 | 568 | 435 | 343 | 278 | 230 | 193 | 165 | 142 | 124 | 109 |
|  |  | D | .097 | .151 | .218 | .297 | .387 | .489 | .605 | .732 | .870 | 1.025 | 1.186 | 1.365 | 1.553 |
|  |  | C | 1738 | 1391 | 1159 | 993 | 869 | 773 | 695 | 632 | 579 | 535 | 497 | 464 | 435 |
|  |  | D | .077 | .121 | .174 | .237 | .310 | .392 | .484 | .585 | .696 | .818 | .949 | 1.090 | 1.240 |
| 1-1/2" | TB-626 | U | 2021 | 1293 | 898 | 660 | 505 | 399 | 323 | 267 | 225 | 191 | 165 | 144 | 126 |
|  |  | D | .091 | .142 | .205 | .279 | .364 | .461 | .569 | .689 | .822 | .961 | 1.117 | 1.284 | 1.455 |
|  |  | C | 2021 | 1617 | 1347 | 1155 | 1011 | 898 | 808 | 735 | 674 | 622 | 577 | 539 | 505 |
|  |  | D | .073 | .114 | .164 | .223 | .292 | .369 | .455 | .551 | .657 | .770 | .892 | 1.025 | 1.166 |
| 1-1/2" | TB-940 | U | 2344 | 1500 | 1042 | 766 | 586 | 463 | 375 | 310 | 260 | 222 | 191 | 167 | 147 |
|  |  | D | .082 | .128 | .184 | .251 | .327 | .414 | .512 | .619 | .736 | .865 | 1.001 | 1.153 | 1.314 |
|  |  | C | 2344 | 1876 | 1563 | 1340 | 1172 | 1042 | 938 | 853 | 781 | 721 | 670 | 625 | 586 |
|  |  | D | .065 | .102 | .147 | .201 | .262 | .332 | .410 | .496 | .589 | .692 | .803 | .921 | 1.048 |
| 2" | TB-626 | U | 3173 | 2031 | 1410 | 1036 | 793 | 627 | 508 | 420 | 353 | 300 | 259 | 226 | 198 |
|  |  | D | .069 | .108 | .156 | .212 | .277 | .351 | .434 | .525 | .625 | .731 | .849 | .977 | 1.108 |
|  |  | C | 3173 | 2538 | 2115 | 1813 | 1587 | 1410 | 1269 | 1154 | 1058 | 976 | 907 | 846 | 793 |
|  |  | D | .055 | .087 | .125 | .170 | .222 | .281 | .347 | .420 | .499 | .586 | .680 | .780 | .887 |
| 2" | TB-940 | U | 3719 | 2380 | 1653 | 1214 | 930 | 735 | 595 | 492 | 413 | 352 | 304 | 264 | 232 |
|  |  | D | .063 | .098 | .141 | .192 | .251 | .318 | .392 | .475 | .565 | .663 | .770 | .881 | 1.003 |
|  |  | C | 3719 | 2975 | 2479 | 2125 | 1859 | 1653 | 1488 | 1352 | 1240 | 1144 | 1063 | 992 | 930 |
|  |  | D | .050 | .078 | .113 | .154 | .201 | .254 | .314 | .380 | .452 | .530 | .616 | .707 | .804 |
| U - Uniform Load - Lbs./Square Foot D - Deflection - in Inches C - Concentrated Load - Lbs./Square Foot of Width at Mid Span Spans shaded in blue produce a deflection of 1/4" or less under a uniform load of 100 lbs. per square foot. This deflection is recommended as the maximum to provide pedestrian comfort. It can be exceeded at the discretion of the engineer. This technical information provided is as a reference for evaluation by technically skilled persons only, with any use thereof to be at their independent discretion and risk. McNICHOLS shall have no responsibility or liability for results obtained or damages resulting from improper evaluation or use of Grating. Not recommended for vehicular traffic or barefoot pedestrians. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

McNICHOLS  SAFE-T-GRID® - Pedestrian Entryway Flooring

8

McNICHOLS  SAFE-T-GRID® - Stair Treads with Round Hole Perforated Metal Stair Risers - Apartment Houses, St. Petersburg, FL

800.237.3820 mcnichols.com © 2018

McNICHOLS®  GRATING PRODUCTS                                               BAR  GRATING

PRESS-LOCKED  BAR GRATING

McNICHOLS®  Press-Locked Bar Grating cross bars and bearing bars are notched and pressed together through a high-pressure manufacturing process. The result is a bi-directional flush surface that assures a firm, rigid connection and is aesthetically appealing for architectural applications.

GAA SERIES

GCM SERIES

GCM (CLOSE MESH) & GAA SERIES

McNICHOLS® Press-Locked GCM Series CLOSE MESH Grating is formed by pressing the cross bars and bearing bars together through a high-pressure process. The GCM Series Grating offers bearing bar spacings that are ADA compliant. GCM-1 Grating, a good choice for ADA applications, is stocked in 1" x 3/16", 1-1/4" x 3/16" and 1-1/2" bearing bars in both Plain Steel and Aluminum. Other sizes of the GCM-1 material available as Special Order items, including 1/8" and 3/16" bearing bar thicknesses. Other GCM Series and GAA Grating are also available as a Special Order.

BAR  SPACING:  GCM,  GAA

available by Special Order)

| PRODUCT OPTIONS |  |
| --- | --- |
| Material: Bar Height: Bar Thickness: Surface: Standard Size: | Aluminum, Carbon Steel, Galvanized Steel, Stainless Steel 3/4" to 2-1/2" (1", 1-1/4" and 1-1/2" Stock; All other sizes 3/16" - Rectangular (1/8" Special Order) Smooth, Serrated 36" x 144" |

LOAD TABLE:  GCM-1  (ALUMINUM)

3/16"

| BEARING BAR SIZE |  | SPAN (7/16" CENTER TO CENTER BAR SPACING) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 1' | 1'6" | 2' | 2'6" | 3' | 3'6" | 4' | 4'6" | 5' | 5'6" | 6' | 6'6" | 7' | 7'6" | 8' |
| 3/4" x 3/16" | U | 3587 | 1714 | 964 | 617 | 429 | 315 | 241 | 190 | 154 | 127 | 107 | 91 | 79 | 69 | 60 |
|  | D | .048 | .108 | .192 | .300 | .432 | .588 | .768 | .970 | 1.198 | 1.446 | 1.726 | 2.022 | 2.360 | 2.717 | 3.058 |
|  | C | 1928 | 1286 | 964 | 771 | 643 | 551 | 482 | 429 | 386 | 351 | 321 | 297 | 275 | 257 | 241 |
|  | D | .038 | .086 | .154 | .240 | .346 | .470 | .614 | .778 | .961 | 1.163 | 1.381 | 1.624 | 1.878 | 2.159 | 2.457 |
| 1" x 3/16" | U | 6857 | 3047 | 1714 | 1097 | 762 | 560 | 429 | 339 | 274 | 227 | 190 | 162 | 140 | 122 | 107 |
|  | D | .036 | .081 | .144 | .225 | .324 | .441 | .577 | .730 | .899 | 1.090 | 1.293 | 1.518 | 1.765 | 2.026 | 2.301 |
|  | C | 3428 | 2286 | 1714 | 1371 | 1143 | 980 | 857 | 762 | 686 | 623 | 571 | 527 | 490 | 457 | 429 |
|  | D | .029 | .065 | .115 | .180 | .259 | .353 | .461 | .583 | .720 | .871 | 1.036 | 1.216 | 1.412 | 1.619 | 1.845 |
| 1-1/4" x | U | 10714 | 4762 | 2679 | 1714 | 1190 | 875 | 670 | 529 | 429 | 354 | 298 | 254 | 219 | 190 | 167 |
|  | D | .029 | .065 | .115 | .180 | .259 | .353 | .461 | .583 | .721 | .871 | 1.038 | 1.219 | 1.413 | 1.616 | 1.839 |
|  | C | 5357 | 3571 | 2679 | 2143 | 1786 | 1531 | 1339 | 1190 | 1071 | 974 | 893 | 824 | 765 | 714 | 670 |
|  | D | .023 | .052 | .092 | .144 | .207 | .282 | .369 | .466 | .576 | .697 | .830 | .973 | 1.128 | 1.295 | 1.475 |
| 13-1//126""x | U | 15429 | 6857 | 3857 | 2469 | 1714 | 1259 | 964 | 762 | 617 | 510 | 429 | 365 | 315 | 274 | 241 |
|  | D | .024 | .054 | .096 | .150 | .216 | .294 | .384 | .486 | .600 | .726 | .865 | 1.014 | 1.177 | 1.349 | 1.536 |
|  | C | 7714 | 5143 | 3857 | 3086 | 2571 | 2204 | 1929 | 1714 | 1543 | 1403 | 1286 | 1187 | 1102 | 1029 | 964 |
|  | D | .019 | .043 | .077 | .120 | .173 | .235 | .307 | .389 | .480 | .581 | .691 | .811 | .941 | 1.080 | 1.228 |
| 1-3/4" x 3/16" | U | 21000 | 9333 | 5250 | 3360 | 2333 | 1714 | 1313 | 1037 | 840 | 694 | 583 | 497 | 429 | 373 | 328 |
|  | D | .021 | .046 | .082 | .129 | .185 | .252 | .329 | .417 | .514 | .622 | .740 | .869 | 1.009 | 1.156 | 1.316 |
|  | C | 10500 | 7000 | 5250 | 4200 | 3500 | 3000 | 2625 | 2333 | 2100 | 1909 | 1750 | 1615 | 1500 | 1400 | 1313 |
|  | D | .016 | .037 | .066 | .103 | .148 | .202 | .263 | .333 | .411 | .498 | .592 | .695 | .806 | .926 | 1.054 |
| 2" x 3/16" | U | 27429 | 12191 | 6857 | 4389 | 3048 | 2239 | 1714 | 1355 | 1097 | 907 | 762 | 649 | 560 | 488 | 429 |
|  | D | .018 | .041 | .072 | .113 | .162 | .220 | .288 | .365 | .450 | .545 | .648 | .760 | .882 | 1.013 | 1.153 |
|  | C | 13714 | 9143 | 6857 | 5486 | 4571 | 3918 | 3429 | 3048 | 2743 | 2494 | 2286 | 2110 | 1959 | 1829 | 1714 |
|  | D | .014 | .032 | .058 | .090 | .130 | .176 | .230 | .292 | .360 | .436 | .518 | .608 | .706 | .810 | .921 |

| LOAD TABLE: GCM-1 (STEEL) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BEARING BAR SIZE |  | SPAN (7/16" CENTER TO CENTER BAR SPACING) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 1' | 1'6" | 2' | 2'6" | 3' | 3'6" | 4' | 4'6" | 5' | 5'6" | 6' | 6'6" | 7' | 7'6" | 8' |
| 3/4" x 3/16" | U | 5785 | 2571 | 1446 | 926 | 643 | 472 | 362 | 286 | 231 | 191 | 161 | 137 | 118 | 103 | 90 |
|  | D | .025 | .056 | .099 | .155 | .224 | .304 | .398 | .503 | .620 | .750 | .895 | 1.049 | 1.216 | 1.399 | 1.582 |
|  | C | 2893 | 1928 | 1446 | 1157 | 964 | 826 | 723 | 643 | 579 | 526 | 482 | 445 | 413 | 386 | 362 |
|  | D | .020 | .045 | .079 | .124 | .179 | .243 | .318 | .402 | .497 | .601 | .715 | .839 | .973 | 1.118 | 1.273 |
| 1" x 3/16" | U | 10285 | 4571 | 2571 | 1646 | 1143 | 840 | 643 | 508 | 411 | 340 | 286 | 243 | 210 | 183 | 161 |
|  | D | .019 | .042 | .074 | .116 | .168 | .228 | .298 | .377 | .465 | .563 | .671 | .785 | .913 | 1.048 | 1.194 |
|  | C | 5143 | 3428 | 2571 | 2057 | 1714 | 1469 | 1286 | 1143 | 1029 | 935 | 857 | 791 | 735 | 686 | 643 |
|  | D | .015 | .034 | .060 | .093 | .134 | .182 | .238 | .302 | .373 | .451 | .536 | .629 | .730 | .838 | .954 |
| 1-1/4" x 3/16" | U | 16072 | 7143 | 4018 | 2571 | 1786 | 1312 | 1004 | 794 | 643 | 531 | 446 | 380 | 328 | 286 | 251 |
|  | D | .015 | .034 | .060 | .093 | .134 | .182 | .238 | .302 | .372 | .450 | .536 | .629 | .730 | .839 | .953 |
|  | C | 8036 | 5357 | 4018 | 3214 | 2679 | 2296 | 2009 | 1786 | 1607 | 1461 | 1339 | 1236 | 1148 | 1071 | 1004 |
|  | D | .012 | .027 | .048 | .074 | .107 | .146 | .191 | .241 | .298 | .360 | .429 | .503 | .584 | .670 | .762 |
| 1-1/2" x 3/16" | U | 23143 | 10286 | 5786 | 3703 | 2571 | 1889 | 1446 | 1143 | 926 | 765 | 643 | 548 | 472 | 411 | 362 |
|  | D | .012 | .028 | .050 | .078 | .112 | .152 | .199 | .251 | .310 | .375 | .447 | .525 | .608 | .698 | .795 |
|  | C | 11572 | 7714 | 5786 | 4629 | 3857 | 3306 | 2893 | 2571 | 2314 | 2104 | 1929 | 1780 | 1653 | 1543 | 1446 |
|  | D | .010 | .022 | .040 | .062 | .089 | .122 | .159 | .201 | .248 | .300 | .358 | .420 | .487 | .559 | .635 |
| 1-3/4" x 3/16" | U | 31500 | 14000 | 7875 | 5040 | 3500 | 2571 | 1969 | 1556 | 1260 | 1041 | 875 | 746 | 643 | 560 | 492 |
|  | D | .011 | .024 | .043 | .067 | .096 | .130 | .170 | .216 | .266 | .322 | .383 | .450 | .521 | .599 | .681 |
|  | C | 15750 | 10500 | 7875 | 6300 | 5250 | 4500 | 3938 | 3500 | 3150 | 2864 | 2625 | 2423 | 2250 | 2100 | 1969 |
|  | D | .009 | .019 | .034 | .053 | .077 | .104 | .136 | .172 | .213 | .258 | .306 | .360 | .417 | .479 | .545 |
| 2" x 3/16" | U | 41143 | 18286 | 10286 | 6583 | 4571 | 3359 | 2571 | 2032 | 1646 | 1360 | 1143 | 974 | 840 | 731 | 643 |
|  | D | .009 | .021 | .037 | .058 | .084 | .114 | .149 | .189 | .233 | .282 | .335 | .393 | .456 | .523 | .596 |
|  | C | 20572 | 13714 | 10286 | 8229 | 6857 | 5878 | 5143 | 4571 | 4114 | 3740 | 3429 | 3165 | 2939 | 2743 | 2571 |
|  | D | .007 | .017 | .030 | .047 | .067 | .091 | .119 | .151 | .186 | .225 | .268 | .315 | .365 | .419 | .477 |
| U - Uniform Load - Lbs./Sq. Ft. D - Deflection - in Inches C - Concentrated Load - Lbs./Sq. Ft. of Width at Mid Span |  |  |  |  |  |  |  | Load table for other sizes are available upon request. |  |  |  |  |  |  |  |  |

McNICHOLS®  Press-Locked GAA Series Grating is formed by pressing the cross bars into the bearing bars, flush top under tremendous pressure, laterally displacing 1/16" of cross bar material into the dovetail slot.

|  | GCM-1 (7-P-4) |  | GCM-2 (8-P-4) |  | GCM-4 (11-P-4) |  | GAA (19-P-4) |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BAR SPACING | 7/16" 4" Cross Bar Bearing Bar |  | 1/2" 4" Bearing Bar Cross Bar |  | 11/16" 4" Cross Bar Bearing Bar |  | 1-3/16" 4" Bearing Bar Cross Bar |  |
| END VIEW | Cross Bar Height 3/16" Bearing Bar 1/4" |  | Cross Bar Height 3/16" Bearing Bar . 5/16" |  | Cross Bar Height 3/16" Bearing Bar 1/2" |  | Height 3/16" Bearing Bar H a Cross Bar 1" |  |
| BEARING BAR SIZE | SERIES | #/SF | SERIES | #/SF | SERIES | #/SF | SERIES | #/SF |
| 3/4" x 1/8" | -- | -- | GCM-2-75-A | 8.6 | -- | -- | GAA-75-A | 4.4 |
| 3/4" x 3/16" | GCM-1-75 | 13.7 | GCM-2-75 | 12.3 | GCM-4-75 | 9.0 | GAA-75 | 5.7 |
| 1" x 1/8" | -- | -- | GCM-2-100-A | 11.5 | -- | -- | GAA-100-A | 5.2 |
| 1" x 3/16" | GCM-1-100 | 18.1 | GCM-2-100 | 16.5 | GCM-4-100 | 11.9 | GAA-100 | 7.5 |
| 1-1/4" x 1/8" | -- | -- | GCM-2-125-A | 14.2 | -- | -- | GAA-125-A | 6.3 |
| 1-1/4" x 3/16" | GCM-1-125 | 22.6 | GCM-2-125 | 20.7 | GCM-4-125 | 14.8 | GAA-125 | 9.1 |
| 1-1/2" x 1/8" | -- | -- | GCM-2-150-A | 17.2 | -- | -- | GAA-150-A | 7.6 |
| 1-1/2" x 3/16" | GCM-1-150 | 27.2 | GCM-2-150 | 25.0 | GCM-4-150 | 17.8 | GAA-150 | 11.0 |
| 1-3/4" x 3/16" | GCM-1-175 | 31.6 | GCM-2-175 | 29.4 | GCM-4-175 | 20.8 | GAA-175 | 12.7 |
| 2" x 3/16" | GCM-1-200 | 36.2 | GCM-2-200 | 33.2 | GCM-4-200 | 23.8 | GAA-200 | 14.3 |
| 2-1/4" x 3/16" | GCM-1-225 | 40.1 | GCM-2-225 | 37.3 | GCM-4-225 | 26.5 | GAA-225 | 16.0 |
| 2-1/2" x 3/16" | -- | -- | GCM-2-250 | 41.4 | GCM-4-250 | 29.3 | GAA-250 | 17.7 |

9

PANEL WIDTHS:  GCM,  GAA

| #BARS | GCM-1 | GCM-2 | GCM-4 | GAA | #BARS | GCM-1 | GCM-2 | GCM-4 | GAA |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | PLEASE NOTE: GCM-1 also 83 |  |  | 1-3/8" | 18 | 7-5/8" | 8-11/16" | 11-5/8" | 20-3/8" |
| 3 | up to available in widths bars, GCM-2 available in widths up to 72 bars, GCM-4 available in widths up to 52 bars. Wider areas will be made in two or more panels. Panels are available up to 48" by special order. All other widths are cut-to-size. Deduct 1/16" from width for 1/8" bearing bars. Width and length tolerance ± 1/4" |  |  | 2-91/6" | 19 | 8-1/16" | 9-3/16" | 12-9/16" | 21-9/16" |
| 4 |  |  |  | 3-3/4" | 20 | 8-1/2" | 9-11/16" | 13-1/4" | 22-3/4" |
| 5 |  |  |  | 4-15/16" | 21 | 8-15/16" | 10-3/16" | 13-15/16" | 23-15/16" |
| 6 |  |  |  | 6-1/8" | 22 | 9-3/8" | 10-11/16" | 14-5/8" | 25-1/8" |
| 7 |  |  |  | 7-5/16" | 23 | 9-13/16" | 11-3/16" | 15-5/16" | 26-15/16" |
| 8 |  |  |  | 8-1/2" | 24 | 10-1/4" | 11-11/16" | 16" | 27-1/2" |
| 9 |  |  |  | 9-11/16" | 25 | 10-11/16" | 12-3/16" | 16-11/16" | 28-11/16" |
| 10 | 4-1/8" | 4-11/16" | 6-3/8" | 10-7/8" | 26 | 11-1/8" | 12-11/16" | 17-3/8" | 29-7/8" |
| 11 | 4-9/16" | 5-3/16" | 7-1/16" | 12-11/16" | 27 | 11-9/16" | 13-3/16" | 18-1/16" | 31-1/16" |
| 12 | 5" | 5-11/16" | 7-3/4" | 13-1/4" | 28 | 12" | 13-11/16" | 18-3/4" | 32-1/4" |
| 13 | 5-7/16" | 6-3/16" | 8-7/16" | 14-7/16" | 29 | 12-7/16" | 14-3/16" | 19-7/16" | 33-7/16" |
| 14 | 5-7/8" | 6-11/16" | 9-1/8" | 15-5/8" | 30 | 12-7/8" | 14-11/16" | 20-1/8" | 34-5/8" |
| 15 | 6-5/16" | 7-3/16" | 9-13/16" | 16-3/16" | 31 | 13-5/16" | 15-3/16" | 20-13/16" | 35-13/16" |
| 16 | 6-3/4" | 7-11/16" | 10-1/2" | 18" | 32 | 13-3/4" | 15-11/16" | 21-1/2" | -- |
| 17 | 7-3/16" | 8-3/16" | 11-3/16" | 19-3/16" | -- | -- | -- | -- | -- |

© 2018 800.237.3820 mcnichols.com

| BAR GRATING | McNICHOLS® GRATING PRODUCTS |
| --- | --- |

BAR GRATING  STAIR TREADS

McNICHOLS®  Bar Grating Stair Treads are a top choice for strength, safety and long-term cost savings. Below are just some of the most popular selections. We also have many stair treads IN STOCK AND READY TO GO!

Welded Stair Tread Checkered Plate Nosing

GW  SERIES

| PRODUCT OPTIONS |  |
| --- | --- |
| Material: Bar Height: Bar Thickness: Surface: Width: Length/Span: | Carbon Steel, Carbon Steel (Powder Coated Black), Galvanized Steel, Stainless Steel 1", 1-1/4", 1-1/2" 1/8", 3/16" (Rectangular) Smooth, Serrated 8-9/16", 9-3/4", 10-15/16", 12-1/8" In stock or made to order fast! |

McNICHOLS®   Welded GW Series Grating   Stair   Treads  will  handle  most moderate loads and light wheel traffic with standard bearing  bar centers of  1-3/16". For  more  details on  GW Series  Grating, please see page 4.

Heavy-Duty Welded Stair Tread Cast Abrasive Nosing

| PRODUCT OPTIONS |  |
| --- | --- |
| Material: | Carbon Steel, Carbon Steel (Powder Coated Black), |
| Bar Height: | 1", 1-1/4", 1-1/2" |
| Bar Thickness: | 1/4" (Rectangular) |
| Surface: | Smooth, Serrated |
| Width: | 8-9/16", 9-3/4", 10-15/16", 12-1/8" |
| Length/Span: | In stock or made to order fast! |

GHB  SERIES

McNICHOLS®   Heavy-Duty Welded GHB Series Grating Stair Treads can  handle heavier  load  requirements  with  a  bearing bar thickness of 1/4" and bar heights from 1" to 3". For more details on GHB Series Grating, please see page 5.

Swage-Locked Stair Tread Corrugated Angle Nosing

| PRODUCT OPTIONS |  |
| --- | --- |
| Material: Bar Height: Bar Thickness: Surface: Width: Length/Span: | Aluminum 1", 1-1/4", 1-1/2", 1-3/4" 3/16" (Rectangular) Smooth, Serrated 8-9/16", 9-3/4", 10-15/16", 12-1/8" In stock or made to order fast! |

GAL  SERIES

McNICHOLS®  Swage-Locked GAL Series  Grating  Stair  Treads  are  an economical  solution  for  applications requiring  high  strength  and  rigidity. GAL Series is lightweight and corrosion- resistant.   For   more   details   on   GAL Series Grating, please see page 6.

I-Bar Stair Tread Corrugated Angle Nosing

| PRODUCT OPTIONS |  |
| --- | --- |
| Material: Bar Height: Bar Thickness: Surface: Width: Length/Span: | Aluminum 1", 1-1/4", 1-1/2", 1-3/4" 1/4" (I-Bar) Grooved 8-5/8", 9-13/16", 11", 12-3/16" In stock or made to order fast! |

GIA  SERIES

McNICHOLS® Swage-Locked GIA Series I-Bar Grating  Stair Treads are an economical solution for applications requiring high strength and  rigidity.  GIA  Series  Stair Treads  are lightweight  and  corrosion-resistant.  For  more details on GIA Series Grating, please see page 7.

| PRODUCT OPTIONS |  |
| --- | --- |
| Material: Bar Height: Bar Thickness: Surface: Length/Span: | Aluminum 1", 1-1/4", 1-1/2" Please see Bar Spacing chart on page 30. Grooved (GRIP TIGHT® Available) In stock or made to order fast! Lengths up to 42" for 1-1/2" height TB-940 only. |

SAFE-T-GRID® Stair Tread Corrugated Angle Nosing

SAFE-T-GRID®

| END PLATE DIMENSIONS |  |  |  |  |
| --- | --- | --- | --- | --- |
| GW/GAL SERIES |  |  |  |  |
| WIDTH | HEIGHT | A | B | C |
| 5", 6-3/16" | 1" - 1-1/4" | 2-1/2" | 1-3/4" | 2-1/2" |
| 5", 6-3/16" | 1-1/2" - 2-1/2" | 2-1/2" | 2-1/4" | 3" |
| 7-3/8", 8-9/16" | 1" - 1-1/4" | 4-1/2" | 1-3/4" | 2-1/2" |
| 7-3/8", 8-9/16" | 1-1/2" - 2-1/2" | 4-1/2" | 2-1/4" | 3" |
| 9-3/4", 10-15/16", 12-1/8" | 1" - 1-1/4" | 7" | 1-3/4" | 2-1/2" |
| 9-3/4", 10-15/16", 12-1/8" | 1-1/2" - 2-1/2" | 7" | 2-1/4" | 3" |

|  | RECTANGULAR BAR 1-3/16" CTC BB |  |  | I-BAR 1-3/16" CTC BB |  |
| --- | --- | --- | --- | --- | --- |
|  | BEARING BAR SIZE | MAXIMUM TREAD SPAN |  | BEARING BAR SIZE | MAX.TREAD SPAN |
|  |  | PLAIN | SERRATED |  |  |
| ALUMINUM | 1" x 3/16" | 28" | -- | 1" x 1/4" | 28" |
|  | 1-1/4" x 3/16" | 34" | 31" | 1-1/4" x 1/4" | 34" |
|  | 1-1/2" x 3/16" | 42" | 38" | 1-1/2" x 1/4" | 42" |
|  | 1-3/4" x 3/16" | 51" | 46" | 1-3/4" x 1/4" | 51" |
| STEEL | 3/4" x 3/16" | 28" | -- | PLEASE NOTE: Maximum tread length/span based on 300 lb. concentrated load on front 5 inches of tread at center of tread length. |  |
|  | 1" x 3/16" | 41" | 34" |  |  |
|  | 1-1/4" x 3/16" | 56" | 50" |  |  |
|  | 1-1/2" x 3/16" | 66" | 63" |  |  |

10

McNICHOLS®    Swage-Locked  SAFE- T-GRID®  Grating Stair Treads offer comfort and  provide  a  corrosion-resistant  walking surface  ideal  for waste water treatment plants  applications,  pedestrian  bridges, and walkways. For more details on SAFE- T-GRID®  Grating, please see page 8.

| End Plate View 1-1/4" |  |
| --- | --- |
| Nosing Width Grating |  |
| C B 7/16" Dia. Hole \ Slot a ra A 7/16" x 1-7/16" 1-1/8" |  |

800.237.3820 mcnichols.com © 2018

McNICHOLS®  GRATING PRODUCTS                                                 FIBERGLASS

FIBERGLASS  GRATING

PRODUCT  SPECIFICATIONS

HOW TO ORDER/SPECIFY

McNICHOLS®

FIBERGLASS GRATING

The information provided below is your  guide for  choosing the  right Mc NICHOLS®  FIBERGLASS GRATING product for your project . Please specify:

APPLICATION – Fiberglass Grating use and physical requirements:

.   Exposure   to   chemicals   and/or extreme temperatures

.   Fire   retardant   rating   ( Resin Characteristics  table  on this  page has additional information)

.   Loading, span and support requirements (product load tables in this section have additional information)

CONSTRUCTION  TYPE –   Molded   (Square, Rectangular) or Pultruded (I-Bar, T-Bar, Wide T-Bar)

RESIN & TYPE – Type of Resin (SP F Polyester,  SV F  Vinyl  Ester,  S GF Polyester, SFF Polyester, SPH Phenolic)

COLOR  –   Choose  Grating  color   (e.g. Yellow, Green, etc.)

GRID  HEIGHT,  SIZE  &  SHAPE  –   Molded grid   height,   grid   pattern   spacing (measured in inches) and shape (square or rectangular)

BEARING BAR SIZE, SHAPE & SPACING   – Pultruded bearing bar height (measured in  inches),  shape  (I-Bar,  T-Bar,  Wide T-Bar) and spacing (center to center of bearing bars, between bearing bar top flanges, and between bottom bearing bar bottom flanges)

PRODUCT SURFACE – Concave, grit (Molded)

or fine, medium or coarse grit (Pultruded) OPEN AREA – Percentage of open area

SPAN – Direction of Pultruded bearing bars or Molded grid (Rectangular pattern only)

QUANTITY/SIZE(S) – Number of panels and/or sizes (including cut-to-size pieces and stub/cut preferences)

SPECIAL – Requirements like fabrication, notching, cut-outs, stair treads, EXTREN® Structural Shapes and Plate, non-standard tolerances, etc.

ACCESSORIES –  Quantity  and  type  of Clips or Fasteners/Hardware

McNICHOLS® Fiberglass Grating, Molded, MS-S-150  -  Flooring

McNICHOLS®  Fiberglass Grating offers a variety of styles, strengths, resins and bearing bar colors. Molded and Pultruded Fiberglass Grating are lightweight, corrosion-resistant, fire-retardant and can be used like traditional Metal Grating but have the inherent benefits of Fiberglass. They are ideal alternatives to Steel Gratings in corrosive environments or when frequent Grating and Walkway replacement costs are prohibitive.

| CONSTRUCT ION TYPES |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| SQUARE MOLDED DECKING & FLOORING PULTRUDED I-BAR # RECTANGULAR MOLDED SER IES TYPE & NAME PULTRUDED T-BAR/WIDE T-BAR MS-I-6000 - DURGRID® SAFDECK® , SAFPLANK® , SAFPLATE® Square Grid: MS-S, MS-M Rectangular Grid: MS-R, MS-T-R, MS-T-C , MS-I-4000 - DURAGRID® , MS-T-5020 - DURAGRID® , MS-T-I-6015 - DURAGRID® , MS-I-6515 - DURADEK® , MS-WT-1810 - DURAGRID® , MS-WT-1210 - DURAGRID® MS-WT-3810 - DURAGRID® |  |  |  |  |  |
| RESIN | Polyester, Vinyl Ester | Polyester, Vinyl Ester | Polyester, Vinyl Ester, Phenolic | Polyester, Vinyl Ester | Polyester |
| HEIGHT | 1", 1-1/2", 2" | 1", 1-1/2" | 1", 1-1/2" | 1", 1-1/2", 2" | Deck: 1-1/8" Plank: 2" Plate: 0.125",0.250" |
| PRODUCT SURFACE | Concave, Grit | Concave, Grit | Fine Grit, Medium Grit, Coarse Grit | Fine Grit, Medium Grit, Coarse Grit | Grit: Punched or Solid Smooth: Punched or Solid |
| % OPEN AREA | 72% to 44% | 69% to 65% | 40% to 65% | 12% to 18% | 0% to 4% |
| STANDARD PANEL SIZE | 36" x 120" 48" x 96" 48" x 120" 48" x 144" 60" x 120" | 36" x 120" 36" x 144" 48" x 96" 48" x 144" | 36" x 240" 48" x 240" | 36" x 240" 48" x 240" 48-1/8" x 144" | Deck: 24" x 240", 24" x 288" Plank: 12" & 24" x 144", 240" & 288" Plate: 48" x 96" |
| WE ARE READY AND INSPIRED TO SERVE ® YOU AT 800 . 237 . 3820! |  |  |  |  |  |

11

| RESIN CHARACTERISTICS | RESIN | TYPE | DESCRIPTION |
| --- | --- | --- | --- |
|  | SPF | Polyester | Fire Retardant, Class 1 Flame Rating of 25 or less per ASTM E-84 |
|  | SVF | Vinyl Ester | Fire Retardant, Class 1 Flame Rating of 25 or less per ASTM E-84 |
|  | SGF | Polyester | Orthophthalic Polyester Architectural Grade, Fire Retardant, Class 1 Flame Rating of 25 or less per ASTM E-84 |
|  | SFF | Polyester | Food Grade, Fire Retardant, Class 2 Flame Rating of 30 or less per ASTM E-84 |
|  | SPH | Phenolic | Fire Retardant, Class 1 Flame Rating of 25 or less per ASTM E-84. Flame Spread 10, Smoke Index 10 |
|  | NFR | Various Composites | Non-Fire Retardant |

© 2018 800.237.3820 mcnichols.com

| FIBERGLASS | McNICHOLS® GRATING PRODUCTS |
| --- | --- |

SQUARE MOLDED FIBERGLASS GRATING

PRODUCT  DETAILS:  SQUARE  GRID (MS-S)

SQUARE  GRID  (MS-S)

McNICHOLS® Square Grid MS-S Molded Fiberglass   Grating   panels   are   corrosion- resistant and fire-retardant. An optional grit surface   provides   additional   slip-resistant properties. Square Grid Molded Grating has an open area range from 70% to 72%, depending on the grid size.

MS-S-100

OPTIONS

|  | Resin: SPF, SVF, SGF Color: Dark Gray, Green, Light Gray, Yellow Grid Height: 1-1/2" | Grid Size: 1-1/2" x 1-1/2" Square Surface: Concave, Grit Width: 48" Length: 144" |
| --- | --- | --- |

| STOCK LIST | SERIES | HEIGHT | GRID SIZE | #/SF | % O/A | RESIN/TYPE |
| --- | --- | --- | --- | --- | --- | --- |
|  | MS-S-100 | 1" | 1-1/2" x 1-1/2" | 2.6 | 70% | For Resin Characteristics, please see page 11. |
|  | MS-S-150 | 1-1/2" | 1-1/2" x 1-1/2" | 3.8 | 70% |  |
|  | MS-S-200 | 2" | 2" x 2" | 4.0 | 72% |  |

LOAD TABLE:  MS - S -150

| SPAN | LOAD | 50 | 100 | 150 | 200 | 250 | 300 | 400 | 500 | SAFE LOAD |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 12" | U | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | 0.011 | 0.014 | 0.018 | 3120 |
|  | C | <0.010 | <0.010 | <0.010 | 0.011 | 0.014 | 0.017 | 0.023 | 0.028 | 1560 |
| 18" | U | <0.010 | 0.014 | 0.021 | 0.028 | 0.036 | 0.043 | 0.057 | 0.071 | 1386 |
|  | C | <0.010 | 0.015 | 0.023 | 0.030 | 0.038 | 0.046 | 0.061 | 0.076 | 1040 |
| 24" | U | 0.021 | 0.042 | 0.063 | 0.084 | 0.104 | 0.125 | 0.167 | 0.209 | 780 |
|  | C | 0.017 | 0.033 | 0.050 | 0.067 | 0.084 | 0.100 | 0.134 | 0.167 | 780 |
| 30" | U | 0.047 | 0.094 | 0.141 | 0.188 | 0.235 | 0.283 | 0.377 | 0.471 | 496 |
|  | C | 0.030 | 0.060 | 0.090 | 0.121 | 0.151 | 0.181 | 0.241 | 0.301 | 620 |
| 36" | U | 0.096 | 0.192 | 0.288 | 0.384 | 0.480 | 0.576 | -- | -- | 347 |
|  | C | 0.051 | 0.102 | 0.154 | 0.205 | 0.256 | 0.307 | 0.410 | 0.512 | 520 |
| 42" | U | 0.175 | 0.350 | 0.525 | -- | -- | -- | -- | -- | 251 |
|  | C | 0.080 | 0.160 | 0.240 | 0.320 | 0.400 | 0.480 | 0.641 | 0.801 | 440 |
| 48" | U | 0.287 | 0.573 | -- | -- | -- | -- | -- | -- | 170 |
|  | C | 0.115 | 0.229 | 0.344 | 0.459 | 0.573 | 0.688 | -- | -- | 340 |
| U - Deflection Under Uniform Load Safe Load 5:1 C - Deflection Under Concentrated Load Safety Factor |  |  |  |  |  |  | MS-S-150 Square Grid Size:1-1/2" x 1-1/2" |  |  |  |

SQUARE GRID  (MS-M)

McNICHOLS®     Square     Grid     MS-M Molded  Grating  has  a  grid  surface  of  3/4" squares, while the  bottom grid  is  made up of 1-1/2"  squares.  The  small  surface  openings make it ideal for ADA applications with an open area of 44% .

- -

McNICHOLS® Square Molded Fiberglass Grating is the economical product of choice where corrosion resistance or fire retardancy is paramount and high impact resistance is desired. When compared to steel, this product is very lightweight but still maintains its ability to support heavy loads.

| DIAGRAM | 1-1/2" TOP VIEW | TOP AND SIDE VIEW OF MS-S-150 1-1/2" 1/4" 1" SIDE VIEW ▲ 13/64" |
| --- | --- | --- |
|  | 1-1/2" |  |

| LOAD TABLE: MS - S -100 |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SPAN | LOAD | 50 | 100 | 150 | 200 | 250 | 300 | 400 | 500 | SAFE LOAD |
| 12" | U | <0.010 | <0.010 | 0.013 | 0.017 | 0.021 | 0.025 | 0.034 | 0.042 | 1360 |
|  | C | <0.010 | 0.014 | 0.020 | 0.027 | 0.034 | 0.041 | 0.054 | 0.068 | 680 |
| 18" | U | 0.021 | 0.041 | 0.062 | 0.082 | 0.103 | 0.123 | 0.164 | 0.205 | 666 |
|  | C | 0.022 | 0.044 | 0.066 | 0.088 | 0.110 | 0.131 | 0.175 | 0.219 | 500 |
| 24" | U | 0.064 | 0.128 | 0.192 | 0.256 | 0.320 | 0.384 | 0.512 | 0.640 | 380 |
|  | C | 0.051 | 0.102 | 0.154 | 0.205 | 0.256 | 0.307 | 0.409 | 0.512 | 380 |
| 30" | U | 0.155 | 0.309 | 0.464 | 0.619 | -- | -- | -- | -- | 240 |
|  | C | 0.099 | 0.198 | 0.297 | 0.396 | 0.495 | 0.594 | -- | -- | 300 |
| 36" | U | 0.318 | 0.635 | -- | -- | MS-S | -100 Sq 1-1/2" x | uare Grid 1-1/2" | Size: | 160 |
|  | C | 0.169 | 0.339 | 0.508 | 0.677 |  |  |  |  | 240 |

| LOAD TABLE: MS-S-200 |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SPAN | LOAD | 50 | 100 | 150 | 200 | 250 | 300 | 400 | 500 | SAFE LOAD |
| 12" | U | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | 0.010 | 4000 |
|  | C | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | 0.010 | 0.013 | 0.016 | 2000 |
| 18" | U | <0.010 | <0.010 | 0.012 | 0.016 | 0.020 | 0.024 | 0.032 | 0.040 | 1813 |
|  | C | <0.010 | <0.010 | 0.013 | 0.017 | 0.021 | 0.026 | 0.034 | 0.043 | 1360 |
| 24" | U | 0.010 | 0.021 | 0.031 | 0.042 | 0.052 | 0.063 | 0.083 | 0.104 | 960 |
|  | C | <0.010 | 0.017 | 0.025 | 0.033 | 0.042 | 0.050 | 0.067 | 0.083 | 960 |
| 30" | U | 0.023 | 0.046 | 0.069 | 0.092 | 0.114 | 0.137 | 0.183 | 0.229 | 640 |
|  | C | 0.015 | 0.029 | 0.044 | 0.059 | 0.073 | 0.088 | 0.117 | 0.146 | 800 |
| 36" | U | 0.044 | 0.089 | 0.133 | 0.177 | 0.222 | 0.266 | 0.355 | 0.444 | 453 |
|  | C | 0.024 | 0.047 | 0.071 | 0.095 | 0.118 | 0.142 | 0.189 | 0.237 | 680 |
| 42" | U | 0.082 | 0.164 | 0.245 | 0.327 | 0.409 | 0.491 | 0.654 | -- | 331 |
|  | C | 0.037 | 0.075 | 0.112 | 0.150 | 0.187 | 0.224 | 0.299 | 0.374 | 580 |
| 48" | U | 0.135 | 0.270 | 0.405 | 0.541 | -- | -- | -- | -- | 260 |
|  | C | 0.054 | 0.108 | 0.162 | 0.216 | 0.270 | 0.324 | 0.432 | 0.541 | 520 |
| 54" | U | 0.210 | 0.420 | 0.630 | -- | -- | -- | -- | -- | 204 |
|  | C | 0.075 | 0.149 | 0.224 | 0.298 | 0.373 | 0.448 | 0.597 | -- | 460 |
| U - Deflection Under Uniform Load Safe Load 5:1 C - Deflection Under Concentrated Load Safety Factor |  |  |  |  |  |  | MS-S-200 Square Grid Size: 2" x 2" |  |  |  |

MS M 150

DIAGRAM

1/4"

▲

1-1/2"

Il

TOP VIEW

3/4"

ld-

3/4"

SIDE VIEW           ▲

|  | TOP AND SIDE VIEW OF MS-M-150 |  |  |
| --- | --- | --- | --- |
|  |  | 9/32" 3/4" 1-1/2" 13/64" |  |

OPTIONS

|  | Resin: SGF Color: Dark Grey, Green Grid Height: 1-1/2" | Grid Size: Top: 3/4" x 3/4" Square Bottom: 1-1/2" x 1-1/2" Square Surface: Grit Width: 48" Length: 144" |
| --- | --- | --- |

STOCK LIST

|  | SERIES | HEIGHT | GRID SIZE | #/SF | % OA | RESIN/TYPE |
| --- | --- | --- | --- | --- | --- | --- |
|  | MS-M-150 | 1-1/2" | 3/4" x 3/4" (TOP) | 4.4 | 40% | For Resin Characteristics, please see page 11. |

12

PRODUCT  DETAILS:  SQUARE  GRID (MS-M)

| LOAD TABLE: MS - M -150 |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SPAN | LOAD | 50 | 100 | 150 | 200 | 250 | 300 | 400 | 500 | SAFE LOAD |
| 12" | U | <0.010 | <0.010 | 0.011 | 0.014 | 0.017 | 0.021 | 0.028 | 0.035 | 3860 |
|  | C | <0.010 | 0.011 | 0.017 | 0.022 | 0.028 | 0.034 | 0.045 | 0.056 | 1930 |
| 18" | U | 0.013 | 0.026 | 0.039 | 0.052 | 0.065 | 0.078 | 0.104 | 0.130 | 1776 |
|  | C | 0.014 | 0.028 | 0.042 | 0.056 | 0.070 | 0.084 | 0.112 | 0.139 | 1332 |
| 24" | U | 0.025 | 0.050 | 0.075 | 0.100 | 0.126 | 0.151 | 0.201 | 0.251 | 1052 |
|  | C | 0.020 | 0.040 | 0.060 | 0.080 | 0.101 | 0.121 | 0.161 | 0.201 | 1052 |
| 30" | U | 0.055 | 0.110 | 0.165 | 0.219 | 0.274 | 0.329 | 0.439 | 0.548 | 632 |
|  | C | 0.035 | 0.070 | 0.105 | 0.140 | 0.176 | 0.211 | 0.281 | 0.351 | 790 |
| 36" | U | 0.087 | 0.173 | 0.260 | 0.346 | 0.433 | 0.520 | 0.692 | -- | 456 |
|  | C | 0.046 | 0.092 | 0.139 | 0.185 | 0.231 | 0.277 | 0.370 | 0.462 | 684 |
| 42" | U | 0.150 | 0.300 | 0.450 | 0.600 | -- | -- | -- | -- | 332 |
|  | C | 0.069 | 0.138 | 0.207 | 0.276 | -- | MS-M-15 0 Square Top: 3/4 ", Bottom |  |  | 582 |
| 48" | U | 0.245 | 0.490 | 0.735 | -- | -- |  |  | Grid Size: | 215 |
|  | C | 0.098 | 0.196 | 0.294 | -- | -- |  |  | : 1-1/2" | 430 |
| U - Deflection Under Uniform Load Safe Load 5:1 C - Deflection Under Concentrated Load Safety Factor |  |  |  |  |  |  |  |  |  |  |

800.237.3820 mcnichols.com © 2018

McNICHOLS®  GRATING PRODUCTS                                                   FIBERGLASS

RECTANGULAR MOLDED FIBERGLASS GRATING

PRODUCT  DETAILS:  RECTANGULAR  GRID

RECTANGULAR GRID  (MS-R)

McNICHOLS®     Rectangular    Grid Molded  Fiberglass  Grating  Panels  have  a 1" x 4" or 1-1/2" x 6" rectangular grid and are corrosion-resistant and fire-retardant. The panel surface is available with a concave top or with grit

MS-R-100

for added slip resistance. Rectangular Grid has an open area range from 67% to 69% depending on the grid size .

LOAD TABLE:  MS - R -100

OPTIONS

|  | Resin: SGF, SVF Color: Dark Gray Grid Height: 1", 1-1/2" | Grid Size: 1" x 4" Rectangular, 1-1/2" x 6" Rectangular Surface: Concave, Grit Width: 36", 48" Length: 96", 120", 144" |
| --- | --- | --- |

| STOCK LIST | SERIES | GRID HEIGHT | GRID SZIE | #/SF | % O/A |
| --- | --- | --- | --- | --- | --- |
|  | MS-R-100 | 1" | 1" x 4" | 2.80 | 69% |
|  | MS-R-150 | 1-1/2" | 1-1/2" x 6" | 3.75 | 67% |

Type F

Type Z

Type J

Type M

Type MI/MT

Type RI/RT

| CLIPS & FASTENERS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| A complete list of Clips and Fasteners is available on page 28. |  |  |  |  |  |

McNICHOLS® Rectangular Grid Molded Fiberglass Grating panels are corrosion-resistant and fire-retardant. The most popular grid is 1" x 4" with a 1" grid height (1-1/2" x 6" grid is also available). We offer a variety of panel colors, resin types and sizes from stock!

| DIAGRAM | TOP AND SIDE VIEW OF MS-R-100 |  | \ Glass Rovings MOLDED CONSTRUCTION Resin |
| --- | --- | --- | --- |
|  | 9/32" 1" 1" SIDE VIEW ▲ 15/64" | TOP VIEW 1" 4" |  |

| SPAN | LOAD | 50 | 100 | 150 | 200 | 250 | 300 | 400 | 500 | SAFE LOAD |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 12" | U | <.010 | <.010 | <.010 | .011 | .014 | .017 | .022 | .028 | 1960 |
|  | C | <.010 | <.010 | .013 | .018 | .022 | .027 | .035 | .044 | 980 |
| 18" | U | .012 | .025 | .037 | .049 | .062 | .074 | .099 | .123 | 960 |
|  | C | .013 | .026 | .039 | .053 | .066 | .079 | .105 | .131 | 720 |
| 24" | U | .037 | .074 | .112 | .149 | .186 | .223 | .298 | .372 | 560 |
|  | C | .030 | .060 | .089 | .119 | .149 | .179 | .238 | .298 | 560 |
| 30" | U | .088 | .176 | .264 | .352 | .440 | .528 | -- | -- | 336 |
|  | C | .056 | .113 | .169 | .225 | .282 | .338 | .451 | .563 | 420 |
| 36" | U | .176 | .353 | .529 | -- | -- | -- | -- | -- | 240 |
|  | C | .094 | .188 | .282 | .376 | .470 | .564 | -- | -- | 360 |
| 42" | U | .316 | .632 | -- | -- | -- | -- | -- | -- | 183 |
|  | C | .144 | .289 | .433 | .577 | -- | -- | -- | -- | 320 |
| U - Deflection Under Uniform Load Safe Load 5:1 C - Deflection Under Concentrated Load Safety Factor |  |  |  |  |  |  |  | MS-R-100 Rectangular Grid Size: 1" x 4" |  |  |

FIBERGLASS  STAIR

FIBERGLASS  MOLDED STAIR TREAD  PANEL

TREAD  COVER  PANEL

| SPAN | LOAD | 50 | 100 | 150 | 200 | 250 | 300 | 400 | 500 | SAFE LOAD |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 12" | U | <.010 | <.010 | <.010 | <.010 | .011 | .014 | .018 | .023 | 4272 |
|  | C | <.010 | <.010 | .011 | .015 | .018 | .022 | .029 | .037 | 2136 |
| 18" | U | <.010 | .018 | .027 | .035 | .044 | .053 | .071 | .089 | 1712 |
|  | C | .010 | .019 | .028 | .038 | .047 | .057 | .076 | .095 | 1284 |
| 24" | U | .019 | .038 | .056 | .075 | .094 | .112 | .150 | .188 | 956 |
|  | C | .015 | .030 | .045 | .060 | .075 | .090 | .120 | .150 | 956 |
| 30" | U | .039 | .078 | .117 | .156 | .195 | .233 | .311 | .389 | 587 |
|  | C | .025 | .050 | .075 | .100 | .125 | .150 | .200 | .250 | 734 |
| 36" | U | .071 | .143 | .214 | .285 | .357 | .428 | -- | -- | 385 |
|  | C | .038 | .076 | .114 | .152 | .190 | .228 | .304 | .381 | 578 |
| 42" | U | .126 | .252 | .378 | .504 | .630 | -- | -- | -- | 370 |
|  | C | .058 | .115 | .173 | .230 | .288 | .346 | .461 | -- | 472 |
| 48" | U | .207 | .414 | .621 | -- | -- | -- | MS-R | -150 | 184 |
|  | C | .083 | .160 | .248 | .331 | .414 | .497 | Rectangula 1-1/2 | r Grid Size: " x 6" | 368 |
| U - Deflection Under Uniform Load C - Deflection Under Concentrated Load |  |  |  |  | Safe Load 5:1 Safety Factor |  |  |  |  |  |

HOLE  PRODUCT  SAMPLES

NEED A SAMPLE? We are ready and

Inspired to Serve® you at 800.237.3820!

13

LOAD TABLE:  MS - R -150

| MS-T-C |  |  | MS-T-R-150 |  |
| --- | --- | --- | --- | --- |
| RESIN & TYPE | SGF Polyester |  | RESIN & TYPE | SGF Polyester |
|  |  |  | COLOR | Gray, Green |
| COLOR | Black with Yellow Nosing |  |  |  |
|  |  |  | GRID HEIGHT | 1-1/2" |
| THICKNESS | 1/8" |  | GRID SIZE | 1-1/2" x 6" Rectangular |
|  |  |  | SURFACE | Grit |
| SURFACE | Grit |  |  |  |
|  |  |  | NOSING | Integral, both sides of panel |
|  |  |  | SIZE | Stock: 22-1/2" width x 120" length; Nosing on 120" edges; Treads may be cut to size to width and length desired; common sizes are 7-5/8", 9-1/8" and 10-5/8" |
| LIP | 2" Yellow Lip |  |  |  |
| WIDTH | Stock: 9",10" width; 8", 11", 12" width (Special Order) |  |  |  |
|  |  |  | SPAN/ DEFLECTION | 31" (1/8" or less deflection) 38" (1/4" or less deflection) |
| LENGTH | 144" Panel |  |  |  |

© 2018 800.237.3820 mcnichols.com

| FIBERGLASS | McNICHOLS® GRATING PRODUCTS |
| --- | --- |

PULTRUDED I-BAR FIBERGLASS GRATING

Combining corrosion resistance, long life and a maintenance-free design, McNICHOLS®  MS-I-6000 Series DURAGRID®  Pultruded I-Bar Fiberglass Grating has I-Bar shaped bearing bars with perpendicular cross bar rods placed every 6 inches. MS-I-6515 - DURADEK® has cross rods placed every 8 inches.

MS-I-6010

MS-I-6010

McNICHOLS® MS-I-6010 - DURAGRID® I-Bar  Fiberglass  Grating  is  our  most  popular Pultruded product. Polyester resin panel bearing barsand crossbarcolorsmayvaryfromeachother. MS-I-6010 has a 1" height with an open area of 60% .

| LOAD TABLE: MS-I-6010 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SPAN | LOAD | 100 | 200 | 300 | 400 | 500 | 750 | 1000 | 2000 | 3000 | 4000 | 5000 | SAFE LOAD |
| 12" | U | .002 | .004 | .005 | .007 | .009 | .014 | .018 | .036 | .054 | .073 | .091 | 10401 |
|  | C | .003 | .006 | .009 | .012 | .015 | .022 | .029 | .058 | .087 | .116 | .145 | 5200 |
| 18" | U | .008 | .017 | .025 | .033 | .042 | .063 | .084 | .167 | .251 | .335 | .418 | 4954 |
|  | C | .009 | .018 | .027 | .036 | .045 | .067 | .089 | .179 | .268 | .357 | .446 | 3716 |
| 24" | U | .025 | .050 | .075 | .100 | .124 | .187 | .249 | .498 | -- | -- | -- | 2900 |
|  | C | .020 | .040 | .060 | .080 | .100 | .149 | .199 | .398 | .597 | -- | -- | 2900 |
| 30" | U | .058 | .116 | .174 | .231 | .289 | .434 | .579 | -- | -- | -- | -- | 1856 |
|  | C | .037 | .074 | .111 | .148 | .185 | .278 | .370 | This technical information provided is a reference for evaluation by technically skilled persons only, with any use thereof to be at their independent discretion and risk. McNICHOLS shall have no responsibility or liability for results obtained or damages resulting from improper evaluation or use of Grating. |  |  |  | 2320 |
| 36" | U | .115 | .230 | .345 | .460 | .575 | -- | -- |  |  |  |  | 1289 |
|  | C | .061 | .123 | .184 | .245 | .307 | .460 | .614 |  |  |  |  | 1933 |
| 42" | U | .211 | .422 | .633 | -- | -- | -- | -- |  |  |  |  | 943 |
|  | C | .096 | .193 | .289 | .386 | .482 | -- | -- |  |  |  |  | 1649 |
| 48" | U | .353 | .705 | -- | -- | -- | -- | -- |  |  |  |  | 719 |
|  | C | .141 | .282 | .423 | .564 | -- | -- | -- |  |  |  |  | 1437 |
| 54" | U | .563 | -- | -- | -- | -- | -- | -- |  |  |  |  | 566 |
|  | C | .200 | .400 | .600 | -- | -- | -- | -- |  |  |  |  | 1274 |
| U - Deflection Under Uniform Load C - Deflection Under Concentrated Load |  |  |  |  |  |  | Safe Load 2:1 Safety Factor |  |  |  |  |  |  |

MS-I-6015

MS-I-6015

McNICHOLS® MS-I-6015 - DURAGRID® I-Bar Fiberglass  Grating  features an  I-Bar  shape  that provides maximum flexibility in design. The polyester resin panel bearing bars and cross bar colors may vary from each other. MS-I-6015 - DURAGRID® has a 1-1/2" height with an open area of 60%.

LOAD TABLE:  MS-I-6015

| SPAN | LOAD | 100 | 200 | 300 | 400 | 500 | 750 | 1000 | 2000 | 3000 | 4000 | 5000 | 6000 | 7000 | SAFE LOAD |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 12" | U | .001 | .001 | .002 | .003 | .003 | .005 | .006 | .013 | .019 | .026 | .032 | .038 | .045 | 17601 |
|  | C | .001 | .002 | .003 | .004 | .005 | .008 | .010 | .020 | .031 | .041 | .051 | .061 | .072 | 8800 |
| 18" | U | .003 | .006 | .009 | .012 | .015 | .023 | .030 | .061 | .091 | .121 | .152 | .182 | .212 | 7823 |
|  | C | .003 | .006 | .010 | .013 | .016 | .024 | .032 | .065 | .097 | .129 | .162 | .194 | .226 | 5867 |
| 24" | U | .009 | .018 | .027 | .037 | .046 | .069 | .091 | .183 | .274 | .366 | .457 | .549 | .640 | 4400 |
|  | C | .007 | .015 | .022 | .029 | .037 | .055 | .073 | .146 | .220 | .293 | .366 | .439 | .512 | 4400 |
| 30" | U | .022 | .043 | .065 | .086 | .108 | .161 | .215 | .430 | .646 | -- | -- | -- | -- | 2773 |
|  | C | .014 | .028 | .041 | .055 | .069 | .103 | .138 | .276 | .413 | .551 | -- | -- | -- | 3467 |
| 36" | U | .044 | .087 | .131 | .175 | .218 | .327 | .436 | -- | -- | -- | -- | -- | -- | 1896 |
|  | C | .023 | .047 | .070 | .093 | .116 | .175 | .233 | .466 | -- | -- | -- | -- | -- | 2845 |
| 42" | U | .079 | .159 | .238 | .317 | .396 | .595 | -- | This technical information provided is a reference for evaluation by technically skilled persons only, with any use thereof to be at their independent discretion and risk. McNICHOLS shall have no responsibility or liability for results obtained or damages resulting from improper evaluation or use of Grating. |  |  |  |  |  | 1361 |
|  | C | .036 | .072 | .109 | .145 | .181 | .272 | .362 |  |  |  |  |  |  | 2381 |
| 48" | U | .133 | .266 | .400 | .533 | .666 | -- | -- |  |  |  |  |  |  | 1017 |
|  | C | .053 | .107 | .160 | .213 | .266 | .400 | .533 |  |  |  |  |  |  | 2033 |
| 54" | U | .211 | .422 | .633 | -- | -- | -- | -- |  |  |  |  |  |  | 777 |
|  | C | .075 | .150 | .225 | .300 | .375 | .563 | -- |  |  |  |  |  |  | 1748 |
| U - Deflection Under Uniform Load C - Deflection Under Concentrated Load |  |  |  |  |  |  |  | Safe Load 2:1 Safety Factor |  |  |  |  |  |  |  |

14

PRODUCT  DETAILS:  I-BAR  SERIES

| DIAGRAM | Height A - Center to center of bearing bar B - Spacing between bearing bar top flanges C - Spacing between bearing bar bottom flanges B C END VIEW Width A |
| --- | --- |

| OPTIONS | Resin: SPF Color: Gray, Yellow Bearing Bar Size: 1"x 0.600", 1-1/2" x 0.600" Surface: Medium Grit, Fine Grit Width: 36", 48" Length: 120", 144", 240" |
| --- | --- |

| STOCK LIST | SERIES | BEARING BAR SIZE | #/SF | A | B | C | % O/A |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | MS-I-4000 SERIES (PAGE 37) |  |  |  |  |  |  |
|  | MS-I-4010 | 1" x 0.600" | 3.4 | 1.000" | 0.400" | 0.400" | 40% |
|  | MS-I-4015 | 1-1/2" x 0.600" | 4.2 | 1.000" | 0.400" | 0.400" | 40% |
|  | MS-I-6000 SERIES |  |  |  |  |  |  |
|  | MS-I-6010 | 1" x 0.600" | 2.4 | 1.500" | 0.900" | 0.900" | 60% |
|  | MS-I-6015 | 1-1/2" x 0.600" | 3.0 | 1.500" | 0.900" | 0.900" | 60% |
|  | MS-I-6515* | 1-1/2" x 0.600" | 2.7 | 1.710" | 1.110" | 1.110" | 65% |
| *Has 8" Cross Bar Spacing U - Deflection Under Uniform Load C - Deflection Under Concentrated Load |  |  | Safe Load 2:1 Safety Factor |  |  |  |  |

MS-I-6515

MS-I-6515

McNICHOLS®  MS-I-6515 - DURADEK® I-Bar   Fiberglass   Grating    is   economical   and features the traditional  I-Bar  shape that  gives maximum flexibility in design. The product has a 1-1/2" height with perpendicular cross bar rods placed every 8". Open area is 65%.

LOAD TABLE:  MS-I-6515

| SPAN | LOAD | 100 | 200 | 300 | 400 | 500 | 750 | 1000 | 2000 | 3000 | 4000 | 5000 | SAFE LOAD |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 12" | U | .001 | .001 | .002 | .003 | .004 | .005 | .007 | .015 | .022 | .029 | .038 | 15439 |
|  | C | .001 | .002 | .004 | .005 | .006 | .009- | .012 | .023 | .035 | .047 | .058 | 7719 |
| 18" | U | .003 | .007 | .010 | .014 | .017 | .026 | .035 | .069 | .091 | .104 | .138 | 6862 |
|  | C | .004 | .007 | .011 | .015 | .018 | .028 | .037 | .074 | .111 | .147 | .184 | 5146 |
| 24" | U | .010 | .021 | .031 | .042 | .052 | .078 | .104 | .209 | .313 | .417 | .522 | 3860 |
|  | C | .008 | .017 | .025 | .033 | .042 | .063 | .083 | .167 | .250 | .334 | .417 | 3860 |
| 30" | U | .025 | .049 | .074 | .098 | .123 | .184 | .245 | .491 | -- | -- | -- | 2433 |
|  | C | .016 | .031 | .047 | .063 | .079 | .118 | .157 | .314 | .471 | .628 | -- | 3041 |
| 36" | U | .050 | .100 | .149 | .199 | .249 | .373 | .498 | -- | -- | -- | -- | 1663 |
|  | C | .027 | .053 | .080 | .106 | .133 | .199 | .265 | This technical information provided is a reference for evaluation by technically skilled persons only, with any use thereof to be at their independent discretion and risk McNICHOLS shall have no responsibility or liability for results obtained or damages resulting from improper evaluation or use of Grating. |  |  |  | 2495 |
| 42" | U | .090 | .181 | .271 | .361 | .452 | .678 | -- |  |  |  |  | 1194 |
|  | C | .041 | .083 | .124 | .165 | .207 | .310 | .413 |  |  |  |  | 2088 |
| 48" | U | .152 | .304 | .456 | .607 | -- | -- | -- |  |  |  |  | 892 |
|  | C | .061 | .121 | .182 | .243 | .304 | .456 | .607 |  |  |  |  | 1784 |
| 54" | U | .241 | .481 | -- | -- | -- | -- | -- |  |  |  |  | 681 |
|  | C | .086 | .171 | .257 | .342 | .428 | .642 | -- |  |  |  |  | 1533 |
| 60" | U | .364 | -- | -- | -- | -- | -- | -- |  |  |  |  | 533 |
|  | C | .117 | .233 | .350 | .467 | .583 | -- | -- |  |  |  |  | 1333 |
| 66" | U | .531 | -- | -- | -- | -- | -- | -- |  |  |  |  | 425 |
|  | C | .155 | .309 | .464 | .618 | -- | -- | -- | -- | -- | -- | -- | 1170 |
| U - Deflection Under Uniform Load C - Deflection Under Concentrated Load |  |  |  |  |  |  | Safe Load 2:1 Safety Factor |  |  |  |  |  |  |

800.237.3820 mcnichols.com © 2018

McNICHOLS®  GRATING PRODUCTS                                                   FIBERGLASS

MS-I-4010

MS-I-4015

MS-I-4010  & MS-I-401 5

LOAD TABLE:  MS-I-4015

| SPAN | LOAD | 100 | 200 | 300 | 400 | 500 | 750 | 1000 | 2000 | 3000 | 4000 | 5000 | 6000 | 7000 | 8000 | 9000 | SAFE LOAD |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 12" | U | .000 | .001 | .001 | .002 | .002 | .003 | .004 | .009 | .013 | .017 | .021 | .026 | .030 | .034 | .038 | 26400 |
|  | C | .001 | .001 | .002 | .003 | .003 | .005 | .007 | .014 | .020 | .027 | .034 | .041 | .048 | .055 | .061 | 13200 |
| 18" | U | .002 | .004 | .006 | .008 | .010 | .015 | .020 | .040 | .061 | .081 | .101 | .121 | .141 | .162 | .182 | 11734 |
|  | C | .002 | .004 | .006 | .009 | .011 | .016 | .022 | .043 | .065 | .086 | .108 | .129 | .151 | .172 | .194 | 8800 |
| 24" | U | .006 | .012 | .018 | .024 | .030 | .046 | .061 | .122 | .183 | .244 | .305 | .366 | .427 | .488 | .549 | 6600 |
|  | C | .005 | .010 | .015 | .020 | .024 | .037 | .049 | .098 | .146 | .195 | .244 | .293 | .342 | .390 | .439 | 6600 |
| 30" | U | .014 | .029 | .043 | .057 | .072 | .108 | .143 | .287 | .430 | .574 | .717 | -- | -- | -- | -- | 4160 |
|  | C | .009 | .018 | .028 | .037 | .046 | .069 | .092 | .184 | .276 | .367 | .459 | .551 | .643 | -- | -- | 5200 |
| 36" | U | .029 | .058 | .087 | .116 | .145 | .218 | .291 | .582 | -- | -- | This technical information provided is a reference for evaluation by technically skilled persons only, with any use thereof to be at their independent discretion and risk. McNICHOLS shall have no responsibility or liability for results obtained or damages resulting from improper evaluation or use of Grating. |  |  |  |  | 2844 |
|  | C | .016 | .031 | .047 | .062 | .078 | .116 | .155 | .310 | .466 | .621 |  |  |  |  |  | 4267 |
| 42" | U | .053 | .106 | .159 | .211 | .264 | .396 | .528 | -- | -- | -- |  |  |  |  |  | 2041 |
|  | C | .024 | .048 | .072 | .097 | .121 | .181 | .242 | .483 | .725 | -- |  |  |  |  |  | 3571 |
| 48" | U | .089 | .178 | .266 | .355 | .444 | .666 | -- | -- | -- | -- |  |  |  |  |  | 1525 |
|  | C | .036 | .071 | .107 | .142 | .178 | .266 | .355 | -- | -- | -- |  |  |  |  |  | 3050 |
| U - Deflection Under Uniform Load Safe Load 2:1 C - Deflection Under Concentrated Load Safety Factor |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

McNICHOLS®   MS-I-4000 - DURAGRID® Series  Pultruded  Grating  is  available  from  stock in  240"  panels  with  choices  of  two  bearing  bar heights  (1"  or   1-1/2"),  36-  or  48-inch  widths and  a  variety   of  colors.  Please  note  that  the polyester resin panel bearing bars and cross bar colors  may  vary  from  each  other.   Most  items have  a  fine  grit  surface,  with  optional  medium and  coarse  grit  surfaces.  This  Series has been approved   for    use   in   Virginia    Graeme   Baker Pool   and   Spa   Safety   Act  (VGB)   applications. MS-I-4000 - DURAGRID ® Series is similar to MS-I-6000 - DURAGRID®  Series but has an open area of 40% .

Pultruded Construction

MS-T-I-6015

| Unidirectionally Aligned Glass Fibers Bonded With Resin |  | Thermoset Resin |
| --- | --- | --- |
|  |  | \ Veil |
| Multidirectional Glass Mat |  |  |

| PULTRUDED FIBERGLASS STAIR TREAD PANEL |  |
| --- | --- |
| RESIN & TYPE | SPF Polyester |
| COLOR | Gray, Yellow |
| BAR HEIGHT | 1-1/2” I-Bar (MS-T-I-6015 - DURAGRID®) |
| SURFACE | Grit |
| NOSING | Integral, one side of panel |
| SIZE | Stock panels are 11” width x 144” length for 11” wide Treads |
|  | Stock panels are 12-1/2” width x 144” length for 12-1/2” wide Treads |
|  | Integral Nosing on one 144” edge |
|  | Treads may be cut to size to width and length desired |
| SPAN/ DEFLECTION | 40” (1/8” or less deflection, based on 300 lb. load at mid span) |
|  | 52”(1/4” or less deflection, based on 300 lb. load at mid span) |

| LOAD TABLE: MS-I-4010 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SPAN | LOAD | 100 | 200 | 300 | 400 | 500 | 750 | 1000 | 2000 | 2500 | 3000 | 4000 | 5000 | 6000 | SAFE LOAD |
| 12" | U | .001 | .002 | .004 | .005 | .006 | .009 | .012 | .024 | .030 | .036 | .048 | .060 | .073 | 15600 |
|  | C | .002 | .004 | .006 | .008 | .010 | .015 | .019 | .039 | .048 | .058 | .077 | .097 | .116 | 7800 |
| 18" | U | .006 | .011 | .017 | .022 | .028 | .042 | .056 | .112 | .139 | .167 | .223 | .279 | .335 | 7431 |
|  | C | .006 | .012 | .018 | .024 | .030 | .045 | .060 | .119 | .149 | .179 | .238 | .298 | .357 | 5573 |
| 24" | U | .017 | .033 | .050 | .066 | .083 | .124 | .166 | .332 | .415 | .498 | .664 | -- | -- | 4350 |
|  | C | .013 | .027 | .040 | .053 | .066 | .100 | .133 | .265 | .332 | .398 | .531 | .664 | -- | 4350 |
| 30" | U | .039 | .077 | .116 | .154 | .193 | .289 | .386 | -- | -- | -- | -- | -- | -- | 2784 |
|  | C | .025 | .049 | .074 | .099 | .123 | .185 | .247 | .494 | .617 | -- | -- | -- | -- | 3480 |
| 36" | U | .077 | .153 | .230 | .307 | .383 | .575 | -- | This technical information provided is a reference for evaluation by technically skilled persons only, with any use thereof to be at their independent discretion and risk. McNICHOLS shall have no responsibility or liability for results obtained or damages resulting from improper evaluation or use of Grating. |  |  |  |  |  | 1933 |
|  | C | .041 | .082 | .123 | .164 | .205 | .307 | .409 |  |  |  |  |  |  | 2900 |
| 42" | U | .141 | .281 | .422 | .563 | .703 | -- | -- |  |  |  |  |  |  | 1414 |
|  | C | .064 | .129 | .193 | .257 | .321 | .482 | .643 |  |  |  |  |  |  | 2474 |
| 48" | U | .235 | .470 | .705 | -- | -- | -- | -- |  |  |  |  |  |  | 1078 |
|  | C | .094 | .188 | .282 | .376 | .470 | -- | -- |  |  |  |  |  |  | 2155 |
| U - Deflection Under Uniform Load Safe Load 2:1 C - Deflection Under Concentrated Load Safety Factor |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

PULTRUDED T-BAR  FIBERGLASS GRATING

PRODUCT DETAILS: T-BAR SERIES

MS-T-5020

MS-T-5020

DIAGRAM

Height

|  | Width B END VIEW A - Center to center of bearing bar B - Spacing between bearing bar top flanges C - Spacing between bearing bar bottom flanges C A |
| --- | --- |

OPTIONS

|  | Resin: SPF, SVF Color: Gray, Yellow Bearing Bar Size: 2" x 1" | Surface: Grit -Fine, Medium, Coarse Width: 36", 48" Length: 240" |
| --- | --- | --- |

| STOCK LIST | SERIES | BEARING BAR SIZE | #/SF | A | B | C | % O/A |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | MS-T-5020 | 2" x 1" | 3.0 | 2" | 1" | 1.400" | 50% |

McNICHOLS® Fiberglass Grating, Pultruded, MS-WT-1810 - DURAGRID® - Balcony Platform, Gonzaga College High School, Washington, DC

15

McNICHOLS®      MS-T-5020   -   DURAGRID® Pultruded T-Bar Fiberglass Grating is an alternative to  metal  Grating  if  more  surface  area  is  desired. McNICHOLS®    MS-T-5020 - DURAGRID ® has a large open area of 50% with a 2" bar height.

| LOAD TABLE: MS-T-5020 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SPAN | LOAD | 100 | 200 | 300 | 400 | 500 | 750 | 1000 | 2000 | 3000 | 4000 | 5000 | 6000 | 7000 | 8000 | SAFE LOAD |
| 12" | U | .000 | .001 | .001 | .001 | .002 | .003 | .004 | .007 | .011 | .014 | .018 | .021 | .025 | .028 | 11333 |
|  | C | .001 | .001 | .002 | .002 | .003 | .004 | .006 | .011 | .017 | .023 | .028 | .034 | .040 | .045 | 5666 |
| 18" | U | .002 | .003 | .005 | .007 | .009 | .013 | .017 | .035 | .052 | .070 | .087 | .104 | .122 | .139 | 7536 |
|  | C | .002 | .004 | .006 | .007 | .009 | .014 | .019 | .037 | .056 | .074 | .093 | .111 | .130 | .148 | 5666 |
| 24" | U | .005 | .011 | .016 | .021 | .027 | .040 | .054 | .107 | .161 | .214 | .268 | .321 | .375 | .429 | 5666 |
|  | C | .004 | .009 | .013 | .017 | .021 | .032 | .043 | .086 | .129 | .171 | .214 | .257 | .300 | .343 | 5666 |
| 30" | U | .013 | .026 | .038 | .051 | .064 | .096 | .128 | .256 | .384 | .512 | .640 | -- | -- | -- | 3626 |
|  | C | .008 | .016 | .025 | .033 | .041 | .061 | .082 | .164 | .246 | .327 | .409 | .491 | .573 | .655 | 4534 |
| 36" | U | .026 | .052 | .078 | 104 | .130 | .195 | .260 | .520 | -- | -- | -- | -- | -- | -- | 2519 |
|  | C | .014 | .028 | .042 | .055 | .069 | .104 | .139 | .277 | .416 | .555 | .694 | -- | -- | -- | 3778 |
| 42" | U | .047 | .095 | .142 | .190 | .237 | .356 | .474 | -- | -- | -- | -- | -- | -- | -- | 1850 |
|  | C | .022 | .043 | .065 | .087 | .108 | .163 | .217 | .433 | .650 | -- | -- | -- | -- | -- | 3238 |
| 48" | U | .079 | .158 | .238 | .317 | .396 | .594 | -- | -- | This technical information provided is a reference for evaluation by technically skilled persons only, with any use thereof to be at their independent discretion and risk. McNICHOLS shall have no responsibility or liability for results obtained or damages resulting from improper evaluation or use of Grating. |  |  |  |  |  | 1417 |
|  | C | .032 | .063 | .095 | .127 | .158 | .238 | .317 | .634 |  |  |  |  |  |  | 2834 |
| 54" | U | .125 | .250 | .374 | .499 | .624 | -- | -- | -- |  |  |  |  |  |  | 1120 |
|  | C | .044 | .089 | .133 | .178 | .222 | .333 | .444 | -- |  |  |  |  |  |  | 2519 |
| 60" | U | .188 | .375 | .563 | .751 | -- | -- | -- | -- |  |  |  |  |  |  | 907 |
|  | C | .060 | .120 | .180 | .240 | .300 | .450 | .601 | -- |  |  |  |  |  |  | 2267 |
| 66" | U | .272 | .544 | -- | -- | -- | -- | -- | -- |  |  |  |  |  |  | 749 |
|  | C | .079 | .158 | .237 | .316 | .395 | .593 | -- | -- |  |  |  |  |  |  | 2060 |
| U - Deflection Under Uniform Load Safe Load 2:1 C - Deflection Under Concentrated Load Safety Factor |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

© 2018 800.237.3820 mcnichols.com

| FIBERGLASS | McNICHOLS® GRATING PRODUCTS |
| --- | --- |

PULTRUDED WIDE T-BAR FIBERGLASS GRATING

McNICHOLS DURAGRID®  Pultruded Wide T-Bar Fiberglass Grating panels are corrosion- and slip-resistant and fire-retardant. This product has been tested and approved for Virginia Graeme Baker Act (VGB) compliance.

MS-WT-1210

MS-WT-1210

PRODUCT  DETAILS: WIDE T-BAR  SERIES

DIAGRAM

Height

END VIEW

B

C                   A

Width

|  | A - Center to center of bearing bar B - Spacing between bearing bar top flanges C - Spacing between bearing bar bottom flanges |  |
| --- | --- | --- |

McNICHOLS®   MS-WT-1210 -  DURAGRID® Grating is available with a 1" bearing bar height in gray polyester resin with medium grit in a  144" length. This Grating has a tight bar spacing and a small open area of 12%, making it ideal for ADA applications.

MS-WT-1810

MS-WT-1810

OPTIONS

|  | Resin: SPF, SVF Color: SPF - Gray, White, Yellow Bearing Bar Size: 1" x 1.625" | Surface: Fine, Medium Grit Width: 36", 48" Length: 144", 240" |
| --- | --- | --- |

McNICHOLS®   MS-WT-1810 - DURAGRID® Grating is available with a 1" bearing bar height in gray or white polyester with a fine or medium grit surface. This Grating has a small open area of 18%, making it a great choice if your needs require ADA compliance.

MS-WT-3810

|  | SERIES | BEARING BAR SIZE | #/SF | A | B | C | % O/A |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | MS-WT-1210 | 1" x 1.625" | 2.79 | 1.850" | 0.225" | 1.350" | 12% |
|  | MS-WT-1810 | 1" x 1.625" | 2.60 | 2.000" | 0.375" | 1.500" | 18% |
|  | MS-WT-3810 | 1" x 1.625" | 2.10 | 2.620" | 0.995" | 1.620" | 38% |

MS-WT-3810

STOCK LIST

Type F

Type Z

Type J

Type M

Type MI/MT

Type RI/RT

| CLIPS & FASTENERS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| A complete list of Clips and Fasteners is available on page 28. |  |  |  |  |  |

is a reference for evaluation by technically

LOAD TABLE:  MS-WT-3810

| SPAN | LOAD | 100 | 200 | 300 | 400 | 500 | 750 | 1000 | 2000 | 2500 | 3000 | 4000 | SAFE LOAD |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 12" | U | .003 | .006 | .009 | .012 | .015 | .022 | .029 | .059 | .074 | .088 | .118 | 8137 |
|  | C | .005 | .009 | .014 | .019 | .024 | .035 | .047 | .094 | .118 | .141 | .188 | 4069 |
| 18" | U | .014 | .027 | .041 | .054 | .068 | .102 | .136 | .271 | .339 | .407 | .542 | 3616 |
|  | C | .014 | .029 | .043 | .058 | .072 | .108 | .145 | .289 | .362 | .434 | .579 | 2712 |
| 24" | U | .040 | .081 | .121 | .162 | .202 | .304 | .405 | -- | -- | -- | -- | 2034 |
|  | C | .032 | .065 | .097 | .130 | .162 | .243 | .324 | .648 | -- | -- | -- | 2034 |
| 30" | U | .094 | .188 | .282 | .376 | .470 | -- | -- | -- | -- | -- | -- | 1290 |
|  | C | .060 | .120 | .180 | .240 | .300 | .451 | .601 | -- | -- | -- | -- | 1612 |
| 36" | U | .189 | .378 | .567 | -- | -- | This technical information provided skilled persons only, with any use thereof to be at their independent discretion and risk. McNICHOLS shall have no responsibility or liability for results obtained or damages resulting from improper evaluation or use of |  |  |  |  | -- | 882 |
|  | C | .101 | .202 | .302 | .403 | .504 |  |  |  |  |  | -- | 1323 |
| 42" | U | .336 | .673 | -- | -- | -- |  |  |  |  |  | -- | 635 |
|  | C | .154 | .308 | .461 | .615 | -- |  |  |  |  |  | -- | 1111 |
| 48" | U | .563 | -- | -- | -- | -- |  |  |  |  |  | -- | 476 |
|  | C | .225 | .451 | .676 | -- | -- | Grating | . |  |  |  | -- | 952 |
| U - Deflection Under Uniform Load Safe Load 2:1 C - Deflection Under Concentrated Load Safety Factor |  |  |  |  |  |  |  |  |  |  |  |  |  |

16

McNICHOLS®  MS-WT-3810 -DURAGRID® Grating is available with a 1" bearing bar height in gray polyester resin with medium grit. This Grating has an open area of 38%.

| LOAD TABLE: MS-WT-1210 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SPAN | LOAD | 100 | 200 | 300 | 400 | 500 | 750 | 1000 | 2000 | 2500 | 3000 | 4000 | SAFE LOAD |
| 12" | U | .002 | .004 | .006 | .008 | .010 | .016 | .021 | .042 | .052 | .062 | .083 | 11546 |
|  | C | .003 | .007 | .010 | .013 | .017 | .025 | .033 | .067 | .083 | .100 | .133 | 5773 |
| 18" | U | .010 | .019 | .029 | .038 | .048 | .072 | .096 | .192 | .240 | .288 | .383 | 5131 |
|  | C | .010 | .020 | .031 | .041 | .051 | .077 | .102 | .204 | .256 | .307 | .409 | 3849 |
| 24" | U | .029 | .057 | .086 | .114 | .143 | .215 | .286 | .572 | -- | -- | -- | 2887 |
|  | C | .023 | .046 | .069 | .092 | .114 | .172 | .229 | .458 | .572 | -- | -- | 2887 |
| 30" | U | .066 | .133 | .199 | .266 | .332 | .498 | .664 | -- | -- | -- | -- | 1830 |
|  | C | .042 | .085 | .127 | .170 | .212 | .319 | .425 | -- | -- | -- | -- | 2288 |
| 36" | U | .134 | .267 | .401 | .535 | .668 | -- | This technical information provided is a reference for evaluation by technically skilled persons only, with any use thereof to be at their independent discretion and risk. McNICHOLS shall have no responsibility or liability for results obtained or damages resulting from improper evaluation or use of Grating. |  |  |  |  | 1251 |
|  | C | .071 | .143 | .214 | .285 | .356 | .535 |  |  |  |  |  | 1877 |
| 42" | U | .238 | .476 | -- | -- | -- | -- |  |  |  |  |  | 901 |
|  | C | .109 | .217 | .326 | .435 | .543 | -- |  |  |  |  |  | 1576 |
| 48" | U | .398 | -- | -- | -- | -- | -- |  |  |  |  |  | 676 |
|  | C | .159 | .319 | .478 | .637 | -- | -- |  |  |  |  |  | 1351 |
| U - Deflection Under Uniform Load Safe Load 2:1 C - Deflection Under Concentrated Load Safety Factor |  |  |  |  |  |  |  |  |  |  |  |  |  |

| LOAD TABLE: MS-WT-1810 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SPAN | LOAD | 100 | 200 | 300 | 400 | 500 | 750 | 1000 | 2000 | 2500 | 3000 | 4000 | SAFE LOAD |
| 12" | U | .002 | .004 | .007 | .009 | .011 | .017 | .022 | .045 | .056 | .067 | .090 | 10680 |
|  | C | .004 | .007 | .011 | .014 | .018 | .027 | .036 | .072 | .090 | .108 | .144 | 5340 |
| 18" | U | .010 | .021 | .031 | .041 | .052 | .078 | .104 | .207 | .259 | .311 | .415 | 4746 |
|  | C | .011 | .022 | .033 | .044 | .055 | .083 | .111 | .221 | .277 | .332 | .442 | 3560 |
| 24" | U | .031 | .062 | .093 | .124 | .155 | .232 | .310 | .619 | -- | -- | -- | 2670 |
|  | C | .025 | .050 | .074 | .099 | .124 | .186 | .248 | .495 | .619 | -- | -- | 2670 |
| 30" | U | .072 | .144 | .215 | .287 | .359 | .539 | .718 | -- | -- | -- | -- | 1693 |
|  | C | .046 | .092 | .138 | .184 | .230 | .345 | .460 | -- | -- | -- | -- | 2116 |
| 36" | U | .145 | .289 | .434 | .578 | .723 | -- | This technical information provided is a reference for evaluation by technically skilled persons only, with any use thereof to be at their independent discretion and risk. McNICHOLS shall have no responsibility or liability for results obtained or damages resulting from improper evaluation or use of Grating. |  |  |  |  | 1157 |
|  | C | .077 | .154 | .231 | .308 | .385 | .578 |  |  |  |  |  | 1736 |
| 42" | U | .257 | .514 | -- | -- | -- | -- |  |  |  |  |  | 833 |
|  | C | .118 | .235 | .353 | .470 | .588 | -- |  |  |  |  |  | 1458 |
| 48" | U | .431 | -- | -- | -- | -- | -- |  |  |  |  |  | 625 |
|  | C | .172 | .345 | .517 | .689 | -- | -- |  |  |  |  |  | 1250 |
| U - Deflection Under Uniform Load Safe Load 2:1 C - Deflection Under Concentrated Load Safety Factor |  |  |  |  |  |  |  |  |  |  |  |  |  |

800.237.3820 mcnichols.com © 2018

McNICHOLS®  GRATING PRODUCTS                                                   FIBERGLASS

FIBERGLASS DECKING & FLOORING

McNICHOLS®   Fiberglass  Decking and  Flooring  products are  lightweight  and corrosion-resistant. These  products are used  in  a variety of applications, such as trench covers to contain vapors and fumes on pedestrian bridge walkways to ensure footing.

SAFDECK®

SAFDECK®

McNICHOLS   SAFDECK®   Overlapping Decking  is  a system  of 24"  wide Fiberglass panels  designed  to  overlap for  a  continuous solid  surface.  It  is  an  alternative  to  wood, Aluminum and Steel Decking in wet or corrosive environments. SAFDECK®  is ADA-compliant.

| PRODUCT OPTIONS |  |
| --- | --- |
| Resin: SPF Composite Color: Slate Gray Height: 1-1/8" | Surface: Grit: Solid or Vented Smooth: Solid or Vented Width: 24" Length: 240", 288" |

SAFDECK® Side View

| LOAD TABLE: SAFDECK® |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 24" WIDTH |  |  |  |  |  |  |  |  |
| SPAN | LOAD | 25 | 50 | 60 | 75 | 100 | 200 | 300 |
| 24" | U | .015 | .030 | .036 | .044 | .059 | .119 | .179 |
|  | C | .012 | .023 | .029 | .036 | .048 | .096 | .143 |
| 36" | U | .063 | .126 | .151 | .189 | .252 | -- | -- |
|  | C | .032 | .064 | .081 | .101 | .134 | .269 | -- |
| 48" | U | .215 | .430 | -- | -- | -- | -- | -- |
|  | C | .073 | .147 | .206 | .257 | .343 | -- | -- |
| U - Deflection Under Uniform Load C - Deflection Under Concentrated Load |  |  |  |  |  |  |  |  |

24"

1-1/8”

SAFPLANK®

SAFPLANK®

McNICHOLS SAFPLANK®    Interlocking Plank  Flooring   is  an  ADA-compliant,  high- strength  system  of  interlocking  planks made from Fiberglass composite that is ideal for dry, wet or certain chemical environments.

SAFPLANK® Side View

12"

3.83"                                   2"

| PRODUCT OPTIONS |  |
| --- | --- |
| Resin: SPF Composite Color: Slate Gray Depth: 2" | Surface: Grit: Solid or Vented Smooth: Solid or Vented Width: 12", 24" Length: 144", 240", 288" |

LOAD TABLE:  SAFPLANK®

| 12" WIDTH |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| SPAN | LOAD | 50 | 100 | 200 | 300 | 500 | 1000 |
| 24" | U | .006 | .011 | .023 | .034 | .057 | .113 |
|  | C | <.005 | .009 | .018 | .027 | .045 | .091 |
| 36" | U | .022 | .043 | .087 | .130 | .217 | -- |
|  | C | .012 | .023 | .046 | .070 | .116 | .232 |
| 48" | U | .062 | .123 | .247 | .370 | -- | -- |
|  | C | .025 | .049 | .099 | .148 | .247 | .494 |
| 60" | U | .140 | .281 | .562 | -- | -- | -- |
|  | C | .045 | .090 | .180 | .270 | .450 | -- |
| 72" | U | .291 | .583 | -- | -- | -- | -- |
|  | C | .078 | .155 | .311 | .466 | -- | -- |
| 24" WIDTH |  |  |  |  |  |  |  |
| 24" | U | -- | .015 | .030 | .045 | .075 | .151 |
|  | C | -- | .012 | .024 | .036 | .060 | .121 |
| 36" | U | -- | .046 | .092 | .138 | .231 | -- |
|  | C | -- | .024 | .049 | .074 | .123 | .246 |
| 48" | U | -- | .133 | .265 | .398 | -- | -- |
|  | C | -- | .053 | .106 | .159 | .265 | -- |
| 60" | U | -- | .302 | .605 | -- | -- | -- |
|  | C | -- | .097 | .193 | .290 | .484 | -- |
| 72" | U | -- | .627 | -- | -- | -- | -- |
|  | C | -- | .167 | .334 | .501 | -- | -- |
| U - Deflection Under Uniform Load C - Deflection Under Concentrated Load |  |  |  |  |  |  |  |

SAFPLATE®

SAFPLATE®

McNICHOLS SAFPLATE®   Plate  Flooring is ideal for both wet and dry environments. This ADA-compliant plate is Pultruded Fiberglass with a textured, slip-resistant surface. SAFPLATE® is a tough corrosion-resistant, lightweight, maintenance- free alternative to Steel plate.

| PRODUCT OPTIONS |  |  |  |
| --- | --- | --- | --- |
| Resin: | SPF | Surface: | Smooth, Grit |
| Color: | Gray | Width: | 48" |
| Thickness: | 1/8", 1/4", 1/2" | Length: | 96" |

LOAD TABLE:  SAFPLATE®

| THICK | SPAN |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | LOAD | 12" | 18" | 24" | 30" | 36" | 42" | 48" | 54" | 60" |
| 1/4" | U | 167 | 34 | 11 | -- | -- | -- | -- | -- | -- |
|  | U | .120 | .125 | .125 | -- | -- | For allowable loads when sheet is spanning in crosswise direction multiply table values by 0.550 for 1/4" and 0.700 for all other thicknesses shown here. |  |  |  |
|  | C | 104 | 32 | 14 | -- | -- |  |  |  |  |
|  | C | .120 | .125 | .125 | -- | -- |  |  |  |  |
| 3/8" | U | 562 | 167 | 55 | 23 | 11 |  |  |  |  |
|  | U | .120 | .180 | .188 | .188 | .188 |  |  |  |  |
|  | C | 351 | 156 | 69 | 35 | 20 | -- | -- | -- | -- |
|  | C | .120 | .180 | .188 | .188 | .188 | -- | -- | -- | - - |
| 1/2" | U | 1333 | 370 | 167 | 71 | 34 | 18 | 11 | -- | -- |
|  | U | .120 | .180 | .240 | .250 | .250 | .250 | .250 | -- | -- |
|  | C | 833 | 370 | 209 | 111 | 65 | 40 | 27 | -- | -- |
|  | C | .120 | .180 | .240 | .250 | .250 | .250 | .250 | -- | -- |
| 5/8" | U | 2600 | 768 | 326 | 167 | 84 | 45 | 27 | 17 | 11 |
|  | U | .120 | .180 | .240 | .300 | .312 | .312 | .312 | .312 | .312 |
|  | C | 1622 | 723 | 407 | 260 | 157 | 99 | 66 | 47 | 34 |
|  | C | .120 | .180 | .240 | .300 | .312 | .312 | .312 | .312 | .312 |
| 3/4" | U | 4499 | 1333 | 563 | 288 | 167 | 94 | 55 | 34 | 22 |
|  | U | .120 | .180 | .240 | .300 | .360 | .375 | .375 | .375 | .375 |
|  | C | 2804 | 1250 | 702 | 450 | 313 | 205 | 138 | 97 | 71 |
|  | C | .120 | .180 | .240 | .300 | .360 | .375 | .375 | .375 | .375 |
| 1" | U | 10677 | 3158 | 1333 | 682 | 396 | 248 | 167 | 108 | 71 |
|  | U | .120 | .180 | .240 | .300 | .360 | .420 | .480 | .500 | .500 |
|  | C | 6667 | 2956 | 1667 | 1068 | 740 | 544 | 416 | 305 | 222 |
|  | C | .120 | .180 | .240 | .300 | .360 | .420 | .480 | .500 | .500 |
| U - Deflection Under Uniform Load C - Deflection Under Concentrated Load |  |  |  |  |  |  |  |  |  |  |

17

© 2018 800.237.3820 mcnichols.com

| FIBERGLASS | McNICHOLS® GRATING PRODUCTS |
| --- | --- |

CHEMICAL

ENVIRONMENT

POLYESTER SP

CHEMICAL

ENVIRONMENT

POLYESTER SP

CHEMICAL

ENVIRONMENT

POLYESTER SP

VINYL ESTER SV

VINYL ESTER SV

VINYL ESTER SV

CHEMICAL RESISTANCE CHART

CHEMICAL

ENVIRONMENT

VINYL ESTER SV

POLYESTER SP

Corn Oil                                          160              74

Acetic Acid 0-50%                      160             74

Sodium Dichromate                    160           150

Lithium Bromide                          160            150*

Alcohol, Butyl

Alcohol, Ethyl 10%

Alcohol, Isopropyl 10%

Alcohol, Isopropyl 100% Alcohol, Methyl 10%

Alcohol, Methyl Isobutyl Alcohol, Secondary Butyl Aluminum

Aluminum Chloride

Aluminum Hydroxide 5% Aluminum Nitrate

Aluminum Potassium Sulfate Ammonia, Aqueous 0-10%

Ammonia, Gas

Ammonium Bicarbonate

Ammonium, Bisulfite

Ammonium Carbonate 10% Ammonium Citrate

Ammonium Hydroxide 5%

Ammonium Hydroxide 10%

Ammonium Hydroxide 20% Ammonium Nitrate 50% Ammonium Persulfate 20%

Ammonium Phosphate Ammonium Sulfate

Arsenious Acid

Barium Acetate

Barium Carbonate Barium Chloride

Barium Hydroxide Barium Sulfate

Barium Sulfide Beer

5% Benzene in Kerosene Benzene Sulfonic Acid 30% Benzoic Acid

O-Benzoyl Benzoic Acid Butylene Glycol

Butyric Acid 0-50% Cadmium Chloride

Calcium Bisulfate Calcium Chlorate

Calcium Chloride

Calcium Hypochlorite Calcium Nitrate

Calcium Sulfate

Calcium Sulfite

Capry lic Acid

Carbon Dioxide

Carbon Monoxide

Carbon Tetrachloride Carbonic Acid

Carbon Methyl Cellulose Castor Oil

Chlorinated Wax

Chlorine Dioxide/Air

Chlorine Dioxide, Wet Gas Chlorine, Dry Gas

Chlorine, Wet Gas

Chlorine, Water

Chloroacetic Acid 0-50% Chromic Acid 20%

Chromium Sulfate Citric Acid

Coconut Oil

Copper Chloride

Copper Cyanide

Copper Fluoride

Copper Nitrate

18

Copper Sulfate

74

150

150

74

150

150

150

160

160

120

160

160

100

100

120

120

120

120

120

120

120

160

120

120

160

160

160

160

160

120

160

160

120

160

160

160

160

160

160

160

160

160

160

120

160

160

160

160

160

160

100

160

120

160

160

160

160

160

160

160

100

120

160

160

160

160

160

160

74

160

160

160

160

160

160

120

160

160

120

160

160

160

160

160

160

160

160

160

160

160

160

160

160

160

160

120

160

160

160

160

160

160

160

160

160

160

160

160

160

160

160

160

160

160

160

160

160

160

160

160

160

160

74

120

160

160

120

160

100

160

160

160

160

160

160

160

160

160

160

160

160

160

120

120

100

150

150

160

Corn Starch-Slurry

Corn Sugar

Cottonseed Oil Crude Oil, Sour

Crude Oil, Sweet

Cyclohexane

Detergents, Sulfonated Di-Ammonium Phosphate Dibutyl Ether

Diesel Fuel

Diethylene Glycol

Dimenthyl Phthalate Dioctyl Phthalate

Dipropylene Glycol Dodecyl Alcohol

Esters, Fatty Acids Ethylene Glycol

Fatty Acids

Ferric Chloride

Ferric Nitrate

Ferric Sulfate

Ferrous Chloride Ferrous Nitrate

Ferrous Sulfate 8-8-8 Fertilizer

Fertilizer: Urea Ammon. Nitrate Flue Gas

Fluosilicic Acid 0-20% Formaldehyde

Formic Acid 10% Fuel Oil

Gas, Natural

Gasoline, Auto

Gasoline Aviation Gasoline, Ethyl

Gasoline, Sour Glyconic, Acid

Glucose

Glycerine

Glycol, Propylene Glycolic Acid 70% Heptane

Hexane

Hexalene Glycol

Hydraulic Fluid

Hydrobromic Acid 0-25% Hydrochloric Acid 15%

Hydrocyanic Acid

Hydrofluosilicic Acid 10% Hydrogen Bromide, Wet Gas Hydrogen Chloride, Dry Gas

Hydrogen Chloride, Wet Gas Hydrogen Fluoride, Vapor Hydrogen Peroxide 35% Hydrogen Sulfide Dry

Hydrogen Sulfide, Aqueous Hydrosulfite Bleach

Hypochlorous Acid 0-10% Isopropyl Amine

Isopropyl Palmitate Jet Fuel

Kerosene

Lactic Acid

Lauroyl Chloride Lauric Acid

Lead Acetate

Lead Chloride

Lead Nitrate

Levulinic Acid Linseed Oil

74

74

74

74

74

74

74

NR

NR

74

74

NR

NR

74

NR*

150*

150

150

150

150

150

150

150

150

74

NR*

NR*

NR

74

74

74

74

74

74

74

74

74

150

150

150

74

74

74

150

74

74

NR*

74

NR

NR*

NR*

NR

95

**

74*

74*

NR*

**

NR*

150

74*

74*

**

NR*

NR*

**

74*

74*

74*

150*

Lithium Sulfate                            160           150*

Magnesium Bisulfite                   160             74 *

Magnesium Chloride                   160           150+

Magnesium Hydroxide                  140             NR*

Magnesium Nitrate                     160             74 *

Magnesium Sulfate                      160           150*

Maleic Acid                                 160           150*

Mercuric Chloride                       160             **

Mercurous Chloride                    160             **

Methanol (See Alcohol)                160             74 *

Mineral Oils                                  160            150

Molybdenum Disulfide                  160            NR*

Motor Oil                                      160           150

Myristic Acid                              160             **

Naphtha                                        160            150

Naphthalene                                160             74

Nickel Chloride                              160             74

Nickel Nitrate                             160           150

Nickel Sulfate                              160           150

Nitric Acid 0-5%                         160           150

Nitric Acid 20%                           120            NR*

Nitric Acid Fumes                         NR             NR*

Octanoic Acid                              160             74

Oil, Sour Crude                           160           150

Oil, Sweet Crude                           160           150

Oleic Acid                                      160            150

Olive Oil                                          160            150

Oxalic Acid                                  160           150

Phosphoric Acid                          160           150

Phosphoric Acid Fumes                160           150

Phosphorous Pentoxide               160           150

Phthalic Acid                               160           150

Pickling Acids                              160           150

(Sulfuric and Hydrochloric)

Picric Acid, Alcoholic                   160           150

Polyvinyl Acetate Latex               160             74

Polyvinyl Alcohol                           100              74

Polyvinyl Chloride Latex (35)            120              NR*

Potassium Aluminum Sulfate            160             150

Potassium Bicarbonate               140             74

Potassium Bromide                     100             74 *

Potassium Carbonate

Potassium Chloride                      160           150

Potassium Dichromate                140             74 *

Potassium Ferricyanide               160           150

Potassium Ferrocyanide              160            150

Potassium Hydroxide

Potassium Nitrate                       160           150

Potassium Permanganate           140             74

Potassium Persulfate                  160             74

Potassium Sulfate                       160           150

Propionic Acid 1-50%                  120             NR*

Pulp Paper Mill Effluent               160             74

Sebacic Acid                               160             NR*

Selenious Acid                             160             NR*

Silver Nitrate                              160           150

Soaps                                          160             74

Sodium Acetate                          160             74

Sodium Benzoate                          160              74

Sodium Bicarbonate                     160             74 *

Sodium Bifluoride                         120              74

Sodium Bisulfate                          160            150

Sodium Bisulfite                           160           150

Sodium Bromate                          140              74 *

Sodium Bromide                           160            150

Sodium Chlorate                           160             74

Sodium Chloride                            160             74

Sodium Chlorite 25%                   160             74

Sodium Chromate                       160             74 *

Sodium Cyanide                             160              74

150

150

NR*

NR*

NR*

NR

NR

74

-

150

150

150

74

150

74

74

150

NR*

74

74

74

74

150

150

150

150

150

74

150

74

74*

74

NR*

NR*

150

NR

NR

NR

74

74

74

150

74

NR*

74 *

74

NR*

74

150

150

150

150

150

150

150

150

74

NR

150

150

150

Sodium Di-Phosphate Sodium Ferricyanide Sodium Fluoride

Sodium Fluoro Silicate

Sodium Hexametaphosphates Sodium Hydroxide 0-5%

Sodium Hydroxide 5-50% Sodium Hydrosulfide

Sodium Hypochlorite 5% Sodium Lauryl Sulfate

Sodium Mono-Phosphate Sodium Nitrate

Sodium Silicate

Sodium Sulfate

Sodium Sulfide

Sodium Sulfite

Sodium TetraBorate

Sodium Thiocyanate

Sodium Thiosulfate

Sodium Tripolyphosphate Sodium Xylene Sulfonate Sodium Solutions

Sodium Crude Oil

Soya Oil

Stannic Chloride

Stannous Chloride Stearic Acid

Sugar, Beet and Cane Liquor Sugar, Sucrose

Sulfamic Acid

Sulfan ilic Acid

Sulfated Detergents

Sulfur Dioxide, Dry or Wet Sulfur, Trioxide/Air

Sulfuric Acid 25%

Sulfuric Acid 30-50%

Sulfuric Acid 50-70%

Sulfurous Acid 10%

Superphosphoric Acid (76% P2  O5) Tall Oil

Tannic Acid

Tartaric Acid

Trichloro Acetic Acid 50% Tricresyl Phosphate

Tridecylbenzene Sulfonate Trisodium Phosphate

Turpentine

Urea

Vegetable Oils Vinegar

Water

Deionized

Demineralized

Distilled

Fresh

Salt Sea

White Liquor (Pulp Mill) Xylene

Zinc Chlorate

Zinc Nitrate

Zinc Sulfate

NR

NR

-

NR

NR

NR

NR

150

150

-

NR

160

160

160

160

160

160

160

160

160

160

160

160

160

160

160

160

160

160

160

160

160

160

160

160

160

160

160

120

100

160

150

120

160

160

120

160

160

100

140

160

160

160

160

160

160

160

160

160

NR

160

160

160

150*

150

-

-

74

-

-

74*

74

NR

NR

150

NR

NR

150

74*

NR

NR

74

-

150

NR

74

74*

150

74

74*

150

74

74

150

150

150

74

150

150

150

74

150

150

NR*

150

NR*

150*

NR*

74

NR*

74

NR

NR

NR

NR*

150

150

74

150

NR

NR

150

150

NR Not Resistant; No Data .      *Applies to SAFDECK® , SAFPLANK® and SAFPLATE®             ** Additional information may apply.       PLEASE NOTE: Temperature data may not be maximum, but rather upper temperature at which a resin has been tested. This chart is intended for general use only and does not contain chemical information for Pultruded Floor Plate. The information in this chart is correct to the best of our knowledge. It is based on extensive experience with Fiberglass Grating in corrosive applications. Because actual use conditions differ and mixtures of corrosives will occur in service, the end user must test for use under actual conditions. Most of the information in this guide is based on laboratory tests and extrapolated values supplied by resin manufacturers. There are no warranties, express or implied, including warranties of merchantability fitness for any particular purpose. In no event will McNICHOLS be liable for incidental or consequential damages, whether arising from alleged negligence, strict liability or otherwise.

800.237.3820 mcnichols.com © 2018

| McNICHOLS® GRATING PRODUCTS | P LA N K |
| --- | --- |

PLANK  GRATING

PRODUCT  SPECIFICATIONS

HOW TO ORDER/SPECIFY

McNICHOLS®

PLANK  GRATING

The  information  provided  below  is your  guide  for  choosing  the  right McNICHOLS®  PLANK GRATING product for your project. Please specify:

APPLICATION – Plank Grating use and physical requirements

. Interior/exterior application

. Loading, span and support requirements

. Traffic requirements (hand cart, ADA, pedestrian, etc.)

SERIES NAME & CONSTRUCTION  TYPE   – GRIP   STRUT®   (Plank,   Walkway), Heavy-Duty   GRIP  STRUT®   (Plank, Walkway),   PERF-O   GRIP®    (Plank, Walkway), GRATE-LOCK®  Interlocking Plank,  TRACTION  TREAD®    Plank, DIAMONDBACK® Extruded Interlocking Plank, Heavy-Duty Extruded Plank

PRIMARY   MATERIAL   –   Type   of material  (Aluminum,  Carbon  Steel, Pre-Galvanized Steel, Stainless Steel)

MATERIAL FINISH – Inventory is typically mill finish unless otherwise specified

GAUGE (THICKNESS) – Material gauge numbers or thickness in inches (specify as  Extrusion  for  DIAMONDBACK® Extruded   Interlocking   Plank   and Heavy-Duty Extruded Plank)

SURFACE PROFILE, WIDTH & CHANNEL SIZE – Number of openings to width, surface   profile,   width   of   Plank/ Walkway  and  channel  size .  Depth for Plank, height for Walkway.  (e.g. 5-Diamond (11-3/4" width), 2" channel depth)

OPEN AREA – Percentage of open area QUANTITY/SIZE(S) – Number of panels and/or pieces (including cut-to-size)

SPECIAL   –   Requirements  such  as fabrication,  notching,  cut-outs,  Stair Treads (size, and Nosing type if desired), non-standard tolerances, etc.

ACCESSORIES – Quantity and type of Clips or Fasteners/Hardware, Splice Plate Kit

WE  ARE  READY  AND  INSPIRED  TO  SERVE ®  YOU  AT  800 . 237 . 3820!

McNICHOLS®    Plank  Grating  includes  a  variety  of  channel  configuration  choices  and  walkway styles. Plank Grating is a one-piece construction product that is lightweight and has aggressive, highly slip-resistant surfaces for added safety. In addition to low material cost and nominal installation cost, Plank Grating provides long-term value with rust-resistant materials and finishes.

| SER IES NAME |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| GRIP STRUT® PERF-O GRIP® TRACTION TREAD® GRATE-LOCK® DIAMONDBACK® |  |  |  |  |  |  |
| CONSTRUCTION TYPES |  | Plank, Heavy-Duty Plank, Walkway, Heavy-Duty Walkway | Plank, Walkway | Plank | Interlocking Plank with Slip-Resistant Surface, Interlocking Plank with Smooth Surface | Extruded Interlocking Plank with Solid Surface, Extruded Interlocking Plank with Vented Surface |
| PRIMARY MATERIAL | Aluminum, Carbon Steel, Galvanized Steel, Stainless Steel |  | Aluminum, Carbon Steel, Galvanized Steel | Aluminum, Galvanized Steel | Galvanized Steel | Aluminum |
| WIDTH | Plank: 4-3/4", 7", 9-1/2", 11-3/4", 18-3/4", 24" HD Plank: 9-1/4" Walkway: 24" HD Walkway: 30" |  | Plank: 5", 7", 10", 12", 18" Walkway: 24", 30", 36" | 7", 10", 12", 18" | 9", 12" | 6", 12" |
| CHANNEL SIZE | Plank: 1-1/2", 2", 2-1/2", 3" Dpt. HD Plank: 2" Dpt. Walkway: 4-1/2" Ht. HD Walkway: 5" Ht. |  | Plank: 1-1/2", 2" Dpt. Walkway: 5" Ht. | 1-1/2", 2" Dpt. | 1-1/2", 2", 2-1/2", 3", 4" (Special Order) Dpt. | 1", 1-1/2", 2" Dpt. |
| % OPEN AREA 34.2% to 47.8% |  |  | 28.5% to 38.2% | 3% to 34.7% | 40.9% to 46.1% | 0% to 12% |
| LENGTH | 120", 144" (Longer by Special Order) |  | 120", 144" (Longer by Special Order) | 120", 144" | 144" (1-1/2" Dpt.); 144", 240", 288" (2-1/2" Dpt.); 288" (3" Dpt.) | 144" |

McNICHOLS® Plank Grating, Plank, PERF-O GRIP® , 10-Hole, 6-Hole - Farm Equipment Platform, Williamsburg, IA

19

McNICHOLS®  Plank  Grating, Plank, GRIP STRUT® - Walking Surface, Tennessee Valley Authority, Ocoee, TN

|  | © 2018 800 .237.3820 mcnichols .com © 2018 |  |
| --- | --- | --- |

| PRODUCT OPTIONS. Material: Gauge: Width: Depth: Length:; Aluminum, Carbon Steel, Galvanized Steel, Stainless Steel 16, 14, 12 (Stainless Steel), .0800", .1000" (Alum) 4-3/4", 7", 9-1/2", 11-3/4", 18-3/4", 24" 1-1/2", 2", 2-1/2", 3" 120", 144" Stock, Cut-to-Size Available. P LA N K | McNICHOLS® GRATING PRODUCTS |
| --- | --- |

GRIP  STRUT®   PLANK  & WALKWAY

McNICHOLS GRIP STRUT®  has a slip-resistant diamond surface that is ideal for safety applications where mud, ice, snow, oil and detergents can  create  hazardous walking  conditions.  In  addition  to  low  material  cost  and  nominal  installation  cost,  GRIP  STRUT®   provides  long-term value with

GRIP  STRUT®   PLANK

The  surface  of  the  planks  have  diamond- shaped  openings  with  serrated  edges, making   them   slip   resistant   in   every direction  under  practically  all  conditions. McNICHOLS  GRIP STRUT®  is also available in Ladder Rungs and Stair Treads (pages 28 - 29) .

rust-resistant materials and properties.

# GRIP STRUT®

| CLIPS & FASTENERS |  |  |  |
| --- | --- | --- | --- |
| DIAMOND ANCHOR | ACA | MID-SUPPORT CLIP | SPLICE PLATE KIT |
| A complete list of Clips and Fasteners is available on page 28. |  |  |  |

GRIP STRUT®  Stair Treads page 29

| End & Top View |  |
| --- | --- |
| 5/8" 5/16" ▲ 90 。± 2-1/2。 Depth 7/8" | ▲ 1-1/8" 11/16" 9/16". - 1-7/8" 7/16" |

LOAD TABLE: 2-DIAMOND  PLANK (4-3/4" WIDTH)

| DEPTH (mm) | #/LF (kg/m) |  | CLEAR SPAN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 2' | 2' 6" | 3' | 3' 6" | 4' | 4' 6" | 5' | 5' 6" | 6' | 6' 6" | 7' | 7' 6" | 8' | 9' | 10' | 11' | 12' |
| ALUMINUM ALLOY TYPE 5052-H32 .080" THICK |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2" (50.8) | .92 (1.37) | U | 1463 | 937 | 650 | 478 | 366 | 289 | 234 | 194 | 162 | 138 | 119 | Spans in blue shaded area produce deflection of 1/4" or less under uniform load of 100 Lbs./Square Foot. |  |  |  |  |  |
|  |  | D | .08 | .13 | .18 | .25 | .33 | .42 | .52 | .63 | .74 | .87 | 1.02 |  |  |  |  |  |  |
|  |  | C | 579 | 463 | 386 | 331 | 290 | 257 | 232 | 211 | 192 | 177 | 165 |  |  |  |  |  |  |
|  |  | D | .06 | .10 | .15 | .20 | .27 | .34 | .42 | .51 | .59 | .69 | .80 |  |  |  |  |  |  |
| STEEL 14 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1-1/2" (38.1) | 2.3 (3.42) | U | 1324 | 849 | 591 | 435 | 334 | 265 | 215 | 179 | 151 | 10' and 12' lengths available for most sizes. Galvanized available in 14 Gauge and 12 Gauge. Please visit mcnichols.com for more information. |  |  |  |  |  |  |  |
|  |  | D | .06 | .10 | .14 | .20 | .26 | .32 | .40 | .49 | .58 |  |  |  |  |  |  |  |  |
|  |  | C | 524 | 420 | 351 | 301 | 265 | 236 | 213 | 195 | 179 |  |  |  |  |  |  |  |  |
|  |  | D | .05 | .08 | .11 | .16 | .20 | .26 | .32 | .39 | .47 |  |  |  |  |  |  |  |  |
| 2" (50.8) | 2.6 (3.87) | U | 2198 | 1409 | 980 | 721 | 553 | 438 | 356 | 295 | 248 | 212 | 184 | 161 | 142 | 113 | 93 |  |  |
|  |  | D | .06 | .09 | .13 | .17 | .23 | .29 | .35 | .43 | .51 | .60 | .70 | .81 | .92 | 1.18 | 1.47 |  |  |
|  |  | C | 870 | 697 | 582 | 499 | 438 | 390 | 352 | 321 | 295 | 273 | 255 | 239 | 225 | 201 | 183 |  |  |
|  |  | D | .04 | .07 | .10 | .14 | .18 | .23 | .28 | .34 | .41 | .48 | .56 | .65 | .74 | .94 | 1.18 |  |  |
| STEEL 12 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1-1/2" (38.1) | 3.2 (4.76) | U | 1751 | 1123 | 782 | 576 | 443 | 351 | 286 | 237 | 200 | 172 | 149 | 131 | 116 | U - Uniform Load - Lbs./Square Foot D - Deflection - in Inches C - Concentrated Load |  |  |  |
|  |  | D | .07 | .11 | .15 | .21 | .27 | .35 | .43 | .52 | .62 | .74 | .86 | .99 | 1.14 |  |  |  |  |
|  |  | C | 693 | 556 | 464 | 399 | 350 | 313 | 283 | 258 | 238 | 221 | 206 | 194 | 183 |  |  |  |  |
|  |  | D | .05 | .08 | .12 | .17 | .22 | .28 | .34 | .42 | .50 | .59 | .69 | .79 | .91 |  |  |  |  |
| 2" (50.8) | 3.6 (5.36) | U | 2792 | 1790 | 1245 | 917 | 703 | 557 | 453 | 375 | 317 | 271 | 235 | 205 | 181 | 145 | 119 | 99 | 85 |
|  |  | D | .05 | .08 | .11 | .16 | .20 | .26 | .32 | .39 | .46 | .55 | .63 | .73 | .84 | 1.07 | 1.34 | 1.64 | 1.98 |
|  |  | C | 1105 | 886 | 739 | 635 | 557 | 496 | 448 | 409 | 376 | 348 | 325 | 305 | 287 | 258 | 235 | 216 | 201 |
|  |  | D | .04 | .06 | .09 | .12 | .16 | .21 | .26 | .31 | .37 | .44 | .51 | .59 | .67 | .86 | 1.07 | 1.31 | 1.58 |

| LOAD TABLE: 3-DIAMOND PLANK (7" WIDTH) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DEPTH (mm) | #/LF (kg/m) |  | CLEAR SPAN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 2' | 2' 6" | 3' | 3' 6" | 4' | 4' 6" | 5' | 5' 6" | 6' | 6' 6" | 7' | 7' 6" | 8' | 9' | 10' | 11' | 12' |
| ALUMINUM ALLOY TYPE 5052-H32 .0800" THICK |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2" (50.8) | 1.15 (1.71) | U | 993 | 636 | 441 | 324 | 248 | 196 | 159 | 131 | 110 | 93 | 80 | Spans in blue shaded area produce deflection of 1/4" or less under uniform load of 100 Lbs./Square Foot. |  |  |  |  |  |
|  |  | D | .08 | .13 | .18 | .25 | .33 | .42 | .52 | .63 | .74 | .86 | 1.00 |  |  |  |  |  |  |
|  |  | C | 579 | 463 | 386 | 331 | 290 | 257 | 232 | 211 | 192 | 177 | 165 |  |  |  |  |  |  |
|  |  | D | .06 | .10 | .15 | .20 | .27 | .34 | .42 | .51 | .59 | .69 | .80 |  |  |  |  |  |  |
| STEEL 14 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1-1/2" (38.1) | 3.0 (4.46) | U | 899 | 577 | 402 | 269 | 227 | 180 | 147 | 122 | 103 | 10' and 12' lengths available for most sizes. Galvanized available in 14 Gauge and 12 Gauge. Please visit mcnichols.com for more information. 145; 125; 110; 97; 77; 63. .61; .71; .81; .93; 1.19; 1.49. 275; 256; 240; 226; 203; 185. .48; .56; .65; .74; .95; 1.19. |
|  |  | D | .06 | .10 | .14 | .20 | .26 | .33 | .40 | .49 | .59 |  |  |  |  |  |  |  |  |
|  |  | C | 524 | 421 | 351 | 302 | 265 | 237 | 214 | 196 | 180 |  |  |  |  |  |  |  |  |
|  |  | D | .05 | .08 | .11 | .16 | .21 | .26 | .32 | .39 | .47 |  |  |  |  |  |  |  |  |
| 2" (50.8) | 3.2 (4.76) | U | 1492 | 957 | 665 | 490 | 376 | 298 | 242 | 201 | 169 |  |  |  |  |  |  |  |  |
|  |  | D | .06 | .09 | .13 | .17 | .23 | .29 | .35 | .43 | .51 |  |  |  |  |  |  |  |  |
|  |  | C | 871 | 697 | 582 | 500 | 439 | 391 | 353 | 322 | 296 |  |  |  |  |  |  |  |  |
|  |  | D | .04 | .07 | .10 | .14 | .18 | .23 | .28 | .34 | .41 |  |  |  |  |  |  |  |  |
| STEEL 12 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1-1/2" (38.1) | 4.1 (6.10) | U | 1189 | 763 | 532 | 392 | 301 | 239 | 195 | 162 | 137 | 118 | 102 | 90 | 79 | U - Uniform Load - Lbs./Square Foot D - Deflection - in Inches C - Concentrated Load |  |  |  |
|  |  | D | .07 | .11 | .15 | .21 | .27 | .35 | .43 | .52 | .63 | .74 | .87 | 1.00 | 1.15 |  |  |  |  |
|  |  | C | 694 | 556 | 465 | 400 | 352 | 314 | 284 | 260 | 240 | 223 | 208 | 196 | 185 |  |  |  |  |
|  |  | D | .05 | .08 | .12 | .17 | .22 | .28 | .34 | .42 | .50 | .59 | .69 | .80 | .92 |  |  |  |  |

20

.04  .06  .09   .12  .16   .21   .26   .31  .38   .44   .49

LOAD C

Deflection (D)

Figure 2 CONCENTRATED LOAD (C) application to all walkways/planks: Maximum load (lb./ft.) permitted by flexural stress in side rail or Grating strut, whichever is lower, applied transversely to total width of Grating at mid- span and assumed to be carried equally by both side rails. DEFLECTION (D) in all walkways/ planks: Deflection (in) corresponding to maximum load (U) or (C) permitted by flexural stress in side rail or Grating strut, whichever is lower, applied.

Deflection (Ds)

LOAD Cs

Figure 3 CONCENTRATED LOAD (Cs) application to Grating surface struts of all walkways/planks: Maximum load (lb./ft.) permitted by flexural stress in Grating strut, applied longitudinally to a 1 ft. length of Grating at mid-width. STRUT DEFLECTION (Ds) in all walkways/planks: Deflection (in) corresponding to maximum concentrated strut load (Cs), permitted by flexural stress in Grating surface strut, applied longitudinally to a 1 ft. length of Grating at mid-width.

LOAD TABLE: 4-DIAMOND  PLANK (9-1/2" WIDTH)

| DEPTH (mm) | #/LF (kg/m) |  | CLEAR SPAN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 2' | 2' 6" | 3' | 3' 6" | 4' | 4' 6" | 5' | 5' 6" | 6' | 6' 6" | 7' |  | 7'6" | 8' | 9' | 10' | 11' | 12' |
| ALUMINUM ALLOY TYPE 5052-H32 .0800" THICK |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1-1/2" (38.1) | 1.28 (1.90) | U | 499 | 319 | 222 | 163 | 124 | 98 | 117 97 81 69 .52 .63 .74 .87 232 211 192 177 .42 .51 .59 .69 |  |  |  |  | This technical information provided is a reference for evaluation by technically skilled persons only, with any use thereof to be at their independent discretion and risk. McNICHOLS shall have no responsibility or liability for results obtained or damages resulting from improper evaluation or use of Grating. |  |  |  |  |  |  |
|  |  | D | .10 | .15 | .22 | .31 | .40 | .51 |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | C | 395 | 316 | 263 | 226 | 197 | 175 |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | D | .08 | .12 | .18 | .25 | .32 | .41 |  |  |  |  |  |  |  |  |  |  |  |  |
| 2" (50.8) | 1.37 (2.03) | U | 732 | 468 | 325 | 239 | 183 | 145 |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | D | .08 | .13 | .18 | .25 | .33 | .42 |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | C | 568 | 463 | 386 | 331 | 290 | 257 |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | D | .06 | .10 | .15 | .20 | .27 | .34 |  |  |  |  |  |  |  |  |  |  |  |  |
| STEEL 14 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1-1/2" (38.1) | 3.6 (5.36) | U | 663 | 426 | 296 | 219 | 168 | 134 | 109 | 90 | 77 | 10' and 12' lengths available for most sizes. Galvanized available in 14 Gauge and 12 Gauge. Please visit mcnichols.com for more information. |  |  |  |  |  |  |  |  |
|  |  | D | .06 | .10 | .14 | .20 | .26 | .33 | .41 | .50 | .59 |  |  |  |  |  |  |  |  |  |
|  |  | C | 525 | 421 | 352 | 303 | 266 | 238 | 215 | 197 | 182 |  |  |  |  |  |  |  |  |  |
|  |  | D | .05 | .08 | .11 | .16 | .21 | .26 | .33 | .40 | .47 |  |  |  |  |  |  |  |  |  |
| STEEL 12 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1-1/2" (38.1) | 5.0 (7.44) | U | 906 | 581 | 405 | 298 | 229 | 182 | 148 | 123 | 104 | 89 | 77 |  | 67 | 60 | U - Uniform Load - Lbs./Square Foot D - Deflection - in Inches C - Concentrated Load |  |  |  |
|  |  | D | .07 | .11 | .16 | .21 | .28 | .36 | .44 | .54 | .64 | .76 | .89 |  | 1.02 | 1.17 |  |  |  |  |
|  |  | C | 718 | 575 | 481 | 413 | 363 | 324 | 292 | 267 | 246 | 228 | 213 |  | 200 | 189 |  |  |  |  |
|  |  | D | .06 | .09 | .13 | .17 | .23 | .29 | .35 | .43 | .52 | .61 | .71 |  | .82 | .94 |  |  |  |  |
| 2" (50.8) | 5.4 (8.04) | U | 1398 | 896 | 624 | 460 | 353 | 280 | 228 | 189 | 160 | 137 | 119 |  | 104 | 92 | 74 | 61 | 51 | 43 |
|  |  | D | .05 | .08 | .11 | .16 | .20 | .26 | .32 | .39 | .47 | .55 | .65 |  | .75 | .85 | 1.10 | 1.38 | 1.69 | 2.03 |
|  |  | C | 1107 | 887 | 741 | 637 | 559 | 499 | 451 | 412 | 380 | 353 | 329 |  | 309 | 292 | 264 | 241 | 222 | 206 |
|  |  | D | .04 | .06 | .09 | .12 | .16 | .21 | .26 | .31 | .37 | .44 | .52 |  | .60 | .68 | .88 | 1.10 | 1.35 | 1.63 |
| STAINLESS STEEL TYPE 304 16 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2" (50.8) | 3.2 (4.76) | U | 720 | 462 | 322 | 238 | 183 | 145 | 118 | 98 | 83 | 71 | 59 |  | Spans in blue shaded area produce deflection of 1/4" or less under uniform load of 100 Lbs./Square Foot. |  |  |  |  |  |
|  |  | D | .05 | .08 | .11 | .16 | .20 | .26 | .32 | .39 | .47 | .55 | .61 |  |  |  |  |  |  |  |
|  |  | C | 570 | 457 | 382 | 329 | 289 | 258 | 234 | 214 | 197 | 184 | 165 |  |  |  |  |  |  |  |
|  |  | D |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

LOAD U

Deflection (D) Figure 1

UNIFORM LOAD (U) application to all Grating: Maximum load (lb./SF) permitted by flexural stress in side rail or Grating strut, whichever is lower, applied to entire Grating area (full-width by clear span) between supports. DEFLECTION (D) in all walkways/ planks: Deflection (in) corresponding to maximum load (U) or (C) permitted by flexural stress in side rail or Grating strut, whichever is lower, applied as defined in figures 1 or 2 and 3.

800.237.3820 mcnichols.com © 2018

McNICHOLS®  GRATING PRODUCTS                                                                 PLANK

GRIP STRUT®   PLANK (CONTINUED)

LOAD TABLE:  5-DIAMOND  PLANK (11 -3/4" WIDTH)

| DEPTH (mm) | #/LF (kg/m) |  |  |  |  |  |  |  |  | CL | EAR S |  | PAN |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 2' | 2' 6" | 3' | 3' 6" | 4' | 4' 6" | 5' | 5' 6" | 6' |  | 6' 6" | 7' | 7' 6" | 8' | 9' | 10' | 11' | 12' |
| ALUMINUM ALLOY TYPE 5052-H32 .0800" THICK |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1-1/2" (38.1) | 1.49 (2.22) | U | 403 | 255 | 179 | 132 | 100 | 117; 95; 78. .42; .52; .63. 257 .34; 232; 211. .42; .51. | A complete list of McNICHOLS® PLANK GRATING items is available at mcnichols.com! |  |  |  |  |  |  |  |  |
|  |  | D | .10 | .15 | .22 | .31 | .40 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | C | 395 | 316 | 263 | 226 | 197 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | D | .08 | .12 | .18 | .25 | .32 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2" (50.8) | 1.59 (2.36) | U | 592 | 379 | 263 | 193 | 148 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | D | .08 | .13 | .18 | .25 | .33 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | C | 466 | 466 | 386 | 331 | 290 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | D | .05 | .10 | .15 | .20 | .27 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| STEEL 14 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1-1/2" (38.1) | 4.2 (6.25) | U | 536 | 344 | 240 | 177 | 136 | 108 | 88 | 74 | 62 |  | 10' and 12' lengths available for most sizes. Galvanized available in 14 Gauge and 12 Gauge. 87; 76; 66; 59; 47. .61; .71; .83; .95; 1.21. 277; 259; 243; 230; 207. .49; .57; .66; .76; .97. 100; 86; 76; 67; 54; 44. .39; .45; .52; .60; .77; .96. 317; 296; 278; 262; 236; 216. .31; .36; .42; .48; .62; .77. |
|  |  | D | .06 | .10 | .14 | .20 | .26 | .33 | .41 | .50 | .60 |  |  |  |  |  |  |  |  |  |
|  |  | C | 525 | 422 | 353 | 304 | 267 | 239 | 216 | 198 | 183 |  |  |  |  |  |  |  |  |  |
|  |  | D | .05 | .08 | .12 | .16 | .21 | .26 | .33 | .40 | .48 |  |  |  |  |  |  |  |  |  |
| 2" (50.8) | 4.4 (6.55) | U | 890 | 571 | 397 | 293 | 225 | 178 | 145 | 120 | 102 |  |  |  |  |  |  |  |  |  |
|  |  | D | .06 | .09 | .13 | .17 | .23 | .29 | .36 | .43 | .52 |  |  |  |  |  |  |  |  |  |
|  |  | C | 707 | 699 | 584 | 502 | 440 | 393 | 355 | 324 | 299 |  |  |  |  |  |  |  |  |  |
|  |  | D | .04 | .07 | .10 | .14 | .18 | .23 | .29 | .35 | .42 |  |  |  |  |  |  |  |  |  |
| 2-1/2" (63.5) | 4.7 (6.99) | U | 1021 | 655 | 456 | 336 | 258 | 204 | 166 | 138 | 116 |  |  |  |  |  |  |  |  |  |
|  |  | D | .04 | .06 | .08 | .11 | .14 | .18 | .23 | .28 | .33 |  |  |  |  |  |  |  |  |  |
|  |  | C | 707 | 707 | 669 | 575 | 505 | 450 | 407 | 371 | 342 |  |  |  |  |  |  |  |  |  |
|  |  | D | .02 | .04 | .06 | .09 | .12 | .15 | .18 | .22 | .26 |  |  |  |  |  |  |  |  |  |
| STEEL 12 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1-1/2" (38.1) | 5.9 (8.78) | U | 710 | 456 | 318 | 235 | 181 | 144 | 117 | 98 | 83 |  | 71 | 62 | 55 | 49 | U - Uniform Load - Lbs./Square Foot D - Deflection - in Inches C - Concentrated Load |  |  |  |
|  |  | D | .07 | .11 | .15 | .21 | .28 | .35 | .44 | .53 | .64 |  | .76 | .89 | 1.03 | 1.18 |  |  |  |  |
|  |  | C | 695 | 558 | 467 | 402 | 354 | 317 | 287 | 263 | 244 |  | 227 | 213 | 201 | 190 |  |  |  |  |
|  |  | D | .05 | .08 | .12 | .17 | .22 | .28 | .35 | .43 | .51 |  | .60 | .71 | .82 | .95 |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 60; 50; 42. 1.11; 1.39; 1.70. 266; 243; 224. .89; 1.11; 1.36. |
| 2" (50.8) | 6.2 (9.23) | U | 1131 | 725 | 505 | 372 | 286 | 227 | 185 | 154 | 130 |  | 111 | 97 | 85 | 75 |  |  |  |  |
|  |  | D | .05 | .08 | .11 | .16 | .20 | .26 | .32 | .39 | .47 |  | .56 | .65 | .75 | .86 |  |  |  |  |
|  |  | C | 1107 | 888 | 742 | 638 | 561 | 501 | 453 | 414 | 382 |  | 355 | 332 | 312 | 295 |  |  |  |  |
|  |  | D | .04 | .06 | .09 | .12 | .16 | .21 | .26 | .31 | .38 |  | .44 | .52 | .60 | .69 |  |  |  |  |
| 2-1/2" (63.5) | 6.6 (9.82) | U | 1691 | 1083 | 753 | 554 | 425 | 337 | 273 | 226 | 151 |  | 141 | 123 | 109 | 87 | 71 | 59 | 59 | 50 |
|  |  | D | .04 | .06 | .09 | .13 | .17 | .21 | .26 | .32 | .38 |  | .45 | .52 | .60 | .68 | .87 | 1.09 | 1.33 | 1.60 |
|  |  | C | 1115 | 1115 | 1106 | 950 | 833 | 742 | 669 | 610 | 561 |  | 519 | 484 | 453 | 426 | 382 | 347 | 319 | 295 |
|  |  | D | .02 | .04 | .07 | .10 | .13 | .17 | .21 | .25 | .30 |  | .36 | .41 | .48 | .55 | .70 | .87 | 1.06 | 1.28 |
| STAINLESS STEEL TYPE 304 16 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2" (50.8) | 3.7 (5.51) | U | 583 | 374 | 261 | 192 | 148 | 118 | 96 | 80 | 68 |  | 58 | 48 | Spans in blue shaded area produce deflection of 1/4" or less under Uniform Load of 100 Lbs./Square Foot. |  |  |  |  |  |
|  |  | D | .05 | .08 | .11 | .16 | .20 | .26 | .32 | .39 | .47 |  | .56 | .61 |  |  |  |  |  |  |
|  |  | C | 464 | 458 | 323 | 330 | 290 | 259 | 235 | 215 | 199 |  | 185 | 165 |  |  |  |  |  |  |
|  |  | D | .03 | .06 | .09 | .12 | .16 | .21 | .26 | .32 | .38 |  | .45 | .49 |  |  |  |  |  |  |

LOAD TABLE:  8-DIAMOND  PLANK (18-3/4" WIDTH)

| DEPTH (mm) | #/LF (kg/m) |  | CLEAR SPAN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 2' | 2' 6" | 3' | 3' 6" | 4' | 4' 6" | 5' | 5' 6" | 6' | 6' 6" | 7' | 7' 6" | 8' | 9' | 10' | 11' | 12' |
| ALUMINUM ALLOY TYPE 5052-H32 .080" THICK |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2" (50.8) | 2.20 (3.27) | U | 308 | 237 | 165 | 121 | 93 | 73 | 59 | 49 | 10' and 12' lengths available for most sizes. Galvanized available in 14 Gauge and 12 Gauge. |  |  |  |  |  |  |  |  |
|  |  | D | .54 | .50 | .44 | .44 | .47 | .53 | .61 | .71 |  |  |  |  |  |  |  |  |  |
|  |  | C | 290 | 232 | 193 | 166 | 145 | 129 | 116 | 106 |  |  |  |  |  |  |  |  |  |
|  |  | D | .32 | .28 | .27 | .27 | .28 | .30 | .32 | .36 |  |  |  |  |  |  |  |  |  |
| STEEL 14 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2" (50.8) | 6.3 (9.4) | U | 540 | 358 | 250 | 184 | 142 | 113 | 92 | 76 | 65 | 55 | 48 | 42 | Spans in shaded area produce deflection of 1/4" or less under Uniform Load of 100 Lbs./Square Foot. |  |  |  |  |
|  |  | D | .48 | .37 | .34 | .32 | .34 | .38 | .43 | .50 | .58 | .66 | .77 | .87 |  |  |  |  |  |
|  |  | C | 437 | 349 | 292 | 251 | 220 | 198 | 179 | 164 | 152 | 141 | 132 | 124 |  |  |  |  |  |
|  |  | D | .24 | .21 | .20 | .19 | .20 | .21 | .23 | .26 | .29 | .32 | .36 | .40 |  |  |  |  |  |
| STEEL 12 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1-1/2" (38.1) | 8.5 (12.6) | U | 446 | 287 | 201 | 148 | 115 | 91 | 75 | 63 | 53 | 46 | 40 | U - Uniform Load - Lbs./Square Foot D - Deflection - in Inches C - Concentrated Load 54; 48. .79; .90. 160; 151. .36; .40. |
|  |  | D | .27 | .22 | .22 | .26 | .32 | .39 | .47 | .56 | .67 | .80 | .92 |  |  |  |  |  |  |
|  |  | C | 359 | 280 | 235 | 203 | 179 | 161 | 146 | 135 | 125 | 117 | 110 |  |  |  |  |  |  |
|  |  | D | .12 | .12 | .12 | .14 | .16 | .19 | .22 | .26 | .30 | .35 | .40 |  |  |  |  |  |  |
| 2" (50.8) | 8.9 (13.2) | U | 710 | 456 | 318 | 235 | 181 | 144 | 117 | 98 | 83 | 71 | 62 |  |  |  |  |  |  |
|  |  | D | .31 | .25 | .23 | .25 | .28 | .31 | .37 | .44 | .51 | .60 | .68 |  |  |  |  |  |  |
|  |  | U | 554 | 444 | 371 | 319 | 282 | 253 | 229 | 210 | 194 | 181 | 169 |  |  |  |  |  |  |
|  |  | D | .17 | .15 | .14 | .15 | .16 | .17 | .19 | .22 | .25 | .28 | .32 |  |  |  |  |  |  |

| LOAD TABLE: 10-DIAMOND PLANK (24" WIDTH) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DEPTH (mm) | #/LF (kg/m) |  | CLEAR SPAN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 2' | 2' 6" | 3' | 3' 6" | 4' | 4' 6" | 5' | 5' 6" | 6' | 6' 6" | 7' | 7' 6" | 8' | 9' | 10' | 11' | 12' |
| STEEL 14 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2" (50.8) | 7.4 (11.0) | U | 300 | 300 | 228 | 168 | 128 | 102 | 82 | 68 | 57 | 49 | 42 | 10' and 12' lengths available for most sizes. Galvanized available in 14 Gauge and 12 Gauge. |  |  |  |  |  |
|  |  | D | .46 | .48 | .42 | .38 | .38 | .41 | .44 | .49 | .55 | .62 | .70 |  |  |  |  |  |  |
|  |  | C | 400 | 400 | 343 | 294 | 257 | 229 | 206 | 187 | 172 | 158 | 147 |  |  |  |  |  |  |
|  |  | D | .34 | .35 | .32 | .30 | .29 | .29 | .30 | .31 | .33 | .35 | .37 |  |  |  |  |  |  |
| STEEL 12 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2" (38.1) | 10.4 (15.5) | U | 475 | 416 | 289 | 212 | 162 | 128 | 104 | 86 | 72 | 62 | 53 | 46 | Spans in blue shaded area produce deflection of 1/4" or less under Uniform Load of 100 Lbs./Square Foot. |  |  |  |  |
|  |  | D | .40 | .39 | .33 | .31 | .31 | .34 | .38 | .44 | .48 | .56 | .63 | .71 |  |  |  |  |  |
|  |  | C | 650 | 520 | 434 | 372 | 325 | 289 | 260 | 237 | 217 | 200 | 186 | 174 |  |  |  |  |  |
|  |  | D | .26 | .22 | .19 | .20 | .20 | .21 | .22 | .23 | .25 | .28 | .31 | .34 |  |  |  |  |  |
| 3" (76.2) | 11.1 (16.5) | U | 475 | 475 | 475 | 392 | 300 | 237 | 192 | 159 | 133 | 114 | 98 | 85 | 75 | 59 | 48 |  |  |
|  |  | D | .38 | .39 | .42 | .38 | .36 | .34 | .35 | .37 | .39 | .43 | .47 | .52 | .58 | .70 | .85 |  |  |
|  |  | C | 900 | 900 | 800 | 686 | 600 | 534 | 480 | 437 | 400 | 369 | 343 | 320 | 300 | 267 | 240 |  |  |
|  |  | D | .34 | .35 | .33 | .29 | .27 | .26 | .26 | .26 | .26 | .27 | .29 | .30 | .32 | .36 | .41 |  |  |

GRIP STRUT®  WALKWAY

McNICHOLS  GRIP  STRUT ®    Walkway offers  the  same  high  slip  resistance  as  GRIP STRUT®  Planks. In addition, GRIP STRUT® Walkway meets  OSHA  requirements  for  toeboards  on elevated   structures   because   of   the   inverted channels that are measured in terms of depth.

End View

GRIP STRUT®

→l  1"

16"

5/8"

90˚± 2-1/2˚

4-1/2" Height

| LOAD TABLE: 10-DIAMOND WALKWAY (24" WIDTH) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| HT. (mm) | #/LF (kg/m) |  | CLEAR SPAN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 2' | 2'6" | 3' | 3'6" | 4' | 4'6" | 5' | 5'6" | 6' | 6'6" | 7' | 7'6" | 8' | 9' | 10' | 11' | 12' |
| STEEL 14 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4-1/2" | 8.9 (13.2) | U | 300 | 300 | 300 | 300 | 300 | 263 | 213 | 176 | 148 | 126 | 109 | 95 | 83 | 66 | 53 | 43 | -- |
|  |  | D | .41 | .41 | .42 | .45 | .48 | .47 | .42 | .40 | .40 | .41 | .43 | .45 | .47 | .55 | .64 | .75 | -- |
|  |  | C | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 380 | 355 | 333 | 296 | 266 | 242 | -- |
|  |  | D | .32 | .33 | .33 | .33 | .34 | .35 | .36 | .38 | .39 | .41 | .42 | .41 | .41 | .42 | .44 | .47 | -- |
| STEEL 12 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4-1/2" | 12.5 (18.6) | U | 475 | 475 | 475 | 475 | 475 | 420 | 340 | 281 | 236 | 201 | 173 | 151 | 133 | 105 | 85 | 70 | 59 |
|  |  | D | .37 | .37 | .38 | .40 | .43 | .43 | .39 | .37 | .37 | .37 | .39 | .41 | .44 | .51 | .59 | .69 | .80 |
|  |  | C | 900 | 900 | 900 | 900 | 900 | 900 | 850 | 773 | 709 | 654 | 607 | 567 | 531 | 472 | 425 | 387 | 354 |
|  |  | D | .34 | .34 | .35 | .35 | .36 | .37 | .37 | .35 | .34 | .33 | .33 | .33 | .33 | .35 | .37 | .40 | .44 |

PRODUCT OPTIONS

Material: Galvanized Steel Gauge: 14, 12 Height: 4-1/2" Width: 24" Length: 120", 144"

DIAMOND ANCHOR

H-B-C-10 SADDLE

SPLICE PLATE KIT

| CLIPS & FASTENERS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| A complete list of Clips and Fasteners is available on page 28. |  |  |  |  |  |

GRIP STRUT® Walkway

© 2018 800.237.3820 mcnichols.com

21

| P LA N K | McNICHOLS® GRATING PRODUCTS |
| --- | --- |

End View

21/32"

1-5/16"

90˚ ± 2-1/2˚

1-1/4"

HEAVY-DUTY GRIP  STRUT®   PLANK

▲

Depth

HD GRIP STRUT®

2"   1"

1-1/4"

7/8"

- 3-7/8" 一

Top View

1-1/4" 3- 9/16"

McNICHOLS  Heavy-Duty GRIP STRUT®  Planks are designed for heavier loads and longer spans with their 10 Gauge thickness. Diamond openings are larger than openings on standard size planks. These features provide exceptional slip resistance in areas that may be exposed to snow, ice, mud, oils and other slippery substances.

| PRODUCT OPTIONS |  |
| --- | --- |
| Material: | Galvanized Steel |
| Gauge: | 10 |
| Width: | 9-1/4", 13-3/4", 23-1/4", 36" (Stock) |
| Depth: | 2" (Stock), 2-1/2", 3", 4" |
| Length: | 144" |

HEAVY-DUTY  GRIP  STRUT®   STAIR TREADS

Side View

1"

7/16" x 1-3/4" Slot 7/16" Dia. Hole

2" 5-7/8" 9-1/4"

LOAD TABLE: 2-DIAMOND  HD  PLANK (9-1/4" WIDTH)

| DEPTH (mm) | #/LF (kg/m) |  | CLEAR SPAN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 2' | 2' 6" | 3' | 3' 6" | 4' | 4' 6" | 5' | 5' 6" | 6' | 6' 6" | 7' | 7' 6" | 8' | 9' | 10' | 11' | 12' |
| STEEL 10 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2" (50.8) | 7.4 (11.0) | U | 2681 | 1716 | 1141 | 876 | 699 | 529 | 428 | 354 | 300 | 253 | 218 | 191 | 167 | 132 | 109 | 90 | 74 |
|  |  | D | .05 | .08 | .11 | .15 | .19 | .24 | .30 | .35 | .41 | .47 | .54 | .62 | .69 | .85 | 1.04 | 1.24 | 1.45 |
|  |  | C | 2067 | 1653 | 1378 | 1181 | 1033 | 919 | 827 | 752 | 689 | 636 | 590 | 551 | 517 | 459 | 413 | 376 | 344 |
|  |  | D | .04 | .06 | .09 | .12 | .15 | .19 | .24 | .28 | .33 | .38 | .44 | .49 | .55 | .68 | .81 | .96 | 1.16 |

| LOAD TABLE: 3-DIAMOND HD PLANK (13-3/4" WIDTH) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DEPTH (mm) | #/LF (kg/m) |  | CLEAR SPAN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 2' | 2' 6" | 3' | 3' 6" | 4' | 4' 6" | 5' | 5' 6" | 6' | 6' 6" | 7' | 7' 6" | 8' | 9' | 10' | 11' | 12' |
| STEEL 10 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2-1/2" (63.5) | 10.0 (14.9) | U | 2733 | 1794 | 1214 | 893 | 683 | 539 | 437 | 361 | 304 | 259 | 223 | 194 | 170 | 136 | 110 | 92 | 76 |
|  |  | D | .05 | .07 | .10 | .14 | .18 | .23 | .27 | .32 | .36 | .42 | .49 | .55 | .62 | .79 | .96 | 1.15 | 1.35 |
|  |  | C | 3133 | 2507 | 2089 | 1790 | 1567 | 1393 | 1253 | 1139 | 1044 | 964 | 895 | 836 | 783 | 696 | 627 | 570 | 522 |
|  |  | D | .04 | .06 | .08 | .11 | .14 | .18 | .22 | .25 | .29 | .34 | .39 | .44 | .50 | .63 | .76 | 91 | 1.08 |

|  | 2' | 2'6" | 3' | 4' |
| --- | --- | --- | --- | --- |
| U | 2412 | 1544 | 1026 | 629 |
| C | 1860 | 1487 | 1240 | 929 |
| Material: Galvanized Steel 10 GA #/LF: 7.4 Depth: 2" Width: 9-1/4" Length: 24" to 48" |  |  |  |  |

LOAD TABLE:  5-DIAMOND  HD  PLANK (23-1/4" WIDTH)

| DEPTH (mm) | #/LF (kg/m) |  | CLEAR SPAN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 2' | 2' 6" | 3' | 3' 6" | 4' | 4' 6" | 5' | 5' 6" | 6' | 6' 6" | 7' | 7' 6" | 8' | 9' | 10' | 11' | 12' |
| STEEL 10 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2" (50.8) | 14.4 (21.4) | U | 1034 | 661 | 459 | 337 | 258 | 204 | 165 | 136 | 116 | 97 | 84 | 73 | 65 | 51 | 42 | 34 | 29 |
|  |  | D | .04 | .06 | .08 | .11 | .14 | .18 | .22 | .25 | .29 | .34 | .39 | .44 | .50 | .63 | .76 | .91 | 1.08 |
|  |  | C | 2067 | 1653 | 1378 | 1181 | 1033 | 919 | 827 | 752 | 689 | 636 | 590 | 551 | 517 | 459 | 413 | 376 | 344 |
|  |  | D | .04 | .06 | .09 | .12 | .15 | .19 | .24 | .28 | .33 | .38 | .44 | .49 | .55 | .68 | .81 | .96 | 1.16 |
| 2-1/2" (63.5) | 14.8 (22.0) | U | 1617 | 1034 | 718 | 528 | 404 | 319 | 259 | 214 | 180 | 153 | 132 | 115 | 101 | 81 | 65 | 54 | 45 |
|  |  | D | .05 | .07 | .10 | .14 | .18 | .23 | .27 | .32 | .36 | .42 | .49 | .55 | .62 | .79 | .96 | 1.15 | 1.35 |
|  |  | C | 3133 | 2507 | 2089 | 1790 | 1567 | 1393 | 1253 | 1139 | 1044 | 964 | 895 | 836 | 783 | 696 | 627 | 570 | 522 |
|  |  | D | .03 | .05 | .07 | .09 | .11 | .12 | .17 | .21 | .24 | .28 | .31 | .35 | .39 | .47 | .55 | .64 | .76 |

| LOAD TABLE: 8-DIAMOND HD PLANK (36" WIDTH) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DEPTH (mm) | #/LF (kg/m) |  | CLEAR SPAN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 2' | 2' 6" | 3' | 3' 6" | 4' | 4' 6" | 5' | 5' 6" | 6' | 6' 6" | 7' | 7' 6" | 8' | 9' | 10' | 11' | 12' |
| STEEL 10 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2" (50.8) | 19.9 (29.6) | U | 689 | 441 | 306 | 225 | 172 | 136 | 110 | 91 | 77 | 65 | 56 | 49 | 43 | 34 | 28 | 23 | 19 |
|  |  | D | .05 | .08 | .11 | .15 | .19 | .24 | .30 | .35 | .41 | .47 | .54 | .62 | .69 | .85 | 1.04 | 1.24 | 1.45 |
|  |  | C | 2067 | 1653 | 1378 | 1181 | 1033 | 919 | 827 | 752 | 689 | 636 | 590 | 551 | 517 | 459 | 413 | 376 | 344 |
|  |  | D | .04 | .06 | .09 | .12 | .15 | .19 | .24 | .28 | .33 | .38 | .44 | .49 | .55 | .68 | .81 | .98 | 1.16 |

U - Uniform Load - Lbs./Square Foot D - Deflection - in Inches C - Concentrated Load

End View

HEAVY-DUTY GRIP  STRUT®  WALKWAY

PRODUCT OPTIONS

Material: Galvanized Steel Gauge: 10 Width: 24", 30", 36" Height: 5" Length: 120", 144"

1-1/4"

Walkway Width

5"

90˚ ± 2-1/2˚

1-5/16"

21/32"

®

HD GRIP STRUT

D IAMOND ANCHOR

H B C 10 SADDLE CLIP

SPL ICE PLATE KIT

CLIPS  &  FASTENERS

| A complete list of Clips and Fasteners is available on page 28. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |

22

Height

McNICHOLS  Heavy-Duty   GRIP   STRUT®    Walkway meets  OSHA  toeboard  requirements  for  elevated structures  with   upturned,  5"  high  integral  side channels (referred to as height) . Heavy-Duty GRIP STRUT ®    Walkway   is   commonly  used   in  process plants,  refineries,  conveyor  walkways  and  grain elevators.

| LOAD TABLE: 6 & 8-DIAMOND HD WALKWAY (30" & 36" WIDTH) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| HT (mm) | #/LF (kg/m) | WIDTH |  | CLEAR SPAN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 4' | 5' | 6' | 7' | 8' | 9' | 10' | 11' | 12' | 13' | 14' | 15' | 16' | 18' | 20' | 22' | 24' |
| STEEL 10 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5" (127) | 19.9 (29.6) | 30" | U | 916 | 586 | 407 | 299 | 229 | 182 | 146 | 121 | 102 | 87 | 75 | 65 | 57 | 45 | 36 | 30 | 25 |
|  |  |  | D | .37 | .43 | .40 | .40 | .46 | .42 | .41 | .41 | .49 | .57 | .66 | .75 | .86 | 1.09 | 1.33 | 1.62 | 1.92 |
|  |  |  | C | 4584 | 3666 | 3056 | 2619 | 2291 | 2037 | 1834 | 1667 | 1528 | 1410 | 1309 | 1222 | 1146 | 1019 | 916 | 834 | 763 |
|  |  |  | D | .30 | .34 | .32 | .32 | .37 | .34 | .33 | .33 | .39 | .45 | .53 | .61 | .69 | .87 | 1.08 | 1.30 | 1.55 |
| 5" (127) | 22.7 (33.8) | 36" | U | 556 | 356 | 247 | 181 | 139 | 110 | 89 | 73 | 62 | 53 | 45 | 39 | 35 | 27 | 22 | 18 | 15 |
|  |  |  | D | .39 | .39 | .33 | .32 | .33 | .36 | .39 | .42 | .51 | .60 | .69 | .79 | .91 | 1.15 | 1.40 | 1.67 | 1.98 |
|  |  |  | C | 3330 | 2667 | 2222 | 1905 | 1667 | 1481 | 1333 | 1212 | 1111 | 1026 | 952 | 889 | 833 | 741 | 667 | 606 | 556 |
|  |  |  | D | .31 | .31 | .26 | .26 | .26 | .29 | .31 | .34 | .41 | .46 | .55 | .64 | .72 | .92 | 1.13 | 1.37 | 1.63 |

800.237.3820 mcnichols.com © 2018

McNICHOLS®  GRATING PRODUCTS                                                                 PLANK

PERF-O GRIP®   PLANK  & WALKWAY

McNICHOLS PERF-O GRIP®    is made up of large debossed holes and perforated buttons that provide slip resistance and performance in every direction. Fluids, mud, chips, snow and other debris fall easily through the product's numerous openings.

PERF-O  GRIP®    PLANK

PERF-O GRIP®

PERF-O GRIP® Stair Treads

page 29

End View

Top View

1"

2"

3/32"

90。± 2-1/2。

——

7/8"

McNICHOLS PERF-O GRIP®   Plank  offers  a high load capacity, long life and high strength-to-weight performance.  The  aggressive  grip  surface  enhances safety. Applications include walkways, ramps, catwalks and more!

| PRODUCT OPTIONS |  |
| --- | --- |
| Material: Gauge: Width: Depth: Length: | Aluminum, Carbon Steel, Galvanized Steel 13, 11, .1250" Thick (Aluminum) 5", 7", 10", 12", 18" 1-1/2", 2" 120", 144" |

LOAD TABLE: 2-HOLE  PLANK (5" WIDTH)

| DEPTH | #/LF |  | CLEAR SPAN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 2' | 2' 6" | 3' | 3' 6" | 4' | 4' 6" | 5' | 5' 6" | 6' | 7' | 8' | 9' | 10' | 11' | 12' |
| STEEL 13 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1-1/2" | 2.6 | U | 2008 | 1287 | 895 | 659 | 505 | 400 | 325 | 269 | 227 | 168 | 130 | 103 | 85 | 70 | 60 |
|  |  | D | .05 | .08 | .11 | .15 | .20 | .25 | .31 | .38 | .45 | .62 | .82 | 1.04 | 1.30 | 1.57 | 1.90 |
|  |  | C | 836 | 670 | 559 | 481 | 421 | 375 | 338 | 308 | 284 | 244 | 216 | 194 | 176 | 162 | 150 |
|  |  | D | .04 | .06 | .09 | .12 | .16 | .20 | .25 | .30 | .35 | .49 | .65 | .83 | 1.04 | 1.27 | 1.52 |

LOAD TABLE: 3-HOLE  PLANK (7" WIDTH)

| DEPTH | #/LF |  | CLEAR SPAN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 2' | 2' 6" | 3' | 3' 6" | 4' | 4' 6" | 5' | 5' 6" | 6' | 7' | 8' | 9' | 10' | 11' | 12' |
| STEEL 13 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1-1/2" | 3.0 | U | 1536 | 984 | 685 | 504 | 387 | 306 | 249 | 206 | 174 | 129 | 100 | 79 | 65 | 55 | 46 |
|  |  | D | .05 | .07 | .11 | .14 | .19 | .24 | .29 | .36 | .43 | .58 | .77 | .98 | 1.22 | 1.51 | 1.81 |
|  |  | C | 914 | 731 | 609 | 522 | 457 | 406 | 366 | 332 | 305 | 263 | 232 | 208 | 190 | 174 | 162 |
|  |  | D | .04 | .06 | .08 | .12 | .15 | .19 | .24 | .29 | .34 | .47 | .61 | .78 | .98 | 1.20 | 1.44 |
| 2" | 3.3 | U | 1965 | 1473 | 1024 | 754 | 578 | 458 | 371 | 307 | 259 | 192 | 147 | 118 | 96 | 80 | 68 |
|  |  | D | .03 | .06 | .08 | .11 | .14 | .18 | .23 | .27 | .33 | .44 | .58 | .74 | .92 | 1.13 | 1.36 |
|  |  | C | 1369 | 1096 | 913 | 783 | 685 | 609 | 548 | 498 | 456 | 391 | 344 | 308 | 279 | 257 | 237 |
|  |  | D | .03 | .05 | .07 | .09 | .12 | .15 | .18 | .22 | .26 | .35 | .47 | .59 | .74 | .90 | 1.08 |

U - Uniform Load - Lbs./Square Foot D - Deflection - in Inches C - Concentrated Load

LOAD TABLE:  5-HOLE  PLANK (10" WIDTH)

LOAD TABLE:  6-HOLE  PLANK (12" WIDTH)

| DEPTH | #/LF |  | CLEAR SPAN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 2' | 2' 6" | 3' | 3' 6" | 4' | 4' 6" | 5' | 5' 6" | 6' | 7' | 8' | 9' | 10' | 11' | 12' |
| ALUMINUM ALLOY TYPE 5052-H32 .125" THICK |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2" | 2.1 | U | 1463 | 936 | 650 | 478 | 366 | 290 | 235 | 194 | 163 | 120 | 93 | 73 | 60 | 49 | 41 |
|  |  | D | .08 | .12 | .17 | .23 | .30 | .38 | .47 | .57 | .68 | .92 | 1.20 | 1.52 | 1.88 | 2.27 | 2.70 |
|  |  | C | 1612 | 1290 | 1075 | 921 | 806 | 716 | 645 | 586 | 537 | 461 | 403 | 358 | 322 | 293 | 269 |
|  |  | D | .06 | .09 | .14 | .18 | .24 | .30 | .38 | .45 | .54 | .74 | .96 | 1.22 | 1.50 | 1.82 | 2.16 |
| STEEL 13 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1-1/2" | 4.3 | U | 669 | 655 | 456 | 336 | 258 | 204 | 166 | 138 | 117 | 87 | 67 | 54 | 44 | 37 | 31 |
|  |  | D | .03 | .07 | .10 | .13 | .17 | .22 | .27 | .33 | .40 | .55 | .72 | .92 | 1.16 | 1.43 | 1.68 |
|  |  | C | 960 | 819 | 684 | 588 | 516 | 460 | 416 | 380 | 349 | 303 | 268 | 241 | 218 | 198 | 182 |
|  |  | D | .03 | .05 | .08 | .11 | .14 | .18 | .22 | .26 | .32 | .44 | .58 | .74 | .91 | 1.11 | 1.32 |
| 2" | 4.6 | U | 1510 | 966 | 671 | 493 | 378 | 299 | 243 | 201 | 170 | 126 | 97 | 77 | 63 | 53 | 45 |
|  |  | D | .03 | .05 | .07 | .10 | .13 | .16 | .20 | .25 | .29 | .40 | .53 | .68 | .85 | 1.03 | 1.25 |
|  |  | C | 1442 | 1154 | 961 | 862 | 756 | 673 | 608 | 555 | 509 | 440 | 388 | 349 | 317 | 291 | 270 |
|  |  | D | .02 | .04 | .06 | .08 | .10 | .13 | .16 | .20 | .23 | .32 | .42 | .54 | .67 | .82 | .99 |
| 2" | 5.5 | U | 1937 | 1240 | 861 | 633 | 486 | 385 | 312 | 259 | 218 | 161 | 124 | 99 | 80 | 67 | 57 |
|  |  | D | .03 | .05 | .07 | .10 | .13 | .16 | .20 | .24 | .29 | .40 | .52 | .67 | .83 | 1.01 | 1.22 |
|  |  | C | 1881 | 1505 | 1292 | 1109 | 971 | 865 | 781 | 712 | 654 | 563 | 496 | 444 | 403 | 389 | 341 |
|  |  | D | .02 | .04 | .06 | .08 | .10 | .13 | .16 | .20 | .23 | .32 | .42 | .54 | .67 | .81 | .98 |

| DEPTH | #/LF |  | CLEAR SPAN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 2' | 2' 6" | 3' | 3' 6" | 4' | 4' 6" | 5' | 5' 6" | 6' | 7' | 8' | 9' | 10' | 11' | 12' |
| ALUMINUM ALLOY TYPE 5052-H32 .1250" THICK |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2" | 1.8 | U | 1048 | 1022 | 710 | 522 | 400 | 316 | 256 | 212 | 178 | 131 | 101 | 80 | 65 | 54 | 46 |
|  |  | D | .05 | .12 | .18 | .24 | .31 | .40 | .49 | .59 | .71 | .96 | 1.26 | 1.59 | 1.96 | 2.37 | 2.83 |
|  |  | C | 1431 | 1145 | 954 | 818 | 715 | 636 | 572 | 520 | 477 | 409 | 358 | 318 | 286 | 260 | 238 |
|  |  | D | .06 | .09 | .13 | .19 | .25 | .32 | .39 | .47 | .57 | .77 | 1.00 | 1.27 | 1.57 | 1.90 | 2.26 |
| STEEL 13 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1-1/2" | 3.5 | U | 963 | 745 | 517 | 380 | 291 | 230 | 187 | 154 | 129 | 95 | 73 | 58 | 46 | 38 | 32 |
|  |  | D | .04 | .08 | .11 | .15 | .19 | .24 | .30 | .36 | .43 | .59 | .77 | .98 | 1.20 | 1.44 | 1.71 |
|  |  | C | 855 | 684 | 645 | 554 | 485 | 431 | 388 | 353 | 323 | 277 | 242 | 216 | 191 | 176 | 162 |
|  |  | D | .03 | .05 | .09 | .12 | .15 | .19 | .24 | .29 | .35 | .47 | .61 | .78 | .95 | 1.16 | 1.39 |
| 2" | 3.9 | U | 1735 | 1110 | 771 | 568 | 435 | 344 | 281 | 232 | 196 | 144 | 110 | 88 | 70 | 60 | 50 |
|  |  | D | .04 | .06 | .08 | .11 | .15 | .18 | .23 | .28 | .33 | .45 | .59 | .75 | .91 | 1.14 | 1.34 |
|  |  | C | 1297 | 1038 | 865 | 741 | 648 | 645 | 584 | 532 | 489 | 422 | 368 | 327 | 297 | 267 | 245 |
|  |  | D | .02 | .04 | .05 | .08 | .10 | .15 | .18 | .22 | .26 | .36 | .47 | .60 | .79 | .89 | 1.06 |

McNICHOLS®  Plank Grating, Plank, PERF-O GRIP®, 10-Hole - Factory Flooring

23

LOAD TABLE:  10-HOLE  PLANK (18" WIDTH)

| DEPTH | #/LF |  | CLEAR SPAN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 2' | 2' 6" | 3' | 3' 6" | 4' | 4' 6" | 5' | 5' 6" | 6' | 7' | 8' | 9' | 10' | 11' | 12' |
| ALUMINUM ALLOY TYPE 5052-H32 .1250" THICK |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2" | 2.8 | U | 992 | 635 | 441 | 324 | 248 | 196 | 158 | 131 | 110 | 81 | 62 | 49 | 40 | 33 | 27 |
|  |  | D | .07 | .10 | .16 | .21 | .28 | .35 | .44 | .53 | .63 | .86 | 1.12 | 1.42 | 1.75 | 2.11 | 2.52 |
|  |  | C | 1652 | 1322 | 1102 | 944 | 826 | 734 | 661 | 601 | 551 | 472 | 413 | 367 | 330 | 300 | 275 |
|  |  | D | .05 | .08 | .13 | .17 | .22 | .28 | .35 | .42 | .50 | .69 | .89 | 1.13 | 1.40 | 1.69 | 2.01 |
| STEEL 10 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1-1/2" | 5.7 | U | 714 | 457 | 317 | 233 | 179 | 142 | 116 | 96 | 82 | 60 | 45 | 36 | 29 | 24 | 21 |
|  |  | D | .04 | .07 | .10 | .13 | .17 | .21 | .26 | .32 | .39 | .52 | .68 | .86 | 1.05 | 1.27 | 1.56 |
|  |  | C | 964 | 771 | 642 | 551 | 495 | 481 | 434 | 397 | 366 | 314 | 274 | 243 | 220 | 199 | 183 |
|  |  | D | .03 | .04 | .07 | .09 | .12 | .17 | .21 | .26 | .31 | .42 | .55 | .69 | .85 | 1.03 | 1.23 |
| 2" | 6.0 | U | 1072 | 686 | 476 | 350 | 268 | 212 | 173 | 143 | 121 | 90 | 69 | 55 | 44 | 36 | 31 |
|  |  | D | .03 | .05 | .07 | .10 | .13 | .16 | .20 | .24 | .29 | .40 | .53 | .67 | .82 | .98 | 1.19 |
|  |  | C | 1452 | 1162 | 968 | 830 | 726 | 645 | 581 | 528 | 509 | 470 | 411 | 366 | 329 | 299 | 274 |
|  |  | D | .02 | .03 | .05 | .06 | .09 | .12 | .14 | .17 | .22 | .32 | .42 | .53 | .65 | .79 | .94 |

| CLIPS , FASTENERS & ACCESSORIES |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BOLT SEAT |  | MID-SUPPORT CLIP |  | CARRIER PLATES |  |
| A complete list of Clips and Fasteners is available on page 28. |  |  |  |  |  |

© 2018 800.237.3820 mcnichols.com

| # P LA N K | McNICHOLS® GRATING PRODUCTS |
| --- | --- |

PERF-O  GRIP®   WALKWAY

PERF-O GRIP®

FASTENER

BOLT SEAT

| A complete list of Clips and Fasteners is available on page 28. |  |
| --- | --- |

McNICHOLS  PERF-O  GRIP®    Walkway  surface  can  help lessen worker fatigue and has a high load capacity, long life and a high strength-to-weight performance. With 5-inch inverted (referred to as height) side channels, PERF-O GRIP® Walkway meets OSHA requirements for toeboards on elevated structures . The large open area  (38%  of  surface  area  depending  on  product  size) permits free flow of air, heat and light.

| PRODUCT OPTIONS |  |
| --- | --- |
| Material: Gauge: Width: Height: Length: | Carbon Steel, Galvanized Steel 13, 11 24", 30", 36" 5" 120" |

LOAD TABLE:  13-HOLE WALKWAY (24" WIDTH)

| HT. | #/LF |  | CLEAR SPAN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 2' | 2' 6" | 3' | 3' 6" | 4' | 4' 6" | 5' | 5' 6" | 6' | 7' | 8' | 9' | 10' | 11' | 12' |
| STEEL 11 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5" | 11.8 | U | 5751 | 3681 | 2556 | 1878 | 1438 | 1136 | 920 | 760 | 639 | 469 | 359 | 284 | 230 | 190 | 160 |
|  |  | D | .02 | .02 | .04 | .05 | .06 | .08 | .10 | .12 | .14 | .19 | .25 | .31 | .39 | .47 | .56 |
|  |  | C | 9504 | 7603 | 6336 | 5431 | 4752 | 4224 | 3802 | 3456 | 3168 | 2715 | 2376 | 2112 | 1901 | 1728 | 1584 |
|  |  | D | .01 | .01 | .02 | .03 | .04 | .05 | .06 | .07 | .08 | .11 | .15 | .19 | .23 | .28 | .34 |

| LOAD TABLE: 16-HOLE WALKWAY (30" WIDTH) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| HT. | #/LF |  | CLEAR SPAN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 2' | 2' 6" | 3' | 3' 6" | 4' | 4' 6" | 5' | 5' 6" | 6' | 7' | 8' | 9' | 10' | 11' | 12' |
| STEEL 11 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5" | 13.6 | U | 3868 | 2475 | 1719 | 1263 | 967 | 764 | 619 | 511 | 430 | 316 | 242 | 191 | 155 | 128 | 107 |
|  |  | D | .01 | .02 | .03 | .04 | .05 | .06 | .08 | .10 | .12 | .16 | .20 | .26 | .32 | .39 | .46 |
|  |  | C | 9534 | 7627 | 6356 | 5448 | 4767 | 4237 | 3813 | 3467 | 3178 | 2724 | 2383 | 2119 | 1907 | 1733 | 1589 |
|  |  | D | .01 | .01 | .02 | .03 | .04 | .05 | .06 | .07 | .08 | .11 | .15 | .19 | .23 | .28 | .30 |

PLEASE NOTE: PERF-O GRIP® Walkway is also available in 36" width. Loading information is available at 800.237.3820.

End View

1"

5"

7/16"

McNICHOLS® Plank Grating, Plank, PERF-O GRIP®, 6-Hole - Flooring, Aurora, IL

LOAD TABLE:  9-ROW  PLANK (7" WIDTH)

TRACTION TREAD®   PLANK

| DEPTH | #/LF |  | CLEAR SPAN |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 2' | 2' 6" | 3' | 3' 6" | 4' | 4' 6" | 5' | 5' 6" | 6' | 6' 6" | 7' | 7' 6" | 8' | 9' |
| GALVANIZED STEEL 13 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2" | 3.7 | U | 1642 | 1345 | 973 | 700 | 513 | 400 | 315 | 287 | 253 | 184 | 137 | 104 | 80 | 50 |
|  |  | D | .02 | .04 | .06 | .08 | .10 | .13 | .15 | .20 | .25 | .25 | .25 | .25 | .25 | .25 |

PRODUCT OPTIONS

LOAD TABLE:  14-ROW  PLANK (10" WIDTH)

TRACTION TREAD®

Material: Aluminum, Galvanized Steel Gauge: 13, 11, .1250" Thick (Aluminum) Width: 7", 10", 12" Depth: 1-1/2", 2" Length: 120", 144"

| LOAD TABLE: 17-ROW PLANK (12" WIDTH) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DEPTH | #/LF |  | CLEAR SPAN |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | 2' | 2' 6" | 3' | 3' 6" | 4' | 4' 6" | 5' | 5' 6" | 6' | 6' 6" | 7' | 7' 6" | 8' |
| ALUMINUM ALLOY TYPE 5052-H32 . 1250" THICK |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2" | 2.5 | U | 487 | 399 | 288 | 207 | 152 | 119 | 93 | 85 | 75 | 55 | 41 | 31 | 24 |
|  |  | D | .02 | .04 | .06 | .08 | .10 | .13 | .15 | .20 | .25 | .25 | .25 | .25 | .25 |
| GALVANIZED STEEL 13 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2" | 5.2 | U | 1101 | 902 | 652 | 469 | 344 | 268 | 211 | 192 | 170 | 123 | 92 | 70 | 54 |
|  |  | D | .02 | .04 | .06 | .08 | .10 | .13 | .15 | .20 | .25 | .25 | .25 | .25 | .25 |
| GALVANIZED STEEL 11 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1-1/2" | 6.9 | U | 682 | 559 | 404 | 291 | 213 | 166 | 131 | 119 | 105 | 76 | 57 | -- | -- |
|  |  | D | .02 | .04 | .06 | .08 | .10 | .13 | .15 | .20 | .25 | .25 | .25 | -- | -- |
| 2" | 7.3 | U | 1395 | 1143 | 827 | 595 | 436 | 340 | 268 | 244 | 215 | 156 | 116 | 88 | 68 |
|  |  | D | .02 | .04 | .06 | .08 | .10 | .13 | .15 | .20 | .25 | .25 | .25 | .25 | .25 |

McNICHOLS TRACTION  TREAD®  Plank features  a  surface  of raised perforated buttons with debossed holes that provide slip resistance in all directions. Planks are well suited for ADA-compliant applications.

| DEPTH | #/LF |  | CLEAR SPAN |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 2' | 2' 6" | 3' | 3' 6" | 4' | 4' 6" | 5' | 5' 6" | 6' | 6' 6" | 7' | 7' 6" | 8' |
| ALUMINUM ALLOY TYPE 5052-H32 . 1250" THICK |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2" | 2.2 | U | 560 | 469 | 332 | 239 | 175 | 137 | 107 | 98 | 86 | 63 | 47 | 35 | 27 |
|  |  | D | .02 | .04 | .06 | .08 | .10 | .13 | .15 | .20 | .25 | .25 | .25 | .25 | .25 |
| GALVANIZED STEEL 13 GAUGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2" | 4.6 | U | 1267 | 1038 | 751 | 540 | 396 | 309 | 243 | 221 | 195 | 142 | 106 | 80 | 62 |
|  |  | D | .02 | .04 | .06 | .08 | .10 | .13 | .15 | .20 | .25 | .25 | .25 | .25 | .25 |

24

McNICHOLS® Plank Grating, Plank, TRACTION TREAD® - Flooring and Stair Treads, Bellingham, MA

800.237.3820 mcnichols.com © 2018

McNICHOLS®  GRATING PRODUCTS                                                                 PLANK

GRATE-LOCK®  INTERLOCKING  PLANK

McNICHOLS®  Plank Grating, Interlocking Plank, GRATE-LOCK® - Overhead Walkway

GRATE-LOCK®

End &

Top View

| 3" 6" 6" 3" |  |
| --- | --- |
| 1 | 3/4" 3/4" -1/2" |

McNICHOLS  GRATE-LOCK®    Interlocking  Plank  Grating  is  an  easy-to-install system of  interlocking  grating  planks, treads  and  accessories.  GRATE-LOCK®  provides safe, sturdy footing for mezzanine floors, platforms, walkways and other applications where non-slip performance is required. Increased load performance can be realized through this unique design of interlocking, ventilated planks. The Planks' surface of long, round end slots provides an impressive open area of up to 45% that permits passage of water from ceiling sprinklers, air and light. Planks are easy to install with side channels (flanges) that interlock.

PRODUCT OPTIONS Material: Galvanized Steel Gauge: 18, 14 Width: 9", 12" Depth: 1-1/2", 2-1/2", 3", 4" (Special Order) Length: 120", 240", 288" (2-1/2" Depth), 144" (1-1/2" Depth), 288" (3" Depth) Flange: Male/Male, Female/Female, Female/Male

CLIPS & FASTENERS

PLEASE NOTE: Only 2-1/2" channels may be punched.

J - BOLT

M HC-CLAMP

| A complete list of Clips and Fasteners is available on page 28. |  |  |  |
| --- | --- | --- | --- |

| Slip-Resistant Surface | Smooth Surface \ Female/Male Interlocking Feature |
| --- | --- |

McNICHOLS® Plank Grating, Interlocking  Plank, GRATE-LOCK®  -  Slip-Resistant  or  Smooth  Surface

Flange End View

MM  Male/Male

1-1/2" Depth

FM  Female/Male

1-1/2", 2-1/2", 3" or 4" Channel Depth

Leg configuration differs from 2-1/2", 3" or 4" Channel Depth MM Male/Male 2-1/2", 3" or 4" Channel Depth

FF Female/Female 2-1/2", 3" or 4" Channel Depth

25

LOAD TABLE:  GRATE-LOCK®   INTERLOCKING  PLANK

| GAUGE | WIDTH | % O/A | #/LF |  | 1-1/2" CHANNEL DEPTH CLEAR SPAN (LF) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | 2' | 3' | 3' 6" | 4' | 4' 6" | 5' | 5' 6" | 6' | 6' 6" | 7' | 7' 6" | 8' | 8' 6" | 9' | 10' | 11' | 12' |
| 18 |  | 43% |  | U | 591 | 263 | 193 | 147 | 116 | 94 | 78 | 65 | 56 | 48 | 42 | 37 | 32 | 29 | 23 | 19 | 16 |
|  |  |  |  | D | .10 | .14 | .18 | .22 | .27 | .33 | .40 | .48 | .56 | .65 | .74 | .84 | .95 | 1.06 | 1.31 | 1.59 | 1.89 |
|  |  |  |  | C | 440 | 293 | 251 | 220 | 195 | 176 | 160 | 146 | 135 | 125 | 117 | 110 | 103 | 97 | 88 | 80 | 73 |
|  |  |  |  | D | .04 | .10 | .13 | .17 | .21 | .26 | .32 | .38 | .45 | .52 | .60 | .68 | .77 | .86 | 1.06 | 1.28 | 1.54 |
|  | 12" | 45% | 2.9 | U | 443 | 196 | 144 | 110 | 87 | 70 | 58 | 49 | 41 | 36 | 31 | 27 | 24 | 21 | 17 | 14 | 12 |
|  |  |  |  | D | .10 | .14 | .18 | .22 | .27 | .33 | .40 | .48 | .56 | .65 | .74 | .84 | .95 | 1.06 | 1.31 | 1.59 | 1.89 |
| 14 |  | 38% |  | U | 891 | 396 | 291 | 222 | 176 | 142 | 117 | 99 | 84 | 72 | 63 | 55 | 49 | 44 | 35 | 29 | 24 |
|  |  |  |  | D | .10 | .14 | .18 | .22 | .27 | .33 | .40 | .48 | .56 | .65 | .74 | .84 | .95 | 1.06 | 1.31 | 1.59 | 1.89 |
|  |  |  |  | C | 663 | 442 | 379 | 331 | 295 | 265 | 241 | 221 | 204 | 189 | 177 | 165 | 156 | 147 | 132 | 120 | 110 |
|  |  |  |  | D | .04 | .10 | .13 | .17 | .21 | .26 | .32 | .38 | .45 | .52 | .60 | .68 | .77 | .86 | 1.06 | 1.28 | 1.54 |
|  | 12" | 40% | 4.2 | U | 667 | 296 | 217 | 166 | 131 | 106 | 88 | 74 | 63 | 54 | 47 | 41 | 36 | 32 | 26 | 22 | 18 |
|  |  |  |  | D | .10 | .14 | .18 | .22 | .27 | .33 | .40 | .48 | .56 | .65 | .74 | .84 | .95 | 1.06 | 1.31 | 1.59 | 1.89 |
| GAUGE | WIDTH | % O/A | #/LF |  | 2-1/2" CHANNEL DEPTH CLEAR SPAN (LF) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 2' | 3' | 4' | 5' | 6' | 7' | 8' | 9' | 10' | 11' | 12' | 13' | 14' | 15' | 16' | 17' | 18' |
| 18 | 9" | 43% | 3.0 | U | 1552 | 691 | 390 | 251 | 175 | 129 | 100 | 79 | 65 | 54 | 46 | 40 | 35 | 30 | 27 | 24 | 21 |
|  |  |  |  | D | .05 | .10 | .18 | .28 | .41 | .56 | .74 | .95 | 1.18 | 1.44 | 1.73 | 2.05 | 2.41 | 2.80 | 3.22 | 3.69 | 4.01 |
|  |  |  |  | C | 705 | 705 | 585 | 470 | 394 | 339 | 299 | 268 | 243 | 223 | 207 | 193 | 181 | 171 | 163 | 153 | 145 |
|  |  |  |  | D | .02 | .07 | .14 | .23 | .33 | .45 | .59 | .76 | .94 | 1.15 | 1.38 | 1.64 | 1.93 | 2.24 | 2.58 | 2.91 | 3.27 |
|  | 12" | 45% | 3.5 | U | 1057 | 552 | 312 | 200 | 140 | 103 | 80 | 64 | 52 | 43 | 36 | 31 | 27 | 23 | 20 | 18 | 16 |
|  |  |  |  | D | .03 | .10 | .17 | .27 | .39 | .54 | .71 | .90 | 1.13 | 1.38 | 1.61 | 1.91 | 2.23 | 2.47 | 2.83 | 3.20 | 3.60 |
|  |  |  |  | C | 529 | 529 | 529 | 501 | 420 | 362 | 319 | 286 | 260 | 239 | 217 | 207 | 194 | 184 | 175 | 167 | 160 |
|  |  |  |  | D | .01 | .05 | .12 | .22 | .31 | .43 | .57 | .72 | .90 | 1.09 | 1.33 | 1.57 | 1.85 | 2.15 | 2.48 | 2.85 | 3.24 |
| 14 | 9" | 38% | 4.4 | U | 2357 | 1050 | 593 | 381 | 266 | 196 | 151 | 121 | 98 | 82 | 70 | 58 | 50 | 45 | 40 | 36 | 32 |
|  |  |  |  | D | .04 | .10 | .18 | .28 | .41 | .56 | .74 | .94 | 1.17 | 1.43 | 1.72 | 1.88 | 2.21 | 2.57 | 2.96 | 3.39 | 3.85 |
|  |  |  |  | C | 974 | 974 | 889 | 714 | 598 | 516 | 454 | 407 | 369 | 339 | 314 | 282 | 265 | 250 | 238 | 227 | 218 |
|  |  |  |  | D | .02 | .07 | .14 | .23 | .33 | .45 | .59 | .75 | .94 | 1.14 | 1.38 | 1.50 | 1.77 | 2.05 | 2.37 | 2.71 | 3.08 |
|  | 12" | 40% | 5.2 | U | 1276 | 783 | 442 | 284 | 199 | 147 | 113 | 90 | 74 | 62 | 52 | 44 | 38 | 35 | 29 | 28 | 25 |
|  |  |  |  | D | .03 | .10 | .17 | .27 | .39 | .54 | .71 | .91 | 1.13 | 1.38 | 1.63 | 1.94 | 2.20 | 2.70 | 2.92 | 3.58 | 4.08 |
|  |  |  |  | C | 730 | 730 | 730 | 711 | 596 | 514 | 454 | 407 | 370 | 338 | 310 | 286 | 266 | 248 | 233 | 219 | 207 |
|  |  |  |  | D | .01 | .05 | .12 | .22 | .31 | .43 | .57 | .72 | .90 | 1.09 | 1.31 | 1.53 | 1.77 | 2.04 | 2.33 | 2.63 | 2.96 |
| U - Uniform Load - Lbs./Square Foot D - Deflection - in Inches C - Concentrated Load This technical information provided is a reference for evaluation by technically skilled persons only, with any use thereof to be at their independent discretion and risk. McNICHOLS shall have no responsibility or liability for results obtained or damages resulting from improper evaluation or use of Grating. These tables are prepared based on test conducted in accordance with the 1980 edition, section 6.2 of the American Iron and Steel Institute specification for the design of cold-rolled steel structural members with results checked and adjusted where required by calculations in accordance with section 2 of the same specification. ( w Safe Allowable Loads with deflections equal to or less than L/120 w Safe Allowable Loads with deflections equal to or less than L/240) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

38%

3.5

3.5

2.3

9"

9"

9"

© 2018 800.237.3820 mcnichols.com

| P LA N K | McNICHOLS® GRATING PRODUCTS |
| --- | --- |

DIAMONDBACK®  INTERLOCKING  PLANK

McNICHOLS DIAMONDBACK®  Interlocking Plank offers excellent strength and stability for walkways, platforms, mezzanines, catwalks and other unsupported structures . The ventilated design prevents the build-up of debris like dirt, grease and snow . When slip resistance is critical, this serrated surface Plank is the answer! DIAMONDBACK®  Interlocking Plank is ADA-compliant when you choose our solid surface option.

Depth

End View

DIAMONDBACK®

Width

| PRODUCT OPTIONS |  |
| --- | --- |
| Material: | Aluminum Alloy Type 6061-T6 |
| Surface: | Solid, Vented |
| Width: | 6", 12" |
| Depth: | 1", 1-1/2", 2" |
| Length: | 144" |

McNICHOLS  DIAMONDBACK®   Interlocking  Plank is made using an Aluminum extrusion process. The Plank has a solid surface profile or is vented with angled openings. Both options have lines of raised serrations running parallel to the Plank length. The sides of the Plank channel have dovetail interlocking slots. Dovetail Bar Interlocks slide into the slots in the channel to connect or lock adjacent panels. McNICHOLS also carries a DIAMONDBACK® Stair Tread/Plank panel without the dovetail interlocking slots in the side channels.

| Solid |  |  |
| --- | --- | --- |
| Vented |  | Dovetail Bar Interlock connects solid and vented Planks |

McNICHOLS®  Plank Grating, Interlocking Plank, DIAMONDBACK® - Solid or Vented, Serrated Surface

LOAD TABLE: DIAMONDBACK®  EXTRUDED INTERLOCKING PLANK (ALUMINUM)

| DEPTH | WIDTH | #/LF | SPAN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 2' | 2' 6" | 3' | 3' 6" | 4' | 4' 6" | 5' | 5' 6" | 6' | 6' 6" | 7' | 7' 6" | 8' | 8' 6" |
| 1" | 6" | 1.45 | U | 1328 | 850 | 590 | 433 | 332 | 262 | 212 | 175 | 147 | U - Uniform Load - Lbs./Square Foot D - Deflection - in Inches C - Concentrated Load - Lbs./Square Foot of Width at Mid Span 247; 213; 185; 163. 1.443; 1.673; 1.915; 2.184. 803; 746; 696; 653. 1.154; 1.340; 1.537; 1.750. |
|  |  |  | D | .199 | .312 | .448 | .610 | .797 | 1.008 | 1.299 | 1.502 | 1.787 |  |  |  |  |  |
|  | 12" | 3.06 | C | 1328 | 1062 | 885 | 759 | 664 | 590 | 531 | 483 | 442 |  |  |  |  |  |
|  | 12" | 2.68 | D | .182 | .249 | .359 | .489 | .638 | .807 | .996 | 1.206 | 1.433 |  |  |  |  |  |
| 1-1/2" | 12" | 3.67 | U | 2612 | 1671 | 1161 | 853 | 653 | 516 | 418 | 345 | 290 |  |  |  |  |  |
|  |  |  | D | .184 | .214 | .318 | .485 | .547 | .692 | .855 | 1.033 | 1.230 |  |  |  |  |  |
|  |  |  | C | 2612 | 2089 | 1741 | 1492 | 1306 | 1161 | 1044 | 949 | 870 |  |  |  |  |  |
|  |  |  | D | .109 | .171 | .246 | .335 | .438 | .554 | .683 | .827 | .984 |  |  |  |  |  |
| 2" | 12" | 4.30 | U | 4193 | 2683 | 1863 | 1369 | 1048 | 828 | 671 | 554 | 466 | 397 | 342 | 298 | 262 | 232 |
|  |  |  | D | .187 | .197 | .251 | .320 | .418 | .529 | .653 | .789 | .940 | 1.104 | 1.279 | 1.468 | 1.671 | 1.886 |
|  |  | 3.91 | C | 4193 | 3354 | 2795 | 2396 | 2096 | 1863 | 1677 | 1524 | 1397 | 1290 | 1198 | 1118 | 1048 | 986 |
|  |  |  | D | .084 | .131 | .188 | .256 | .334 | .423 | .522 | .632 | .752 | .883 | 1.024 | 1.181 | 1.337 | 1.509 |
| Loads and deflections in this table are theoretical. The specifier is responsible for verifying conformance of this product with applicable codes associated with its intended use . Spans in the blue shaded area will give deflection less than 1/4" for a Uniform Load of 100 Lbs./Square Foot. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

HEAVY-DUTY  EXTRUDED  PLANK

| PRODUCT OPTIONS |  |
| --- | --- |
| Material: | Aluminum Alloy Type 6063-T6 |
| Width: | 6" |
| Depth: | 3/4", 1", 1-1/2", 2" |
| Length: | 240" |

HEAVY-DUTY PLANK

End View

1.200" 1-1/2"

6" Standard Panel Width

An alternative to Bar Grating, McNICHOLS® Heavy-Duty Extruded Plank is made using an extrusion process that yields   a  structurally sound and cosmetically attractive product. The interconnecting webs offer a flush top walking surface. The  surface  on  standard  Heavy- Duty Plank is vented with a square or rectangular-shaped upset pattern  and  long  raised  grooves  running  parallel  to   the  plank length. Short raised grooves run perpendicular to the slot width.

McNICHOLS® Heavy-Duty Extruded Plank - Drain Cover, Boston, MA

26

LOAD TABLE:  HEAVY-DUTY  EXTRUDED  PLANK (ALUMINUM)

| DPT. | #/LF | PED SPAN IN. | SPAN |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 2' | 2' 6" | 3' | 3' 6" | 4' | 4' 6" | 5' | 5' 6" | 6' | 6' 6" | 7' | 8' |
| 3/4" | 1.8 | 39" | U | 435 | 278 | 193 | 142 | 108 | 85 | 69 | U - Uniform Load - Lbs./Square Foot D - Deflection - in Inches C - Concentrated Load - Lbs./Square Foot of Width at Mid Span 110; 92. .938; 1.117. 302; 277. .748; .891. |
|  |  |  | D | .121 | .237 | .342 | .465 | .608 | .770 | .950 |  |  |  |  |  |
|  |  |  | C | 435 | 348 | 290 | 248 | 217 | 193 | 174 |  |  |  |  |  |
|  |  |  | D | .121 | .190 | .273 | .371 | .485 | .614 | .760 |  |  |  |  |  |
| 1" | 2.2 | 49" | U | 833 | 533 | 370 | 272 | 208 | 164 | 133 |  |  |  |  |  |
|  |  |  | D | .124 | .193 | .279 | .380 | .496 | .628 | .775 |  |  |  |  |  |
|  |  |  | C | 833 | 666 | 555 | 476 | 416 | 370 | 333 |  |  |  |  |  |
|  |  |  | D | .099 | .155 | .223 | .304 | .396 | .502 | .620 |  |  |  |  |  |
| 1-1/2" | 3.4 | 67" | U | 2167 | 1387 | 963 | 707 | 541 | 428 | 346 | 286 | 240 | 205 | 176 | 135 |
|  |  |  | D | .090 | .141 | .203 | .277 | .362 | .458 | .566 | .684 | .815 | .956 | 1.109 | 1.449 |
|  |  |  | C | 2167 | 1734 | 1445 | 1238 | 1083 | 963 | 867 | 788 | 722 | 666 | 619 | 541 |
|  |  |  | D | .072 | .113 | .163 | .221 | .289 | .366 | .452 | .547 | .651 | .764 | .887 | 1.157 |

800.237.3820 mcnichols.com © 2018

McNICHOLS®  GRATING PRODUCTS                                                                 PLANK

PLANK GRATING  STAIR TREADS

McNICHOLS®   Plank Grating Stair Treads are one-piece construction from formed and  punched sheet metal. Most Plank Grating Treads are lightweight and offer significantly higher slip resistance than Bar Grating Treads. Plank Treads have a variety of surface openings that have diamond, slotted or round shapes. They are available in Aluminum, Carbon Steel, Galvanized Steel or Stainless Steel in a variety of depths, widths and  lengths .

Standard End View

B

B

C

27/32"

1/4" x 1" Self Tapping Screw

1-3/4" x 7/16" Slot

C

7/16" Dia.Hole 一"

GRIP STRUT®  STAIR TREADS

GRIP STRUT® with Cast Abrasive Nosing

PRODUCT OPTIONS Material: Aluminum, Carbon Steel, Galvanized Steel, Stainless Steel Gauge: 16 (Stainless), 14, 12, .0800" Thick (Alum.) Width: 4-3/4" to 11-3/4" Depth: 1-1/2", 2" Length/Span: Up to 36" Alum. or SS; up to 48" Steel

LOAD TABLE: TREADS (STEEL)

STANDARD SIZE & SPAN

5/16"

|  |  | 2-DIAMOND |  | 3-DIAMOND |  | 4-DIAMOND |  | 5-DIAMOND |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| GAUGE |  | 14 |  | 14 |  | 14 |  | 14 |  |
| SPAN | DPT. | U | C | U | C | U | C | U | C |
| 2'0" | 1-1/2" | 1191 | 472 | 761 | 443 | 549 | 435 | 434 | 425 |
|  | 2" | 1978 | 783 | 1262 | 737 | 911 | 604 | 721 | 573 |
| 2'6" | 1-1/2" | 764 | 378 | 488 | 356 | 355 | 349 | 278 | 342 |
|  | 2" | 1268 | 611 | 810 | 590 | 584 | 578 | 463 | 566 |
| 3'0" | 1-1/2" | 532 | 315 | 340 | 300 | 245 | 300 | 194 | 300 |
|  | 2" | 882 | 524 | 563 | 492 | 407 | 483 | 322 | 473 |
| 4'0" * | 2" | 498 | 394 | 318 | 372 | 230 | 364 | 182 | 356 |
| U - Uniform Load - Lbs./Square Foot C - Concentrated Load |  |  |  |  |  |  |  |  |  |

End View with Nosing

1-1/4"

5/16"

A 27/32"

| LOAD TABLE: TREADS (ALUMINUM & STAINLESS STEEL) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 2- DIAMOND |  | 3- DIAMOND |  | 4- DIAMOND |  |  |  | 5- DIAMOND |  |  |  |
| MATL |  | ALUM. |  | ALUM. |  | ALUM. |  | SS 304 |  | ALUM. |  | SS 304 |  |
| GAUGE |  | .0800" |  | .0800" |  | .0800" |  | 16 |  | .0800" |  | 16 |  |
| SPAN | DPT. | U | C | U | C | U | C | U | C | U | C | U | C |
| 2' | 2" | 1328 | 526 | 862 | 503 | 607 | 481 | 610 | 483 | 396 | 388 | 394 | 386 |
| 2' | 2" | 850 | 420 | 551 | 402 | 388 | 392 | 390 | 387 | 253 | 388 | 252 | 381 |
| 3' | 2" | 590 | 350 | 383 | 335 | 270 | 327 | 271 | 323 | 176 | 321 | 175 | 319 |
| 4' | 2" | 332 | 263 | 215 | 252 | 152 | 245 | 152 | 244 | 99 | 241 | 98 | 241 |
| * Intermediate stringer is recommended for spans over 4' |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Load table data above takes eccentric loads into consideration. Although load values include allowances for normal impact conditions and usual pedestrian traffic, be sure to make provisions in the structural design for special uses and load involving unusual impact forces or vibratory for sces. Load-carrying capacity of Stair Treads increases as side channel height and gauge of material increases. |  |  |  |  |  |  |  |  |  |  |  |  |  |

| GRIP STRUT® STAIR TREAD DATA |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| STANDARD |  |  |  | CAST ABRASIVE NOSING |  |  |  |
| A | B | C | D | A | B | C | D |
| 4-3/4"W | 1-1/2" | 3/4" | 2-5/8" | -- | -- | -- | -- |
| (2-Dia.) | 2" | 1" | 2-5/8" | -- | -- | -- | -- |
| 7" W | 1-1/2" | 3/4" | 3-3/8" | 8-1/8" | 1-1/2" | 3/4" | 4-1/2" |
| (3-Dia.) | 2" | 1" | 3-3/8" | (3-Dia.) | 2" | 1" | 4-1/2" |
| 9-1/2"W | 1-1/2" | 3/4" | 5-7/8" | 10-1/2" | 1-1/2" | 3/4" | 6-7/8" |
| (4-Dia.) | 2" | 1" | 5-7/8" | (4-Dia.) | 2" | 1" | 6-7/8" |
| 11-3/4"W | 1-1/2" | 3/4" | 8-1/8" | -- | -- | -- | -- |
| (5-Dia.) | 2" | 1" | 8-1/8" | -- | -- | -- | -- |
| Above data for Aluminum, Steel and Stainless Steel. Stainless Steel is not available in 2- and 3-Diamond widths. Standard manufacturing tolerances apply. |  |  |  |  |  |  |  |

1-3/4" x 7/16" Slot                        7/16" Dia.Hole

| D A |  |  |  |
| --- | --- | --- | --- |

McNICHOLS GRIP STRUT®   Stair  Treads offer one of the most slip-resistant surfaces in the industry. The tread’s surface has diamond-shaped openings with serrated edges, making it slip resistant in every direction. Planks have a high strength-to-weight performance that offers a high load capacity and long life. For details on GRIP STRUT®  Plank Grating, please refer to page 20.

| SPAN | DPT. | WIDTH |  |
| --- | --- | --- | --- |
|  |  | STANDARD | CAST ABRASIVE NOSING |
| ALUMINUM ALLOY TYPE 5052-H32 .0800" THICK |  |  |  |
| UP to 36" | 2" | 2-Dia. - 4-3/4" | -- |
|  |  | 3-Dia. - 7" | 3-Dia. - 8-1/8" |
|  |  | 4-Dia. - 9-1/2" | 4-Dia. - 10-1/2" |
|  |  | 5-Dia. - 11-3/4" | -- |
| STEEL 14 GAUGE |  |  |  |
| UP to 48" | 1-1/2" | 2-Dia. - 4-3/4" | -- |
|  |  | 3-Dia. - 7" | 3-Dia. - 8-1/8" |
|  |  | 4-Dia. - 9-1/2" | 4-Dia. - 10-1/2" |
|  |  | 5-Dia. - 11-3/4" | -- |
| UP to 48" | 2" | 2-Dia. - 4-3/4" | -- |
|  |  | 3-Dia. - 7" | 3-Dia. - 8-1/8" |
|  |  | 4-Dia. - 9-1/2" | 4-Dia. - 10-1/2" |
|  |  | 5-Dia. - 11-3/4" | -- |
| STAINLESS STEEL TYPE 304 16 GA |  |  |  |
| UP to 36" | 2" | 4-Dia. - 9-1/2" | -- |
|  |  | 5-Dia. - 11-3/4" | -- |

Please specify

McNICHOLS

on your next project.忑∞几上幺u比!

| PRODUCT OPTIONS |  |
| --- | --- |
| Material: Gauge: Width: Depth: Length/Span: | Aluminum, Carbon Steel, Galvanized Steel 13, 11, .1250" Thick (Aluminum) 5", 7", 10", 12" 1-1/2", 2" 24", 30", 36" |

PERF-O GRIP®  STAIR TREADS

McNICHOLS   PERF-O  GRIP®   Stair  Treads can  help  prevent injuries by providing a slip-resistant surface of large debossed holes and smaller embossed button holes. The Treads have a high load capacity, long life and high strength-to-weight performance.

For details on PERF-O GRIP®  Plank Grating, please refer to page 23.

PRODUCT  OPTIONS

TRACTION TREAD®  STAIR TREADS

Material: Aluminum, Galvanized Steel Gauge: 13, 11, .1250" Thick (Aluminum) Width: 7", 10", 12" Depth: 1-1/2", 2" Length/Span: 24", 30", 36", 48"

McNICHOLS  TRACTION  TREAD®    Stair  Treads  feature  a surface  of  hundreds  of  raised  perforated  buttons  with  debossed holes that provide slip resistance in all directions. The Treads are perfectly suited for ADA-compliant applications.

27

For  details  on  TRACTION  TREAD®   Plank Grating,  please  refer to page 24.

© 2018 800.237.3820 mcnichols.com

| RUNGS & FASTENERS | McNICHOLS® GRATING PRODUCTS |
| --- | --- |

LADDER  RUNGS

When strength, safety and weight are considerations, McNICHOLS®  Ladder Rungs are the product of choice. All product types have varying degrees of slip resistance to help provide dependable footing. Ladder Rungs can be cut to your size requirements.

BAR

FIBERGLASS

PLANK

28

TRACTION TREAD®   RUNGS

McNICHOLS TRACTION TREAD®   Ladder  Rungs are available in Aluminum, Carbon Steel, Galvanized or Stainless Steel. They are available in 1-1/4" to 2-1/4" widths, 48-3/4" and 60" lengths, and range from 1-1/8" to  1-1/2"  in depth.  Ladder  Rungs come  in 2- , 3- or 4-button rows .

DIAMONDBACK®  RUNGS

McNICHOLS   DIAMONDBACK®     Ladder   Rungs are available with a solid or vented surface. The  Rungs have 1-3/4" width with a 1.390" depth and are available in 144" lengths or cut-to-size. Radius end cut Rungs are available by special order. Solid serrated surface is also

available.

GRIP  STRUT®   RUNGS

McNICHOLS   GRIP  STRUT®     Ladder  Rungs have  channels  of diamonds that  provide  high traction footing in all directions. These aggressive Rungs come in Carbon Steel or Galvanized Steel and have a  1-1/8" depth. Standard size width is 2-1/2" and 120" in length. Diamonds can run the opposite direction by special order.

GRIP TIGHT®  RUNG COVERS

McNICHOLS GRIP TIGHT®  Ladder Rung Covers are constructed with a slip-resistant Aluminum Oxide grit  surface  coating  over   16  Gauge   Pre-Galvanized Steel. The 3/4" wide Cover has a 3/4" depth, and our 1" wide Cover option has a 1" depth. Covers come in 120" lengths or can be cut-to-size.

GRATING CLIPS  &  FASTENERS

| Type CB | Saddle Clip placed over two bearing bars, fastens to support Material: Aluminum, Galvanized Steel, Stainless Steel Product: Bar Grating (Welded, Press-Locked, Swage-Locked) Fit: 1-3/16" bearing bar spacing (Type CA for 15/16" bearing bar spacing) Hardware: Available Separately | Type GFS | Saddle Clip with cast malleable iron body, and one offset wing, fastens to support Material: Galvanized Steel Body, Stainless Steel Bracket Product: Bar Grating Fit: Fits 5/8" to 1-3/8" bearing bar spacing; Adjusts up to 1-3/4" bearing bar height Hardware: Integral with Saddle Clip | Type GG | Hold-Down Clip attaches Grating to Structural Shape in a horizontal plane Material: Galvanized Steel, Stainless Steel Product: Bar Grating Fit: 15/16" to 1-1/16" bearing bar spacing Hardware: Integral with Hold-Down Clip |
| --- | --- | --- | --- | --- | --- |
| Type Z | Hold-Down Clip secures panel to support frame Material: Stainless Steel Product: Most rectangular Bar Grating Fit: 1", 1-1/2" bearing bar height Hardware: Available Separately | Type J | Hold-Down Clip secures panel to support frame Material: Stainless Steel Product: Most rectangular Bar Grating Fit: 1", 1-1/2" bearing bar height Hardware: Integral with Hold-Down Clip | Type RSSGC1C | Hold-Down Clip fastens to horizontal flange on Structural Shape Material: Stainless Steel Product: Bar Grating (Press-Locked - CLOSE MESH), Fiberglass Grating Fit: 3/8" bearing bar spacing Hardware: Integral with Hold-Down Clip |

| Type F | Hold-Down Clip joins panels together at adjacent bars Material: Stainless Steel Product: Molded Grating Fit: 1", 1-1/2", 2" grid height Hardware: Integral with Hold-Down Clip | Type Z | Hold-Down Clip secures panel to support frame Material: Stainless Steel Product: Molded Grating Fit: 1", 1-1/2" grid height Hardware: Available Separately | Type J | Hold-Down Clip secures panel to support frame Material: Stainless Steel Product: Molded Grating Fit: 1", 1-1/2" grid height Hardware: Integral with Hold-Down Clip |
| --- | --- | --- | --- | --- | --- |
| Type M | Hold-Down Saddle Clip placed over two bars, fastens to support Material: Stainless Steel Product: Molded Grating Fit: 1", 1-1/2", 2" grid height Hardware: With or Without | Type MI/MT | Saddle Clip placed over two I-Bars (MI) or two T-Bars (MT), fastens to support Material: Stainless Steel Product: Pultruded I-Bar and T-Bar Grating Fit: 1", 1-1/2", 2" bearing bar height Hardware: With or Without | Type RI/RT | Insert slides between two I-Bars (RI) or two T-Bars (RT), holding bottom flange to support Material: Stainless Steel Product: Pultruded I-Bar and T-Bar Grating Fit: Any height Hardware: Integral with Insert |

| DIAMOND ANCHOR | Device fits in opening, fastens to support Material: Galvanized Steel, Stainless Steel Product: GRIP STRUT® Fit: Plank and Walkway Hardware: Available Separately | H-B-C-10 SADDLE | Saddle Clip slides into opening, fastens to support Material: Galvanized Steel, Stainless Steel Product: Heavy-Duty GRIP STRUT® Fit: All Plank and Walkway Hardware: Available Separately | ACA | Anchor and Clamp Assembly, hold together, clamps to support Material: Galvanized Steel Product: GRIP STRUT® Fit: 1-1/2" & 2" Channel Depth Hardware: Integral with Assembly | Planks |
| --- | --- | --- | --- | --- | --- | --- |
| J-BOLT | Fastener holds Grating channel to support Material: Galvanized Steel Product: GRATE-LOCK® Fit: 2-1/2" Channel Depth Hardware: Integral with J-Bolt | MHC CLAMP | Hold-Down Clamp slides into Grating slot, fastens to support Material: Galvanized Steel Product: GRATE-LOCK® Fit: 2-1/2" Channel Depth Hardware: Available Separately | BOLT SEAT | Fastener slid into round opening, fastens to support Material: Galvanized Steel Product: PERF-O GRIP® Fit: All Plank and Walkway Hardware: Available Separately |  |
| MID - SUPPORT CLIP | Clip used at mid-span, fastening Plank side channels together to improve loading Material: Galvanized Steel Product: GRIP-STRUT® , PERF-O GRIP® , TRACTION TREAD® Fit: All Plank Hardware: Integral with Mid-Support Clip | SPLICE PLATE KIT | Splice Plate Kit joins continuous Planks in a run over supports Material: Galvanized Steel Product: GRIP-STRUT® Walkway Fit: Connects Walkway ends together Hardware: Integral with Splice Plate Kit | McNICHOLS carries more Clips and Fasteners than shown. Our full stock list is available at mcnichols.com! |  |  |

800.237.3820 mcnichols.com © 2018

McNICHOLS®  GRATING PRODUCTS                                             STAIR  TREADS

BAR,  FIBERGLASS  &  PLANK GRATING  STAIR TREADS

When strength, safety and load bearing capability are required,  McNICHOLS®  Stair Treads are the product of choice. Bar or formed Plank style Stair Treads suit a variety of stairway applications. Treads are available from stock in materials such as Aluminum, Carbon Steel, Carbon Steel (Powder Coated Black), Fiberglass, Galvanized Steel and Stainless Steel. Bar styles are available with several Nosing options (shown below).

BAR  GRATING  -  STAIR  TREADS

|  | GW Series Treads, Smooth or Serrated Surface, Checkered Plate Angle Nosing |  | GAL Series Treads, Smooth or Serrated Surface, Corrugated Angle Nosing |  | GHB Series Treads, Smooth or Serrated Surface, Checkered Plate Angle Nosing |
| --- | --- | --- | --- | --- | --- |
| GCM Series CLOSE MESH Treads, Smooth Surface, Corrugated Angle Nosing |  | SAFE-T-GRID® T-Bar Treads, Grooved or GRIP TIGHT® Surface, Corrugated Angle Nosing |  | GIA Series I-BarTreads, Grooved Surface, Corrugated Angle Nosing |  |

FIBERGLASS  GRATING  -  STAIR TREADS

MS-T-I-6015 - DURAGRID® Pultruded I-Bar Tread, Medium Grit Surface, Integral Nosing

MS-T-R-150 Rectangular Molded Tread, Grit Surface, Integral Nosing

MS-T-C Molded	Tread Cover, Grit Surface, Radius Lip

PLANK  GRATING  -  STAIR  TREADS

29

| GRIP STRUT® Tread, Serrated Surface, No Nosing | PERF-O GRIP® Tread, Slip-Resistant Surface, No Nosing | TRACTION TREAD® Tread, Slip-Resistant Surface, No Nosing |
| --- | --- | --- |
| GRATE-LOCK® Tread, Slip-Resistant Surface, No Nosing | HD Extruded Tread, Grooved Surface, Corrugate Angle Nosing | McNICHOLS® Metals Service Centers are equipped with a variety of specialized processing equipment so your job can be cut-to-size quickly and accurately! |

© 2018 800.237.3820 mcnichols.com

McNICHOLS  CO .

PO BOX30300TAMPA, FL33630-3300

LUTH ERAN HOU R

M I N I STRI ES

PRSRT STD

U. S. POSTAGE

PAID

MCNICHOLS CO.

SOURCE CODE                              ID

If you would like to receive additional copies of the 2018 McNICHOLS® Grating Catalog, to update your                                                                              Please follow us on social media!

address or to manage your subscription, we are ready and Inspired to Serve® you at 800.237.3820. Printed in the USA. Please share this catalog with a friend or recycle.

VALUE-ADDED S E R V I C E S

For more than 65 years, customers have been trusting McNICHOLS with their Hole Product needs. Many customers  also  look  to  us  for  Value-Added  Services . Whether you need cutting, notching, welding or a metal finish for your product selections, McNICHOLS has you covered! We look forward to discussing how we can support and serve you!

PRINT

TAKEOFFS

WELDING

STAIR

TREADS

CUT-TO-SIZE

INFILL

PANELS

METAL

FINISHES

®

Member

Metals Service Center Institute

McNICHOLS CO .

800.237.3820        800.237.9212  (español)        mcnichols.com